## New abst
Name of work : Construction of Integrated cyber crime complex at Tamil Nadu Police Academy, Oonamanchery Vandalur in Chennai City under CM announcement scheme
Sl. No. | Qty. | Description | Rate | Unit | Amount 2021-2022
1 | 1377.6 | 1.1) Earth work excavation in all soils (including refilling) a. 0 to 2 mt. | 224.84 | 1 Cum. | 309739.584
2 | 86 | b. 2 to 3 mt. | 235.07 | 1 Cum. | 20216.02
3 | 68.4 | 1.5) Earth work excavation for Open foundation (excluding refilling) a. 0 to 2 mt. | 106.26 | 1 Cum. | 7268.184
4 | 61.6 | b. 2 to 3 mt. | 116.49 | 1 Cum. | 7175.784
5 | 63.1 | 3.1) C.C.1:5:10 for Foundation & Basement | 4235.76 | 1 Cum. | 267276.456
6 | 2.4 | 3.2) P.C.C. 1:2:4 for Foundation & Basement and other similar works | 5757.08 | 1 Cum. | 13816.992
7 | 85.7 | 6.2) Brick work in C.M. 1:5 (F& B) using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") | 6307.76 | 1 Cum. | 540575.032
8 | 6.9 | 9.2) Brick work in C.M. 1:6 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") a. In Ground Floor/Stilt floor | 6325.34 | 1 Cum. | 43644.846
9 | 31.5 | 10.2) Brick partition work in C.M. 1:4 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") 114 mm tk (B.P.) a. In Foundation and basement | 800.98 | 1 Sqm. | 25230.87
10 | 13 | 11.2) Brick work in C.M. 1:4 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") 75 mm tk (B.P.) a. In Ground Floor | 564.97 | 1 Sqm. | 7344.61
11 | 15.2 | b. In First Floor | 576.29 | 1 Sqm. | 8759.608
12 | 15.2 | c. In Second Floor | 587.61 | 1 Sqm. | 8931.672
13 | 22.3 | 13.1) Filling with Excavated Earth | 36.96 | 1 Cum. | 824.208
14 | 3.036 | 21.2) Teak wood Wrought & Put up a. T.W. over 2 m & below 3 m | 124580 | 1 Cum. | 378224.88
15 | 0.636 | b. T.W. below 2 m length. | 112380 | 1 Cum. | 71473.68
16 | 76 | 23.3) S&F of Magnetic door catches | 52 | 1 No | 3952
17 | 304 | 25) M.S.Holdfast | 9.6 | 1 No | 2918.4
18 | 90.2 | 26) Flooring in C.C.1:5:10 | 4235.76 | 1 Cum. | 382065.552
19 | 32.3 | 28) Floor plastering in C.M. 1:4, 20 mm tk. | 467.89 | 1 Sqm. | 15112.847
20 | 9 | 30) Ellispattern flooring | 425.73 | 1 Sqm. | 3831.57
21 | 169 | 31) Weathering course | 3833.13 | 1 Cum. | 647798.97
22 | 1342 | 32.1) Pressed tiles (23cmx23cmx20mm) mixed with Water proofing compound | 1135.17 | 1 Sqm. | 1523398.14
23 | 5685.3 | 33) Plastering in C.M. 1:5, 12 mm tk. | 227.08 | 1 Sqm. | 1291017.924
24 | 12 | 34) Plastering in C.M. 1:4, 12 mm tk. | 233.09 | 1 Sqm. | 2797.08
25 | 1829 | 35) Spl. Ceiling plastering in C.M. 1:3, 10 mm tk. | 265.27 | 1 Sqm. | 485178.83
26 | 1829 | 37.1) White washing 3 coats (slaked) | 43.02 | 1 Sqm. | 78683.58
27 | 612 | 39) M.s Grills | 62.6 | 1 Kg. | 38311.2
28 | 288 | 40) Painting - New "wood work" | 225.31 | 1 Sqm. | 64889.28
29 | 347.1 | 41) Painting - New "iron work" | 133.44 | 1 Sqm. | 46317.024
30 | 30 | 47) S & F Alu Towel rail 75 cm long | 95 | 1 No | 2850
31 | 25 | 48) S & F 5 pin Coat stand | 55 | 1 No | 1375
32 | 5 | 50.3) Supply and planting avenue trees | 305.96 | 1 No | 1529.8
33 | 5 | 50.4) Providing Tree guard | 849.27 | 1 No | 4246.35
34 | 1 | 50.5) Supplying. Fabricating and erection of M.S Scheme Name board | 17761.78 | 1 No | 17761.78
35 | 120 | 52) PVC Water supply (ASTM) AGL a. 32 mm dia | 241.57 | 1 Rmt | 28988.4
36 | 240 | b. 25 mm dia | 224.34 | 1 Rmt | 53841.6
38 | 12 | 53.3) C.I. Steps ( 5 kg) | 30 | 1 No | 360
39 | 12 | 55.1) Squat Urinal | 859.88 | 1 No | 10318.56
40 | 12 | 59.2) Gully Trap using chamber burnt bricks of size 23x11.4x7.5cm | 1888.43 | 1 No | 22661.16
41 | 72 | 60) PVC Nahani trap (4way/2way) | 152.6 | 1 No | 10987.2
42 | 79 | 69) Electrical arrangements 15 Amp. Power plug | 138.7 | 1 No | 10957.3
43 | 7 | 70.1) Bulk head fitting | 486.5 | 1 No | 3405.5
44 | 60 | 72) Box type Fibre Fan hook | 33.9 | 1 No | 2034
45 | 19 | 73.1) 6 way - D.B. | 4117 | 1 No | 78223
46 | 59 | 74) Charges for fixing of "Fan" | 520.8 | 1 No | 30727.2
47 | 110 | 76) 8 SWG wire | 23.8 | 1 Rmt | 2618
48 | 25 | 77.3) S&F of TV/Telephone line Socket | 76.7 | 1 No | 1917.5
49 | 500 | 77.4) S&F of 20mm dia PVC pipe for TV/Telephone line | 81.44 | 1 Rmt | 40720
50 | 8 | 78) Earthing Station IS3043 (Type I) | 2746 | 1 No | 21968
51 | 1082 | 86) Anti termite treatment | 34 | 1 Sqm. | 36788 | 289
52 | 24 | 112) S & F of Exsaust Fan 300 mm dia | 2146 | 1 No | 51504
53 | 215.25 | 238) Anticorrosive treatment for steel grills | 4570 | 1 MT | 983692.5
54 | 1062.7 | ANNEXURE 2.15) Supplying and filling stone dust | 294.81 | 1 Cum. | 313294.587
55 | 540.9 | 8.2.3.1) Standardised concrete Mix M30 Grade Concrete a. In Foundation and basement | 7717.28 | 1 Cum | 4174276.752
56 | 180 | b. In Ground Floor | 7830.91 | 1 Cum | 1409563.8
57 | 193 | c. In First Floor | 8054.76 | 1 Cum | 1554568.68
58 | 219 | d. In Second Floor | 8278.61 | 1 Cum | 1813015.59
59 | 64.1 | e. In Third floor | 8502.46 | 1 Cum | 545007.686
60 | 109 | 8.2.3.3) Standardised concrete Mix M35 Grade Concrete b. In Ground Floor | 8027.97 | 1 Cum | 875048.73
61 | 116.2 | c. In First Floor | 8251.82 | 1 Cum | 958861.484
62 | 313.6 | d. In Second Floor | 8475.67 | 1 Cum | 2657970.112
63 | 13.9 | 14.3.II.) Precast cupboard slab 40 mm tk using standardised concrete mix M30 a. In Foundation & basement | 1549.92 | 1 Sqm. | 21543.888
64 | 16.2 | b. In Ground floor | 1554.51 | 1 Sqm. | 25183.062
65 | 18.9 | c. In First floor | 1563.55 | 1 Sqm. | 29551.095
66 | 18.9 | d. In Second floor | 1572.59 | 1 Sqm. | 29721.951
67 | 656 | 18.1) Formwork using M.S.Sheet a.For Column footings,plinth beam,Grade beam,Raftbeam,Raft slab etc., | 804.89 | 1 Sqm | 528007.84
68 | 3831 | b.Plain surfaces such as Roof slab,floorslab,Beams,lintels,lofts,sill slab,staircase,portico slab and other similar works | 900.96 | 1 Sqm | 3451577.76
69 | 1279 | c.For Square and rectangular columns and small quantities | 1081.15 | 1 Sqm | 1382790.85
70 | 1002 | d.Vertical wall | 991.06 | 1 Sqm | 993042.12
71 | 85 | e.Circular column | 2162.3 | 1 Sqm | 183795.5
72 | 193.3 | f.Curved surface | 1351.44 | 1 Sqm | 261233.352
73 | 590 | 18.9.1) Providing Form work and centering for portico area (Double stage) | 1801.92 | 1 Sqm | 1063132.8
74 | 66.3 | 21.5.1.3)Supplying and fixing of solid core flush door shutter of thickness 35mm Door size 2.00 m x 2.400 (Double leaves) DD | 2894.65 | 1 Sqm | 191915.295
75 | 38 | 21.5.2.2) Supply and Fixing Soild UPVC door Shutter with frame | 3167 | 1 Sqm | 120346
76 | 23.1 | 21.7.3) Supplying and fixing of solid core flush door shutter of thickness 35mm Door size 1.200 m x 2.400 (single Leaf) | 2833.02 | 1 Sqm | 65442.762
77 | 4.2 | Door size 1.00 m x 2.400 (Single Leaf) | 2922.19 | 1 Sqm | 12273.198
78 | 6.3 | Door size 1.00 m x 2.400 (Single Leaf) HD | 2922.19 | 1 Sqm | 18409.797
79 | 2.4 | Door size 1.10 m x 2.400 (Single Leaf) | 2903.27 | 1 Sqm | 6967.848
80 | 13.1 | Door size 0.900 m x 2.400 (Single Leaf) | 2982.24 | 1 Sqm | 39067.344
81 | 3 | Door size 1.350 m x 2.400 (Single Leaf) | 2785.33 | 1 Sqm | 8355.99
82 | 57.6 | 22.3.3) T.W. frame & TW styles & rails with BWR double leaf shutters for cup board/ ward robes including two coat enamel paint & one coat primer. | 4156.65 | 1 Sqm | 239423.04
83 | 8.4 | 23.2.1) Supply & fixing of 5.5mm thick plain Glass panels with Teak wood beedings | 901.4 | 1 Sqm | 7571.76
84 | 670.2 | 29.8) Glazed tiles using Grout (Tile Joint Filler) | 1304.82 | 1 Sqm | 874490.364
85 | 140.3 | 29.9) Floor ceramic tiles (Anti-skid) using Grout (Tile Joint Filler). | 1138.06 | 1 Sqm | 159669.818
86 | 153 | 38.4) Two coat of cement paint over one coat white cement | 124.33 | 1 Sqm | 19022.49
87 | 180.8 | 38.6) One coat white cement for new walls and other similar works. | 58.69 | 1 Sqm | 10611.152
88 | 27.8 | 38.8) Two coat of OBD over one coat white cement for inner walls | 119.37 | 1 Sqm | 3318.486
89 | 215.25 | 43.1) Fabrication of Mild steel / RTS grills (without cement slurry) for all sizes of rods. | 81012.5 | 1 MT | 17437940.625
90 | 4 | 44.2.1) Rain water harvesting using defunct borewell and providing perforated cover slab a). Providing pit (M30) | 1800.98 | 1 No | 7203.92
91 | 12 | b) Augering 30cm dia | 465.41 | 1 Rmt | 5584.92
92 | 84.4 | 44.6.2) PVC SWR 160 mm dia with ISI mark type- A for Rain water down fall pipe | 726.35 | 1 Rmt | 61303.94
93 | 49.5 | 50.6) Precast slab 50 mm tk.in C.C. 1:3:6 with fibre | 370.63 | 1 Sqm | 18346.185
37 | 40 | 52) PVC Water supply (ASTM) AGL d.50 mm dia | 287.78 | 1 Rmt | 11511.2
94 | 237 | 52.4) 20mm dia PVC water supply ASTM pipe (fully consealed in walls) | 221.55 | 1 Rmt | 52507.35
95 | 10 | 53.4) S&F of C.I Manhole cover 60 x 60 cm (50kg weight ) | 1846 | 1 No | 18460
96 | 27 | 53.5) Wash Hand Basin of size 550 x 400 mm (White with Pedestal) | 3578.42 | 1 No | 96617.34
97 | 33 | 54.1.1) S & F of 15mm dia half turn CP long body tap | 480 | 1 No | 15840
98 | 6 | 54.2.1) S & F of 15mm dia half turn CP short body tap | 432 | 1 No | 2592
99 | 4 | 56.3.1) S & F of Indian Water closet white glazed (Oriya type) of size 580 x 440mm with PVC SWR grade ' P' or "S' trap - in G.F. | 3189.22 | 1 No | 12756.88
100 | 6 | 56.4.1) S & F of Indian Water closet white glazed (Oriya type) of size 580 x 440mm with PVC SWR grade ' P' or "S' trap- Other than G.F. | 5057.98 | 1 No | 30347.88
101 | 25 | 57.1.1) S & F of E.W.C.(White) 500 mm with PVC SWR grade "P" or "S" TRAP | 6848.35 | 1 No | 171208.75
102 | 409 | 58.3) PVC SWR pipe (Soil line) with ISI mark - type 'B'. a. 110 mm dia. | 692.5 | 1 Rmt | 283232.5
103 | 566 | b. 75 mm dia. | 576.63 | 1 Rmt | 326372.58
104 | 132 | 58.4) Supplying, Laying & Concealing the 50mm dia PVC ( SWR) pipe with ISI mark type - 'B' with relevant specials. | 114.45 | 1 Rmt | 15107.4
105 | 80 | 61.3) UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003 a. 110 mm UPVC Non Pressure pipe | 459.03 | 1 Rmt | 36722.4
106 | 30 | b. 160 mm UPVC Non Pressure pipe | 770.06 | 1 Rmt | 23101.8
107 | 110 | 64.1) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990.( Ordinary) a. Light point with ceiling rose | 1500 | 1 No | 165000
108 | 7 | b. Light point without ceiling rose | 1505 | 1 No | 10535
109 | 59 | 65.1) Wiring with 1.5 sqmm PVC insulated single core for Fan point. | 1566 | 1 No | 92394
110 | 18 | 66.1) Wiring with 1.5 sqmm PVC insulated single core for Staircase Light Point. | 2802.6 | 1 No | 50446.8
111 | 142 | 67.1) Wiring with 1.5 sqmm PVC insulated single core for 5 amps 5 pin plug socket point @ Switch Board Itself. | 765 | 1 No | 108630
112 | 106 | 68.2) Wiring with 1.5 sqmm PVC insulated single core 5 amps 5 pin plug socket point @ Convenient Places. | 1041.5 | 1 No | 110399
113 | 104 | 70.5.2) Supply and fixing of 4' 18 watts LED Tube Light | 665 | 1 No | 69160
115 | 2 | 71.3) Supply and fixing of 63 Amps TPN Metal Clad Switch with Re-wirable Fuse Units | 3620 | 1 No | 7240
116 | 59 | 74.1) Supply and fixing of 19mm dia steam pipe for down rod of fan | 52.3 | 1 Rmt | 3085.7
117 | 59 | 75.2) Supply and delivery of 48" (1200 mm) Fan with ISI mark with Eletronic Dimmer | 1438 | 1 No | 84842
118 | 1875 | 77.5) Run of 2 Wires of 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 192.6 | 1 Rmt | 361125
119 | 1380 | 77.7) Run of 2 Wires of 2.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 209.8 | 1 Rmt | 289524
169 | 3 | 79.5) Supply and fixing of 100 amps fuse unit SRP-66 | 764 | 1 No | 2292
120 | 2 | 80.2)Supply and fixing of 450 x 375 x 20 mm thick TW plank | 1242.25 | 1 No | 2484.5
121 | 10 | 82.3.4) Supply and fiixng of 48 watts LED street light fittings with LED (Higher end) | 6951 | 1 No | 69510
122 | 990 | 84.3) Run of 2 Wires of 4 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 246.7 | 1 Rmt | 244233
123 | 1931 | 90.2) Providing additional strutting to centering of plain surface. | 32.02 | 1 Sqm | 61830.62
124 | 421.7 | 93.1) Plastering with CM 1:3, 12mm with WPC | 251.57 | 1 Sqm | 106087.069
125 | 275 | 96.5.1) Masonry work using Autoclaved Cellular Aerated Concrete Blocks size 600mm x 200mm x 100mm in CM 1:5 a.Ground Floor | 627.83 | 1 Sqm | 172653.25
126 | 292 | b.First Floor | 645.03 | 1 Sqm | 188348.76
127 | 258.3 | c. Second Floor | 662.23 | 1 Sqm | 171054.009
128 | 115.7 | 96.5.2) Masonry work using Autoclaved Cellular Aerated Concrete Blocks size 600mm x 200mm x 200mm in CM 1:6 a.Ground Floor | 6318.93 | 1 Cum | 731100.201
129 | 134.2 | b.First Floor | 6469.85 | 1 Cum | 868253.87
130 | 124.1 | c. Second Floor | 6620.77 | 1 Cum | 821637.557
131 | 53.8 | d.Third Floor | 6771.69 | 1 Cum | 364316.922
132 | 8.4 | 96.7.1) Aluminium Door (size 1.00 x 2.10m) supplying and fixing of aluminium extruded section with powder coating (black colour) | 6165.85 | 1 Sqm | 51793.14
133 | 108 | 97.6.1) Supplying and fixing of aluminium extruded section with powder coating (Black colour) with 9mm thk OSL duro tuff sheet | 4621.85 | 1 Sqm | 499159.8
134 | 282 | 102.Wiring with 1.5 sqmm PVC insulated single core (FOR ADMINISTRATIVE BLOCKS AND COMMUNITY CENTRE) a. Light point with ceiling rose | 2424 | 1 No | 683568
135 | 26 | b. Light point without ceiling rose | 2427 | 1 No | 63102
136 | 56 | 103) Fan Point for Administrative Blocks and Community centre | 2491 | 1 No | 139496
137 | 6 | 104) Staircase Light Point for Administrative Blocks and Community Centre | 4554 | 1 No | 27324
138 | 210 | 108.6.) Run of 4 Wires of 6 sqmm PVC insulated single core multi strand | 458 | 1 Rmt | 96180
139 | 90 | 108.7.) Run of 4 Wires of 10 sqmm PVC insulated single core multi strand | 589.3 | 1 Rmt | 53037
140 | 24 | 112.4) S & F of Exsaust Fan 450 mm dia | 2760 | 1 No | 66240
141 | 50 | CABLES & END TERMINATION 151.3.1) Supply and laying of PVC / XLPE, conductor 1.1KV grade armoured, MV cable a) 3.5 c x 300 sqmm aluminium cable (below GL) | 1770 | 1 Rmt | 88500
143 | 1 | External Electrical arrangements: SUB MAIN PANEL 155.1) Supply and erection of 400 Amps capacity floor mounting panel board (Cubical type) | 215000 | 1 No | 215000
144 | 1 | SUB Power PANEL I 155.2) Supply and erection of 250 Amps capacity floor mounting panel board (Cubical type) | 169500 | 1 No | 169500
145 | 1 | Sub Lighting Panel I 155.3) Supply and erection of 125 Amps capacity floor mounting panel board (Cubical type) | 142500 | 1 No | 142500
146 | 1 | AC Panel -1 155.4) Supply and erection of 250 Amps capacity floor mounting / wall mounting panel board (Cubical type) | 152500 | 1 No | 152500
147 | 2 | AC panel -2& 3 ( VTPN DB) 155.5) Supply and fixing of vertical type 6 way triple pole and neutral MCCB DB | 33330 | 1 No | 66660
148 | 8 | 160.1) Structural steel work made up of single section or compouned from other structural steel section like MS angles, | 132000 | 1 Mt | 1056000
149 | 2 | 161.1.4) Supply and fixing of brass cable gland for XLPE armoured LTUG cable for following sizes with earth connection. a) 3.5 c x 300 sqmm aluminium cable | 762 | 1 No | 1524
150 | 16 | b) 3.5 c x 185 sqmm aluminium cable | 620 | 1 No | 9920
151 | 6 | c) 3.5 c x 95 sqmm aluminium cable | 526 | 1 No | 3156
152 | 6 | d) 3.5 c x 50 sqmm aluminium cable | 387 | 1 No | 2322
153 | 12 | e) 3.5 c x 35 sqmm aluminium cable | 387 | 1 No | 4644
154 | 12 | f) 3.5 x 25 sqmm aluminium cable | 374 | 1 No | 4488
155 | 32 | g) 4 x 6 sq. mm cable | 243 | 1 No | 7776
156 | 2 | h) 6 core 2.5 sq.mm cable for control | 200 | 1 No | 400
157 | 2 | 161.4) Supply and providing cable end termination a) 3.5 c x 300 sqmm aluminium cable | 581 | 1 No | 1162
158 | 14 | b) 3.5 c x 185 sqmm aluminium cable | 491 | 1 No | 6874
159 | 6 | c) 3.5 c x 95 sqmm aluminium cable | 453 | 1 No | 2718
160 | 6 | d) 3.5 c x 50 sqmm aluminium cable | 301 | 1 No | 1806
161 | 12 | e) 3.5 c x 35 sqmm aluminium cable | 295 | 1 No | 3540
162 | 12 | f) 3.5 x 25 sqmm aluminium cable | 291 | 1 No | 3492
163 | 90 | 162.2.1) a) 3.5 c x 185 sqmm aluminium cable | 1153 | 1 Rmt | 103770
164 | 60 | b) 3.5 c x 95 sqmm aluminium cable | 714 | 1 Rmt | 42840
165 | 60 | c) 3.5 c x 50 sqmm aluminium cable | 506 | 1 Rmt | 30360
166 | 150 | d) 3.5 c x 35 sqmm aluminium cable | 433 | 1 Rmt | 64950
167 | 275 | e) 3.5 x 25 sqmm aluminium cable | 397 | 1 Rmt | 109175
168 | 25 | f) 6 core 2.5 sq.mm copper armoured cable for control | 325 | 1 Rmt | 8125
142 | 120 | g) 4 x 6 sq. mm | 272 | 1 Rmt | 32640
170 | 2 | External water supply arrangements: 171.2.8) Supply and delivery of clear water vertical wet type 3 phase submersible pumpset suitable for 150mm dia borewell (100 lpm x75m) | 41998 | 1 No | 83996
171 | 6 | DISTRIBUTION BOARDS. POWER 175.1.1) Supply and fixing of triple pole and neutral 6 way 7 segment 3 tier compartmental type MCB distribution board | 18563 | 1 No | 111378
172 | 6 | DISTRIBUTION BOARDS. Lighting 175.1.2) Supply and fixing of triple pole and neutral 4 way 7 segment 3 tier compartmental type MCB distribution board | 16818 | 1 No | 100908
173 | 9 | LIGHTING DBs 176.3.1) Supply and fixing of 8 way single pole and neutral MCB sheet steel enclosure | 6125 | 1 No | 55125
174 | 100 | 179.2) Providing and fixing 25mm x 6mm GI strip on surface | 210 | 1 Rmt | 21000
175 | 6485.1 | 207.3.1) Plastic Emulsion PAINT including primer for outer walls | 222.05 | 1 Sqm | 1440016.455
176 | 0.613 | 238.1) Anticorrosive treatment for window grills | 2767.25 | 1 MT | 1696.3242
177 | 66 | 254.1) . Two legged scaffolding 13m height | 1621.24 | 1 Rmt | 107001.84
178 | 69 | 255.2) Supply and fixing of 9 watts LED bulb | 134 | 1 No | 9246
179 | 112 | 255.8.3) Supply and fixing of 24 W LED 4000K 2x2 square type Recessed fititing with LED | 2730 | 1 No | 305760
114 | 32 | 255.8.4) Supply and fixing of 18W LED 3000K Round Type Recessed Fitting with LED | 1230 | 1 No | 39360
180 | 27 | 344.2) S&F of Bevelled edge mirror 500 x 400 x 5.5mm | 379.4 | 1 No | 10243.8
181 | 72 | 359.3.1) Concrete designer tiles flooring | 1400.9 | 1 Sqm | 100864.8
182 | 1009 | 361.2) Vitrified Tiles flooring (Ivory) | 1196.02 | 1 Sqm | 1206784.18
184 | 228.2 | 366.1.1) Manufacturing, Supplying and Fixing of Stainless Steel Hand rails for staircase near wet riser using 50mm dia 304L Grade Stainless | 1825 | 1 Rmt | 416465
183 | 27 | 366.3.1) Manufacturing, Supplying and Fixing of Stainless Steel Hand rails for staircase using 50mm dia 304L | 5482 | 1 Sqm | 148014
185 | 12.1 | 379.4.4) S & F of Granite slab of size 4'x2', 18 to 20mm Thick For kitchen arrangements (jet black) a. In Ground floor | 1923.6 | 1 Sqm | 23275.56
186 | 6.6 | b. In First floor | 1928.08 | 1 Sqm | 12725.328
187 | 6.6 | c. In Second floor | 1932.56 | 1 Sqm | 12754.896
188 | 831 | 379.7.4) Supplying and laying of Synthetic Grey colour Granite slab super fine polished with machine cut edges of 4'-0"x2'-0" and above, 18 to 20mm thick for flooring | 2222.72 | 1 Sqm | 1847080.32
189 | 339 | 379.8.2) S & F of Granite slab of size 4'x2', 18 to 20mm Thick For steps,landing & Ramp (Ruby red) | 1811.33 | 1 Sqm | 614040.87
190 | 237.1 | 379.8.6) Supplying and laying granite wall cladding in CM 1:2 using jet black slab of size 4'x2', 18 -20mmthk | 2624.82 | 1 Sqm | 622344.822
191 | 131.3 | 379.8.9) Supply and installation of Anutone (or) Euivalent Brand of Acoustical False Ceiling | 1717 | 1 Sqm | 225442.1
192 | 634 | 383.2) Providing nosing to the edges of Granite slab Double Nosing | 366.6 | 1 Rmt | 232424.4
193 | 15 | CABLE TRAY 528.1.2) Supply and fixing of perforated cable trays of sizes 300 x 50 mm - | 785 | 1 Rmt | 11775
194 | 36 | Work station, chair and accessories: 530.1.3) Work Station for Class Room Supply and delivery of 4 seater Linear MODULAR WORKSTATION size: 750mm X 600mm X 900mm(H) - 75mm thick aluminium section table | 30000 | 1 Set | 1080000
195 | 32.435 | Work Station for lab size ( 1.20 x 0.75 x 0.90m) 530.1.4) Supply and fixing of lab workstation made of 16mm thick BWR grade plywood | 15064 | 1 Sqm | 488600.84
196 | 18.03 | 530.1.5) Supply and laying of granite 18mm thick for lab worksation all sides full nosing and top surpace polishing including locking arrangements. | 3228 | 1 Sqm | 58200.84
197 | 9 | Office table 530.1.6) Supply and fixing of office table Top 25mm thick | 11500 | 1 No | 103500
198 | 6 | Visitor chairs 530.1.7) Supply of Visitor chair seat & back foam | 3300 | 1 No | 19800
199 | 164 | Revolving chair 530.4) Supply and delivery of Revolving chair mesh seat | 3750 | 1 No | 615000
200 | 5 | Revolving High back chair 530.4.1) Supply of high back chair seat moulded foam back rest mesh | 6500 | 1 No | 32500
201 | 8 | Ductable AC Plants: 540.4) Supply, installation testing and commissioning of 8.50 TR Air Cooled Ductable Split Unit with R407C Gas system of specified capacities. | 226800 | 1 No | 1814400
202 | 80 | 540.4.1) Accessories for package AC a) Supply and filling of R407C refrigerant gas | 600 | 1 Kg | 48000
203 | 8 | b) Supply, fabrication & fixing of MS Channel for mounting the Indoor AC Unit | 7194 | 1 No | 57552
204 | 8 | c) Supply, fabrication & fixing of MS Channel for mounting the outdoor AC Unit | 6123 | 1 No | 48984
205 | 80 | d) Supply and fixing of Copper Refrigerant Piping of 7/8" dia | 1020 | 1 Rmt | 81600
206 | 80 | e) Copper Refrigerant Piping along with tubing insulation clamping at regular intervals | 1317 | 1 Rmt | 105360
207 | 80 | f) Supply and providing of 1.5 sq.mm. copper flexible cable | 19.4 | 1 Rmt | 1552
208 | 110 | g) Supply and fixing of PVC water drain piping as required (1" PVC pipe) | 63 | 1 Rmt | 6930
209 | 320 | h) Supply, Fabrication and erection of fabricated ducting made up of GI sheets of 22 Gauge thickness | 1117 | 1 Sqm | 357440
210 | 64 | i) Supply and providing acoustic for initial portion of ducting with 12mm thick Fibre Glass Rigid Board covered with Tissue Paper and Aluminum Perforated Sheet | 827 | 1 Sqm | 52928
211 | 256 | j) Supply and providing thermal insulation of 9mm thick vidoflex with Aluminum Foil | 806 | 1 Sqm | 206336
212 | 16 | k) Supply and fixing of extruded aluminum powder coated, Supply and return Air Grilles / Diffusers with Volume Control Damper | 7775 | 1 Sqm | 124400
213 | 8 | l) Supply and fixing of Flexible Canvas Connection | 2720 | 1 No | 21760
214 | 8 | m) Supply and fixing ofSupply and fixing of Duct Mouth | 2330 | 1 Set | 18640
215 | 120 | n) Supply and providing of pipeline nitrle rubber insulation for Refrigerant and drain pipe lines. | 54.3 | 1 Rmt | 6516
216 | 125 | 608) Supply and fixing of PVC water supply (ASTM) (below GL) a.32mm dia | 149.13 | 1 Rmt | 18641.25
217 | 85 | b.50mm dia | 190.12 | 1 Rmt | 16160.2
218 | 2 | 615.2.1) Labour charges for the erection of submersible pumpset in borewell/openwell | 10051.1 | 1 No | 20102.2
219 | 2 | 615.3.1) Supply and delivery of 3 phase pane DOL with two level guard and auto start for 5 HP | 14492 | 1 No | 28984
220 | 54 | 741.1.1) Supply and fixing of 20 Amps DP plug and socket | 1879 | 1 No | 101466
221 | 879.4 | 778.2.3) Supplying, fabricating, erecting and fixing Hilux (or) Equivalent Board False Ceiling 10mm Plain sheet | 963 | 1 Sqm | 846862.2
222 | 217 | 832.5.2) Supplying and fixing in position of UPVC window of casement type( open) for all sizes | 7126 | 1 Sqm | 1546342
223 | 28.3 | 832.5.3) Supplying and fixing in position of UPVC Ventilator louvered ventilator type for all sizes | 7720 | 1 Sqm | 218476
224 | 7.2 | 832.7.2) Providing supplying and fixing of toughened glass partition made of 45 series aluminium frame using 10mm thick toughened glass partition. | 10450 | 1 Sqm | 75240
225 | 2 | 832.7.3) Providing supplying and fixing of toughened glass door made of 12mm Toughened glass door frame | 30000 | 1 No | 60000
226 | 12.5 | Post Tensioning Work: 851.2.1) Design and execution of post tensioning work, | 195940 | 1 MT | 2449250
227 | 25 | Fire protection system: 929.1) Supply, Erection, Testing and Commissioning of above ground piping carried out of MS class C Heavy duty pipe a.100mm nominal dia | 2277 | 1 Rmt | 56925
228 | 6 | b. 80mm nominal dia | 1777 | 1 Rmt | 10662
229 | 2 | 929.2) Supplying, Installing, testing and commissioning Cast iron and brone internal non rising internal non rising splindle sluice valve of size 100mm dia | 16544 | 1 No | 33088
230 | 2 | 929.3) Supply, erection, testing and commissioning of Cast iron body and Gun metal or stainless steel internal Non return valve 100 mm nominal dia | 12441 | 1 No | 24882
231 | 6 | 929.4) Supplying, installing, testing and commissioning of Internal Hydrant System comprising a) Supply and fixing of Fire fighting application oblique type stainless steel Hydrant Valve of size 63mm dia | 11044 | 1 No | 66264
232 | 6 | b) Supply, and fixing in position of Fire Fighting Application Hose of 63mm dia of 15 metres length binded by copper wire with 63mm dia stainless steel male and female | 9853 | 1 No | 59118
233 | 6 | c.Supply, and fixing in position of Fire Fighting Application 63mm dia stainless steel short length Branch Pipe | 3643 | 1 No | 21858
234 | 6 | d.Supply of Fire Fighting Application MS Hose Box | 8498 | 1 No | 50988
235 | 6 | 929.5) Supply, installation of Fire Fighting Application 180 degree swinging type, | 14905 | 1 No | 89430
236 | 1 | 929.6) Supply, Installation, Testing & Commissioning of Dial type pressure guage 0 to 14 Kg (100mm Industrial type) with necessary nipple & other fittings | 3444 | 1 No | 3444
237 | 1 | 929.7) Supply, erection, testing and commissioning of suitable Pressure Switch of reputed make line Indfoss or Donfoss | 5777 | 1 No | 5777
238 | 1 | 929.8) Supply, erection, testing and commissioning of fire fighting application monoblock motor pumpset of 900 LPM at 40 metres head to develop 3.5 kg/sq.cm (PWD SR -Pg-82) | 147400 | 1 No | 147400
239 | 1 | 929.9) Supply, erection, testing and commissioning of Fire Fighting 2 Way Fire Brigade Inlet with necessary gun metal 63mm dia non-return spring shutter arrangement | 13310 | 1 No | 13310
240 | 1 | 930) Supplying and fixing approved make 20mm dia automatic air release valve with ball valve union etc | 1610 | 1 No | 1610
241 | 8 | 931) Supplying, installing, testing and commissioning of Gun metal chrome finished Ball valves with fittings of screwed end type. 25mm dia. | 1200 | 1 No | 9600
242 | 600 | 931.1) Supplying, fabricating, structural steel supports such as MS channels, angles, flats, rods as required at site | 99.88 | 1 Kg | 59928
243 | 1 | 931.2) Supply, installation, testing and commissioning of Micro Processor based Conventional 12 Zone Fire Alarm Control Panel | 85470 | 1 No | 85470
244 | 35 | 931.3) SSupply, installation, testing and commissioning of Conventional Smoke Detector | 2332 | 1 No | 81620
245 | 7 | 931.4) Supply, installation, testing and commissioning of Addressable Heat Detector suitably mounted on ceiling with MS juction box / false ceiling | 2150 | 1 No | 15050
246 | 6 | 931.5) Supply, installation, testing and commissioning of Manual Call Point (MCP) providing on wall using fixing accessories | 1776 | 1 No | 10656
247 | 6 | 931.6) Supply, installation, testing and commissioning of Electronic Hooter / Sounder providing on wall using fixing accessories | 1721 | 1 No | 10326
248 | 600 | 931.7) Supply and laying of FRLS PVC insulated 2 core 1.5 sq.mm. Armoured Copper Cable on ceiling / wall using fixing accessories | 111 | 1 Rmt | 66600
249 | 8 | 931.8) Supply, Installation, Testing & Commisioning of Fire Extinguishers Supply and fixing of stored pressure ABC (Mono Ammonium Phospate) Powder Type Fire Extinguisher of 6 kg. capacity | 4999 | 1 No | 39992
250 | 8 | 931.9) Supply and fixing of Water CO2 Stored Pressure Type 9 litres capacity Fire Extinguisher | 6666 | 1 No | 53328
251 | 3 | 932) Supplying and delivery 4 Nos. Fire Buckets made out of 40 x 40 x 6mm MS Angle | 5550 | 1 No | 16650
252 | 184 | Data cabling & Networking arrangements: 955.2) Supply of delivery of following materials of network cabling work a. Face Plate Single Socket RJ-45 SRP.155 | 96.8 | 1 No | 17811.2
253 | 12 | b.LAN network switches 24 port | 6373 | 1 No | 76476
254 | 12 | c.24 Port Patch Panel – Fully Loaded | 4016 | 1 No | 48192
255 | 3980 | d. CAT 6 cable | 25 | 1 Rmt | 99500
256 | 3010 | e.PVC casing with acessories | 75 | 1 Rmt | 225750
257 | 184 | f. Patch Cord -1 Metre Length | 139.3 | 1 No | 25631.2
258 | 184 | g. Patch Cord -2 Metre Length | 186.8 | 1 No | 34371.2
259 | 3 | h. RACK WITH ACCESSORIES- 12U Rack | 6423 | 1 No | 19269
260 | 1 | i.RACK WITH ACCESSORIES- 16U Rack | 5400 | 1 No | 5400
261 | 184 | 955.3)Installation charges for following mateials for network cabling work a. Face Plate Single Socket | 240 | 1 No | 44160
262 | 12 | b.LAN network switches 24 port | 1800 | 1 No | 21600
263 | 3980 | c. CAT 6 cable laying charges | 24 | 1 Rmt | 95520
264 | 3010 | d. PVC casing with accessories | 36 | 1 Rmt | 108360
265 | 1 | e.16U Rack with all Acessories | 3000 | 1 No | 3000
266 | 1 | Passanger Lift: 958.4) Providing for passanger Lift (10 Person capacity) including provision for earthing, shaft, machine power main( G+3) without machine room | 1643000 | 1 No | 1643000
267 | 1 | Genset arrangements: 959.1) Supply, installation, testing and commissioning of 125 KVA Diesel Generator set with AMF panel complete with all accessories | 1048000 | 1 Set | 1048000
268 | 1 | 959.2) Supply and erection of residential silencer and cladding of silencer. The silencer shall be placed above the enclosure. | 4500 | 1 Set | 4500
269 | 6 | 959.3) Supply and installation of MS exhaust pipe of suitable thickness with 160mm dia upto 5m from the silencer complete with necessary supports, brackets etc., The support shall have intervals of not more than 2.5m.. | 2900 | 1 Rmt | 17400
270 | 3 | 959.4) Supply and installation of MS exhaust pipe of suitable thickness with 125mm dia complete with MS wall / Ceiling support etc.,. | 2600 | 1 Rmt | 7800
271 | 9 | 959.5) Supply and installation of exhaust pipe | 1850 | 1 Rmt | 16650
272 | 1 | 959.6) Supply and installation of stainless steel rain hood / rain cap / bend at top of the exhaust pipe | 4500 | 1 Set | 4500
273 | 6 | EARTHING & EARTH CONNECTION 960) Earthing as per the ISI specification with an earth electrode Data | 2516 | 1 No | 15096
274 | 12 | Video Projection, Audio & Screen arrangements: (Quotation) 983.1) Supply and delivery of PA wall speaker for following specifications * Input Power-60W RMS. * Dimensions-W230 × H300 × D200 mm | 8480 | 1 No | 101760
275 | 3 | 983.2) Supply and delivery of dual channel power Amplifier powered 24V Pa mixer for following specifications * Power Output-300W Max * MP3 player with USB,SD&MMC Card Reader, Bluetooth | 11176 | 1 No | 33528
276 | 3 | 983.3) Supply and delivery of wireless mic for following specifications * Dual Channel, Non-Diversity, 50Hz-16kHz Cardioid * Individual channel:XLR * (Hand+Collar) StudioMaster Dual wireless mic XR 40HL | 9350 | 1 No | 28050
277 | 5 | 983.4) Supply and delivery of interactive LCD capacitive 3840x2160 interactive panels and accessories 75”-4K  20 Touch Point, Toughened glass  30W in-built Speakers (15x2), Android 8.0  CAST, BROADCAST, display manage * Lifetime free update by OTT model Newline (TT-7518RS+) Equivalent | 250000 | 1 No | 1250000
278 | 1 | 983.5) Supply and delivery of Desktop Visual presenters with SXGA (1280X1024) Resolution for following specifications * Max output: Less than 1m W *Battery life (Presenter): 1050-hour maximum *Wireless technology: 2.4 GHz wireless technology Logictech R400 | 5000 | 1 No | 5000
279 | 3 | 983.6) Supply and delivery of Wireless mic * Dual Channel, Non-Diversity, 50Hz-15kHz Cardioid * Balanced:XLR and unbalanced ¼”jack (Hand+Collar) StudioMaster BR 48 series wireless mic. | 9350 | 1 No | 28050
280 | 5 | 983.7) Supply and delivery of NA Electronic lectern for following specifications * power output-40watts max *Contains a built-in speaker system consisting of 3nos. 6.5” | 47770 | 1 No | 238850
281 | 3 | 983.8) Optoma CX308ST Short throw Projector  Built-in 10W speaker  28dB low noise  Bright 3600 lumens  Versatile connectivity | 42280 | 1 No | 126840
282 | 3 | 983.9) Suppy & Delivery of 6 x 4 Instalock screen | 3996 | 1 No | 11988
283 | 3 | 984) Suppy & Delivery of Short throw kit | 3240 | 1 No | 9720
284 | 3 | 984.1) Suppy & Delivery of 15 mtr HDMI cable | 2592 | 1 No | 7776
285 | 3 | 984.2) Suppy & Delivery of 15 mtr VGA cable | 1728 | 1 No | 5184
286 | 3 | 984.3) Suppy & Delivery of 15 mtr power cable | 756 | 1 No | 2268
287 | 3 | 984.4) Installation, Testing & Commissioning Charges | 30000 | 1 Job | 90000
| * | Total |  |  | 84609728.3493
81645078.83