## New Abst
TAMIL NADU POLICE HOUSING CORPORATION LTD
Name of Works:- Providing Video wall arrangements, Air conditioner and false ceiling arrangements at 5th and 6th floor for Kalvi Tholaikatchi at M.G.R Centenary Building in DPI campus @ Nungambakkam in Chennai city.
DETAILED ESTIMATE
S.no | Item No | Qty | Description | Rate | Per | Amount
1 | 255.8.4 | 6 | Supply and fixing of 24W, 60cm model- 48W LED, cool-white 4000K. Built-in LED Strip | 16000 | 1 No | 96000
2 | 465.3.1 | 2 | Supplying and Installation of 7'00''x4'00'' Video wall Display Panel Input: RGB-DVI-D, Display Port 1.2 (1),Video-HDMI 2.0 | 700000 | 1 No | 1400000 |  |  |  | 70010.1695
3 | 540.1.3.1 | 4 | Supply and fixing of MS stand for fixing outdoor unit | 1070 | 1 No | 4280
4 | 540.1.7.2 | 4 | Installation and commissioning of the 3TR Cassette split type A/C units, | 2850 | 1 No | 11400
5 | 540.1.8 | 100 | Supplying & Laying of 25mm dia PVC drain pipe for AC | 63 | 1 Rmt | 6300
6 | 540.1.9.1 | 4 | Supply and installation of Automatic voltage stabilizer a. 4 KVA - 2.0 TR Split type AC | 4365 | 1 No | 17460
7 | 540.2.1 | 65.4 | Supply and laying of 5/8" and 3/8" copper pipe (Extra beyond 3m supplied with AC unit ) | 924 | 1 Rmt | 60429.6
8 | 540.2.5 | 4 | Supply of 3TR Cassette split type A/C units, each of nominal capacity as indicated suitable for operation on 415 V + 10% or 230 V + 10% 50 Hz, three / single phase AC supply | 105000 | 1 No | 420000 |  |  | 57.75
9 | 778.2.3 | 223.5 | Supplying and fixing in position of 10 mm thick (Plain sheet) Hilux – board false ceiling | 963 | 1 Sqm | 215230.5
10 |  |  |  | Sub total |  | 2231100.1
11 |  |  | GST 12% |  |  | 267732.012
12 |  |  |  | Sub total |  | 2498832.112
13 |  |  | Labour welfare fund @ 1% |  |  | 24988.3211
14 |  |  | Contigencies and petty supervision charges @ 2.5% |  |  | 351575
15 |  |  | Supervision charges @7. 5% |  |  | 187412.4084
16 |  |  | GST for Supervision charges @ 12% |  |  | 22489.489
17 |  |  |  | Total |  | 3085297.3305 | 4640055 | 4288480 | 351575
18 |  |  |  | Say | 4640100