## New Abst
TAMIL NADU POLICE HOUSING CORPORATION LTD
Name of Works:- Providing Green matt wall panelling arrangement and Acoustic door arrangement at 5th and 6th floor for Kalvi Tholaikatchi at M.G.R Centenary Building in DPI campus @ Nungambakkam in Chennai City.
ABSTRACT
S.no | Item No | Qty |  | Description | Rate | Per | Amount | Amount Given by User Dept | Difference Amount
1 | 465.4.2 | 189 | Sqm | Annexure GREENMATT - Providing for Fabric wrapped Compressed MDF panels paneling on rear walls Green Matt | 6450 | 1 Sqm | 1219050
2 | 540.1.3.1 | 3 | Nos | Supply and fixing of MS stand for fixing outdoor unit | 1070 | 1 No | 3210
3 | 540.1.7.2 | 3 | Nos | Installation and commissioning of the 3 tr Casette Split type A/C units and making good of opening in walls / ceilings | 2850 | 1 No | 8550
4 | 540.1.8.1 | 45 | Rmt | Supplying & Laying of 25mm dia PVC drain pipe for AC | 63 | 1 Rmt | 2835
5 | 540.1.9.1 | 3 | Nos | Supply and installation of Automatic voltage stabilizer with time delay relay a. 4 KVA - 2.0 TR Split type AC | 4365 | 1 No | 13095
6 | 540.2.1 | 60 | Rmt | Supply and laying of 5/8" and 3/8" copper pipe (Extra beyond 3m supplied with AC unit ) | 924 | 1 Rmt | 55440
7 | 540.2.5 | 3 | Nos | Supply of 3TR Cassette split type A/C units, each of nominal capacity | 105000 | 1 No | 315000
8 | 832.4.3 | 34.1 | 0 | ACOUSTICS - DOORS - Providing and fixing of Noise Reduction doors (make ENVIROTECH or Equivalent ) a) Single leaf door of size 900 x 2100 | 8300 | 1 Sqm | 283030 |  |  | 85000
9 |  | 34.1 | 0 | b) Double leaf door of size 1800 x 2100 | 8700 | 1 Sqm | 296670
[5 empty] | Sub total |  | 2196880
10 |  |  |  | GST 12% |  |  | 263625.6
[5 empty] | Sub total |  | 2460505.6

## New Abst (2022-23)
Name of Works:- Providing Green matt wall panelling arrangement and Acoustic door arrangement at 5th and 6th floor for Kalvi Tholaikatchi at M.G.R Centenary Building in DPI campus @ Nungambakkam in Chennai city.
ABSTRACT
S.no | Item No | Qty |  | Description | Rate | Per | Amount | Amount Given by User Dept | Difference Amount
1 | 465.4.2 | 189 | Sqm | Annexure GREENMATT - Providing for Fabric wrapped Compressed MDF panels panelling on rear walls Green Matt | 6450 | 1 Sqm | 1219050
2 | 540.1.3.1 | 3 | Nos | Supply and fixing of MS stand for fixing outdoor unit | 1088 | 1 No | 3264
3 | 540.1.7.2 | 3 | Nos | Installation and commissioning of the 3TR Cassette split type A/C units,and making good of opening in walls / ceilings | 2850 | 1 No | 8550
4 | 540.1.8.1 | 45 | Rmt | Supplying & Laying of 25mm dia PVC drain pipe for AC | 64.1 | 1 Rmt | 2884.5
5 | 540.1.9.1 | 3 | Nos | Supply and installation of Automatic voltage stabilizer a) 4 KVA capacity with time delay relay | 4441 | 1 No | 13323
6 | 540.2.1 | 60 | Rmt | Supply and laying of 5/8" and 3/8" copper pipe (Extra beyond 3m supplied with AC unit ) | 940 | 1 Rmt | 56400
7 | 540.2.5 | 3 | Nos | Supply of 3TR Cassette split type A/C units, each of nominal capacity | 105000 | 1 No | 315000
8 | 832.4.3 | 34.1 | 0 | ACOUSTICS - DOORS - Providing and fixing of Noise Reduction doors (make ENVIROTECH / Equivalent ) a) Single leaf door of size 900 x 2100 | 8300 | 1 Sqm | 283030 |  |  | 85000
9 |  | 34.1 | 0 | b) Double leaf door of size 1800 x 2100 | 8700 | 1 Sqm | 296670
|  |  |  | Sub total -I |  |  | 2198171.5
10 |  |  |  | GST 12% |  |  | 263780.58
|  |  |  | Sub total-II (SR 2022-23) |  |  | 2461952.08
|  |  |  | SR 2021-22 |  |  | 2460505.6
1446.48
0.05879%