## New Abstract
Name of work :- Special repair works to Flat No.8B of CID Police quarters at Mandhaveli in Chennai City
Abstract
Sl. No | Item. No | Qty | Description of work | Rate | Unit | Amount
1 | 1.1 | 24.5 | Earth work excavation for foundation in all soils and sub soils to the required depth (including refilling) a) 0 to 2m depth | 247.31 | 1 Cum | 6059.095
2 | 15.1 | 4.6 | Providing Cuddappah slab of 20mm thick, finishing with two sides for cupboard, ward-robes, shelves, kitchen platform slabs, sink and other similar works I. 20mm thick In Ground Floor | 563.35 | 1 Sqm | 2591.41
3 | 74 | 7 | Electrical arrangement Charges for assembling and fixing of ceiling fan | 571 | 1 No | 3997
4 | 76 | 14 | Supply and run of 1 of No.8 SWG GI wire for earth connection | 26 | 1 Rmt | 364
5 | 77.4 | 25 | Supplying, laying and concealing of PVC pipe of 20mm dia | 87.66 | 1 Rmt | 2191.5
6 | 112 | 2 | Supplying and fixing of 300 mm dia sweep AC exhaust fan of approved ISI | 2336 | 1 No | 4672 |  | Annexure
7 | 238 | 0.525 | Anticorrosive treatment for steel grills | 4755.5 | 1 MT | 2496.6375
8 | 3.1.3 | 10.5 | ANNEXURE Plain cement concrete 1:5:10 (One of cement, five of crushed stone sand and ten of hard broken stone Jelly) for foundation using 40 mm gauge broken stone jelly | 4902.14 | 1 Cum | 51472.47
9 | 8.2.3.1 | 10.5 | Standardised concrete Mix M30 Grade Concrete b. In Ground floor | 8720.53 | 1 Cum | 91565.565
10 | 10.2.2 | 5 | Brick partition wall in C.M. 1:4 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") 114 mm thick (B.P.) b) In Ground Floor | 866.58 | 1 Sqm | 4332.9
11 | 21.5.2.2 | 3 | Supply and Fixing Soild UPVC door Shutter with frame | 3325 | 1 Sqm | 9975
12 | 22.5.1 | 54 | Supplying and fixing of following furniture fittings (ISI) make including cost of material and labour charges for fixing etc., all complete a) Butt Hinges with Nylon Washers of 75mm x 30mm (with required screws) | 64.5 | 1 No | 3483
13 |  | 18 | b) Tower Bolts of 150mm long and 12mm dia (with required screws) | 84.5 | 1 No | 1521
14 |  | 54 | c) Handles "D" type of 100mm long with required screws | 46 | 1 No | 2484
15 |  | 18 | d) Aluminium Door Stopper with Rubber Bush with required screws | 74 | 1 No | 1332
16 |  | 9 | e) Aldrops of 250mm long and 16mm dia with required screws, bolts and nuts | 235.5 | 1 No | 2119.5
17 | 29.9.4.1 | 4.2 | Supplying and laying of colour matt finish floor of size (305x305mm) and other similar works to the required size wherever necessary, pointing the joints with Grout (Tile joint filler) | 1403.2 | 1 Sqm | 5893.44
18 | 29.9.5.1 | 23 | Supplying and laying of Colour matt finish wall tiles to the required size wherever necessary, pointing the joints with Grout (Tile joint filler) | 1699.98 | 1 Sqm | 39099.54
19 | 33.2.1 | 8.5 | Plastering with CM 1:5 (One of cement and five of crushed stone sand) 12mm thick | 261.5 | 1 Sqm | 2222.75
20 | 43.2.1 | 0.525 | Supplying, fabricating and placing in position of Mild steel Grills / Ribbed Tor Steels binding wire insulated with PVC | 90322.8 | 1 MT | 47419.47
21 | 52.1.1 | 12 | Supplying, laying, fixing and jointing the following PVC pipes as per ASTM D - 1785 of schedule 40 of wall thickness not less than the specified in IS 4985 c) 20mm PVC pipe with necessary PVC/UPVC specials | 238.64 | 1 Rmt | 2863.68
22 | 57.1.2 | 1 | Supplying and fixing colour EWC superior variety ( colour) | 7651.85 | 1 No | 7651.85
23 | 58.3 | 10 | Supplying and fixing the following dia PVC (SWR) pipe including all required PVC specials etc., all complete., a) 110mm dia PVC SWR pipe | 735.27 | 1 Rmt | 7352.7
24 |  | 12 | b) 75mm dia PVC SWR pipe | 617.97 | 1 Rmt | 7415.64
25 | 60.1 | 5 | Supplying and fixing of PVC Nahani Trap not less than 75mm 4 way / 2 way (Superior variety) | 160 | 1 No | 800
26 | 61.3 | 18 | Supplying, laying and jointing the following dia UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003 a. 160 mm UPVC Non Pressure pipe | 815.71 | 1 Rmt | 14682.78
27 | 64.1.1 | 21 | Wiring with 1.5 Sqmm copper PVC insulated unsheathed single core 1.1 K.v. grade cable 5 amps flush type switch (Open wiring) a) Light point with ceiling rose | 895 | 1 No | 18795
28 | 67.1 | 7 | Wiring with 1.5 1 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for 5 amps 5 pin plug socket point @ Switch Board Itself. | 830 | 1 No | 5810
29 | 68.2.1 | 14 | Wiring with 1.5 sqmm copper P.V.C. insulated unsheathed single core 1.1.k.v. grade cable for 5 amps. 5 pin plug socket point at convenient places (Open wiring) | 677 | 1 No | 9478
30 | 69.2 | 9 | Supply and fixing of 15 Amps 3 pin plug socket point on a suitable PVC box concealed and covered with 3mm thick laminated hylem sheet | 135 | 1 No | 1215
32 | 70.5.2 | 15 | Supply and fixing of 4' long 18 W Crystal Glass LED tube Light with ISI mark | 690 | 1 No | 10350
33 | 71.3.2 | 1 | Supply and fixing of 32A DP switch of 500V with metal clad with fuse and neutral (side handle) on suitable TW board with earth connection | 1390 | 1 No | 1390
34 | 75.2 | 7 | Supply and delivery of following Electric Ceiling fan a) 48" Electric fan 1200mm sweep | 1553 | 1 No | 10871
35 | 77.7.1 | 80 | Run off mains with 2 wires of 2.5 Sqmm copper PVC insulated unsheathed single core 1.1KV cable (Open wiring) | 146.6 | 1 Rmt | 11728
31 | 84.3.1 | 129 | Supply and Run off main with 2 wires of 4 sq.mm PVC insulated single core multi strand fire retardant flexible copper cable (Open wiring) | 177 | 1 Rmt | 22833
36 | 176.3.1 | 1 | Supply and fixing of 8 way single pole and neutral MCB sheet steel enclosure distribution board with double door (metal) | 3191 | 1 No | 3191
37 | 178 | 1 | Earthing as per the ISI specification with an earth electrode of 2.10 metre Class 'B' GI pipe of dia not less than 40mm with copper earth plate of size 125mm x 50mm x 6mm with necessary funneling arrangements | 2703 | 1 No | 2703
38 | 207.3.6 | 463 | Painting the old walls two coats with plastic emulsion paint of best approved quality colour and shade (Excluding scrapping) | 167 | 1 Sqm | 77321
39 | 207.3.9 | 463 | Painting one coat with ready mixed plastic emulsion paint primer for old wall of first class quality paint of approved colour and shade including thorough scrapping | 75 | 1 Sqm | 34725
40 | 207.4 | 104.1 | Painting the old wood work with two coats of approved Ist class synthetic enamel paint including thorough scrapping | 164 | 1 Sqm | 17072.4
41 | 209.7 | 128 | Clean removal of the existing damaged floor and wall plastering without damaged existing structure | 660 | 1 Sqm | 84480
42 | 222.2.1 | 24 | Labour charges for the removing and refixing the damaged door shutter or other similar joinery work | 383.9 | 1 Sqm | 9213.6
43 | 222.2.2 | 16.2 | Labour charges for the removing and refixing the damaged window shutter or other similar joinery work | 444.51 | 1 Sqm | 7201.062
44 | 362.2.2 | 115.5 | Supplying and fixing of Stain free nano polish Vitrified Tiles of size 600x600x8mm for flooring and other similar works | 1522.99 | 1 Sqm | 175905.345
45 | 379.5.2 | 1.4 | Supplying and laying of Jet black granite slab (Superfine polished with machine cut edges) of size 4'-0" x 2'-0" of 18 to 20mm thick for kitchen arrangements (Ground floor) | 1969.38 | 1 Sqm | 2757.132
46 | 383.4.3 | 1 | Supply, delivery and fixing of Stainless steel sink size of 600 x 450 x 200mm using 32mm dia ‘B’ class G.I. waste water pipe and 32 mm dia C.P. waste coupling | 7140 | 1 No | 7140
47 | 451.3.3 | 2 | Supplying and fixing of the following water supply fittings of approved make (ISI) and quality a) 15mm dia CP angle cock | 1002 | 1 No | 2004
48 |  | 1 | b) 15mm dia Stainless Steel Health Faucet | 1375 | 1 No | 1375
49 |  | 2 | c) 15mm dia SS Heavy Duty Long Body Tap | 1771 | 1 No | 3542
50 | 741.1.1 | 2 | Supply and fixing of 20Amps Double pole plug and sockets in sheet steel enclosure with 32 AMPS Double pole MCB in Flush with wall with earth connection ( for AC Plug) | 1839 | 1 No | 3678
51 | 753 | 2 | Construction of Inspection chamber with brickjelly cement concrete 1:8:16 ( One of cement, eight of crushed stone sand and sixteen of broken brick jelly 40mm gauge b.Inspection Chamber size 60 x 60 x 60 cm | 6248.08 | 1 No | 12496.16
52 | 832.5.3 | 1.1 | Supplying and fixing in position of UPVC Ventilator louvered ventilator type for all sizes | 8106 | 1 Sqm | 8916.6
53 | 983 | 10.5 | Providing and applying charges of Krystal Internal Membrane of Crystalline waterproofing admixture 3.2kg per one cum added in M30 grade reinforced cement concrete | 2080 | 1 Cum | 21840
54 | 983.1 | 41 | Providing waterproofing protective for outer wall using with applying two coats of forsoc bursh water proofing admixture over the existing walls and plastering with CM 1:2, 20mm thick | 1170 | 1 Sqm | 47970 | 0.0035
|  |  | Sub Total-I |  |  | 942060.2265
|  |  | GST @18% |  |  | 169570.8408
|  |  | Sub Total-II |  |  | 1111631.0673
|  |  | Labour welfare fund @ 1% |  |  | 9420.6023
|  |  | Provision for petty supervision and Contingencies @ 2.5% |  |  | 27790.7767
|  |  | Supervision charges @ 7.5% |  |  | 83372.33
|  |  | Total |  |  | 1232214.7763
[5 empty] | Say | 12,32,300/-