## CS (3)
Name of Work: Construction of State Head Office to Co-operative Bank & Mini Hall Building at Chitrakulam South Street, Mylapore in Chennai City
Contract No: SE/CC/DB/ 4964 /2022
SCHEDULE OF WORK / ITEM(S) - REVISED COMPARATIVE STATEMENT
Sl. No | Description of Work / Item(s) | Qty | Units | Estimated Rate (As per PWD SR 2022-23)
|  |  |  | Rate | Amount
1 | 1.1) Earth work excavation in all soils (including refilling)a. 0 to 2 mt. | 326.30 | 1 Cum | 247.31 | 80697.253
2 | 1.5) Earth work excavation for Open foundation (excluding refilling) a. 0 to 2 mt. | 38.70 | 1 Cum | 116.88 | 4523.256
3 | b. 2 to 3 mt. | 5.80 | 1 Cum | 128.10 | 742.98
4 | 7.2) Supply and fixing of Bituminous filler pad, 20 mm thick for expansion joint | 1.00 | 1 Sqm | 719.00 | 719
5 | 13.1) Filling with Excavated Earth | 130.60 | 1 Cum | 40.65 | 5308.89
6 | 15.1) Providing Cuddappah slab of 20mm thick a. Ground floor | 5.40 | 1 Sqm | 563.35 | 3042.09
7 | b. In First floor | 5.40 | 1 Sqm | 568.27 | 3068.658
8 | 21.2) Teak wood Wrought & Put up a. T.W. over 2 m & below 3 m | 0.382 | 1 Cum | 125878.00 | 48085.396
9 | b. T.W. below 2 m length. | 0.055 | 1 Cum | 113678.00 | 6252.29
10 | 23.3) S&F of Magnetic door catches | 10.00 | 1 No | 52.00 | 520
11 | 25) M.S.Holdfast | 48.00 | 1 No | 9.60 | 460.8
12 | 30) Ellispattern | 19.00 | 1 Sqm | 460.27 | 8745.13
13 | 31) Weathering course | 19.20 | 1 Cum | 3923.95 | 75339.84
14 | 37.1) White washing 3 coats (slaked) | 576.30 | 1 Sqm | 47.21 | 27207.123
15 | 39) Supplying and fixing Mild Steel grills as per the design approved to verandah enclosure or gate | 1823.00 | 1 Kg | 70.15 | 127883.45
16 | 40) Painting the new wood work with two coats of approved first class synthetic enamel ready mixed paint | 27.10 | 1 Sqm | 240.31 | 6512.401
17 | 41) Painting the new Iron work and other similar works such as PVC /ASTM Pipes, Kerb Stone and grills with two coats | 189.00 | 1 Sqm | 142.15 | 26866.35
18 | 46) Supply and fixing 20 mm dia aluminium Hanger Rod | 2.40 | 1 Rmt | 58.00 | 139.2
19 | 47) Supplying and fixing of aluminium towel rails of 75cm long | 5.00 | 1 No | 95.00 | 475
20 | 48) Supplying and fixing of aluminium plate with five pins for coat stand | 2.00 | 1 No | 55.00 | 110
21 | 53.3) Supplying and fixing of C.I. Steps ( 5 kg) | 10.00 | 1 No | 30.00 | 300
22 | 72) Electrical arrangements Supply and fixing of best approved superior variety concealed type Fibre box with M.S. Fan Hook | 21.00 | 1 No | 33.90 | 711.9
23 | 74) Charges for fixing of "Fan" | 21.00 | 1 No | 571.00 | 11991
24 | 77.3) Supplying, fixing and concealing T.W box of size 8"x6"x4" covered with 3mm thick hylem sheet of TV/Telephone line Socket | 8.00 | 1 No | 77.01 | 616.08
25 | 77.4) Supplying, laying and concealing of PVC pipe of 20mm dia with necessary specials and other materials for TV/Telephone line | 320.00 | 1 Rmt | 87.66 | 28051.2
26 | 78) Providing Earthing station using pipe electrode as per IS 3043 using 2.5m of 40mm and 1.0 m of 20mm B-class GI pipe | 4.00 | 1 No | 2921.60 | 11686.4
27 | 86) Providing pre-constructional Antitermite treatment | 873.60 | 1 Sqm | 34.00 | 29702.4
28 | 112) Supplying and fixing of 300 mm dia sweep AC exhaust fan of approved ISI quality | 7.00 | 1 No | 2336.00 | 16352
29 | 238) Applying one coat of anticorrosive treatment on steel reinforcement rods | 25.09 | 1 MT | 4755.50 | 119315.495
30 | ANNEXURE 1.14.3) Prviding Augering 30 cm dia for compound wall (Standardized concrete grade M30) | 36.00 | 1 Rmt | 1021.88 | 36787.68
31 | 2.15) Supply and filling in foundation and basement with Stone dust in layers of 150mm thickness | 128.70 | 1 Cum | 296.79 | 38196.873
32 | 3.1.3) Plain cement concrete 1:5:10 (One of cement, five of crushed stone sand and ten of hard broken stone Jelly) for Foundation & Basement | 37.40 | 1 Cum | 4939.25 | 184727.95
33 | 3.2.3) Plain cement concrete 1:2:4 (One of cement two of crushed stone sand and four of Hard Broken Stone jelly) for Foundation & Basement and other similar works | 5.10 | 1 Cum | 6485.13 | 33074.163
34 | 6.2.2) Brick work in C.M. 1:5 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") a) In foundation and basement | 16.90 | 1 Cum | 6813.03 | 115140.207
35 | 8.2.3.1)Standardised concrete Mix M30 Grade Concrete a. In Foundation and basement | 98.90 | 1 Cum | 8631.49 | 853654.361
36 | b. In Ground Floor | 62.80 | 1 Cum | 8756.45 | 549905.06
37 | c. In First Floor | 50.30 | 1 Cum | 9002.63 | 452832.289
38 | d. In Second Floor | 14.40 | 1 Cum | 9248.81 | 133182.864
39 | 9.2.2) Brick work in C.M. 1:6 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") a. In Ground Floor/Stilt floor | 30.00 | 1 Cum | 6837.33 | 205119.9
40 | b. In First Floor | 30.10 | 1 Cum | 7003.32 | 210799.932
41 | c. In Second Floor | 25.00 | 1 Cum | 7169.31 | 179232.75
42 | 10.2.2) Brick partition work in C.M. 1:4 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") 114 mm thick (B.P.) a. In Foundation and basement | 34.50 | 1 Sqm | 859.36 | 29647.92
43 | b. In Ground Floor/stilt floor | 128.50 | 1 Sqm | 868.74 | 111633.09
44 | c. In First Floor | 67.90 | 1 Sqm | 887.66 | 60272.114
45 | 11.2.2) Brick work partition wall in C.M. 1:4 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") 75 mm thick (B.P.) a. In Ground Floor | 15.30 | 1 Sqm | 607.17 | 9289.701
46 | b. In First Floor | 3.80 | 1 Sqm | 619.62 | 2354.556
47 | 14.3.2) Precast cupboard slab 40 mm thick using standardised concrete mix M30 b. In Ground floor | 13.50 | 1 Sqm | 1716.88 | 23177.88
48 | 18.1) Formwork using M.S.Sheet a.For Column footings, plinth beam, Grade beam, Raftbeam,Raft slab etc., | 269.50 | 1 Sqm | 881.39 | 237534.605
49 | b.Plain surfaces such as Roof slab, floorslab, Beams ,lintels, lofts, sill slab,staircase,portico slab and other similar works | 942.80 | 1 Sqm | 982.08 | 925905.024
50 | c.For Square and rectangular columns and small quantities | 293.60 | 1 Sqm | 1178.50 | 346007.6
51 | d.Vertical wall | 206.10 | 1 Sqm | 1080.29 | 222647.769
52 | 21.5.2.2) Supply and Fixing Soild UPVC door Shutter with frame | 11.10 | 1 Sqm | 3325.00 | 36907.5
53 | 21.7.3) Supplying and fixing of solid core flush door shutter of thickness 35mm g). door size 1.000 m x 2.100 (Single Leaf) | 5.50 | 1 Sqm | 3021.75 | 16619.625
54 | i) door size 0.900 m x 2.100 (Single Leaf) | 3.30 | 1 Sqm | 3088.84 | 10193.172
55 | 22.1.1) TW panelled single door shutter without brass fittings. b. 900 X 2100mm without Brass fittings (Single leaf) | 1.70 | 1 Sqm | 5112.27 | 8690.859
56 | 22.2.2) Supply and fixing of Vertical Blinds (Premium) with 100mm vanes or equivalent fabric vanes | 20.30 | 1 Sqm | 1383.00 | 28074.9
57 | 26.1) Flooring in C.C.1:5:10 | 33.10 | 1 Cum | 4939.25 | 163489.175
58 | 29.8.1) Glazed tiles using Grout (Tile Joint Filler), C.M 1:2, 10mm tk | 105.40 | 1 Sqm | 1415.84 | 149229.536
59 | 29.9.1) Floor ceramic tiles (Anti-skid) using Grout (Tile Joint Filler). | 18.00 | 1 Sqm | 1243.35 | 22380.3
60 | 32.1.1) Finishing top of roof with one course of Pressed Tiles of approved superior quality of size 23cmx 23cmx20mm thick laid over weathering course in cm 1:3 12mm thick | 226.30 | 1 Sqm | 1228.86 | 278091.018
61 | 33.2.1)Plastering in C.M. 1:5, 12 mm thick. | 1918.90 | 1 Sqm | 261.83 | 502425.587
62 | 34.2.1) Plastering in C.M. 1:4, 12 mm thick | 16.60 | 1 Sqm | 267.92 | 4447.472
63 | 35.2.1) Special ceiling plastering in cement mortar 1:3,10 mm thick. | 762.70 | 1 Sqm | 299.53 | 228451.531
64 | 36.1) Plastering in CM 1:5 (One of cement and five of crushed stone sand) 12mm thick for border finish in all floors a. 150 mm wide | 119.90 | 1 Rmt | 83.88 | 10057.212
65 | b. 75 mm wide | 144.50 | 1 Rmt | 54.65 | 7896.925
66 | c. 50 mm wide | 131.30 | 1 Rmt | 40.69 | 5342.597
67 | 43.2.1) Supplying, fabricating and placing in position of Mild steel Grills / Ribbed Tor Steels binding wire insulated with PVC | 25.091 | 1 MT | 90322.80 | 2266289.3748
68 | 44.2.1) Rain water harvesting using defunct borewell and providing perforated cover slab a). Providing pit (M30) | 6.00 | 1 No | 2196.26 | 13177.56
69 | b) Augering 30cm dia | 36.00 | 1 Rmt | 504.58 | 18164.88
70 | 44.6.1) Supplying and fixing of 110mm dia PVC SWR pipe with ISI mark confirming to IS 13952:1992- type 'A' for Rain water down fall pipe with (UPVC special clamp ) | 48.00 | 1 Rmt | 353.71 | 16978.08
71 | 50.2.1.1) Providing precast Kerb stone in C.C. 1:3:6, 450 x 300 x 150 mm | 11.00 | 1 Rmt | 267.89 | 2946.79
72 | 50.5.1) Supplying, Fabricating and erection of M.S Scheme Name board | 1.00 | 1 No | 19550.52 | 19550.52
73 | 50.6.1) Supplying and fixing of fibre mixed precast slab of 50mm thick | 43.50 | 1 Sqm | 414.55 | 18032.925
74 | 52.1.1) Supplying, laying, fixing and jointing the following PVC pipes as per ASTM D - 1785 of schedule 40 threaded PVC pipe with necessary PVC/UPVC specials of wall thickness not less than the specified in IS 4985 a) 32 mm dia | 104.00 | 1 Rmt | 261.46 | 27191.84
75 | b) 25 mm dia | 48.00 | 1 Rmt | 243.43 | 11684.64
76 | 52.4.1) Supply, laying & jointing the following pipes as per ASTM D 1785 of schedule 40 with UPVC Specials c. 20mm dia PVC water supply ASTM pipe (fully consealed in walls) | 42.00 | 1 Rmt | 240.64 | 10106.88
77 | 53.4) Supplying and fixing of C.I Manhole cover 0.6 x 0.6 m (50kg weight) | 2.00 | 1 No | 1864.00 | 3728
78 | 53.5) Supplying and fixing of porcelin Wash hand basin (white without pedastal), superior variety of size 550x400mm with all accessories | 3.00 | 1 No | 3406.02 | 10218.06
79 | 54.1.2) Supply and fixing of 15mm dia Engineering Polymer Tap (long body ) | 3.00 | 1 No | 259.00 | 777
80 | 54.2.2) Supply and fixing of 15mm dia Engineering Polymer Tap short body tap | 3.00 | 1 No | 248.00 | 744
81 | 56.3.2) Supplying and fixing of Indian Water closet white glazed (Oriya type) of size 580 x 440mm with PVC SWR grade 'P' or 'S' trap In Ground floor | 1.00 | 1 No | 3424.09 | 3424.09
82 | 57.1.1) Supplying and fixing EWC superior variety (white) 500mm | 5.00 | 1 No | 7257.85 | 36289.25
83 | 58.3) Supplying and fixing the following dia PVC (SWR) pipe including all required PVC specials etc., all complete., a) 110mm dia PVC SWR pipe | 26.00 | 1 Rmt | 735.27 | 19117.02
84 | b) 75 mm dia PVC SWR pipe | 42.00 | 1 Rmt | 617.97 | 25954.74
85 | 58.4) Supplying, Laying & Concealing the 50mm dia PVC ( SWR) pipe with ISI mark type - 'B' with relevant specials. | 14.00 | 1 Rmt | 114.45 | 1602.3
86 | 59.2.1) Supplying and fixing 150mm x 100mm size stone ware Gully trap using chamber burnt bricks of size 9”x4-1/2”x3” (23x11.4x7.5cm) | 11.00 | 1 No | 2074.93 | 22824.23
87 | 60.1) Supplying and fixing of PVC Nahani Trap not less than 75mm 4 way / 2 way (Superior variety) | 12.00 | 1 No | 160.00 | 1920
88 | 61.3) Supplying, laying and jointing the following dia UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003 a. 110 mm UPVC Non Pressure pipe | 30.00 | 1 Rmt | 490.74 | 14722.2
89 | 64.1.1) Wiring with 1.5 Sqmm copper PVC insulated unsheathed single core 1.1 K.v. grade cable 5 amps flush type switch (Open wiring) a) Light point with ceiling rose | 5.00 | 1 No | 895.00 | 4475
90 | 64.1.2) Wiring with 1.5 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI make 5 amps flush type switch a) light point with ceiling rose (Coastal area) | 84.00 | 1 No | 1617.00 | 135828
91 | b. Light point without ceiling rose | 9.00 | 1 No | 1620.00 | 14580
92 | 65.1.2) Wiring with 1.5 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for Fan point.(PVC Electrical Box ) | 21.00 | 1 No | 1672.00 | 35112
93 | 66.1.2) Wiring with 1.5 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for Staircase Light Point.(PVC Electrical Box ) | 2.00 | 1 No | 3038.04 | 6076.08
94 | 67.1) Wiring with 1.5 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for 5 amps 5 pin plug socket point @ Switch Board Itself. | 20.00 | 1 No | 830.00 | 16600
95 | 68.2.2) Wiring with 1.5 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for 5 amps 5 pin plug socket point @ Convenient Places.(PVC Electrical Box ) | 21.00 | 1 No | 1120.00 | 23520
96 | 69.2) Supplying and fixing of 15 Amps 3 pin flush type plug using ( PVC Box , Fire Retarded Box) | 3.00 | 1 No | 135.00 | 405
97 | 70.5.2) Supply and fixing of 4' long 18 W Crystal Glass LED tube Light with ISI mark | 16.00 | 1 No | 690.00 | 11040
98 | 75.2) Supply and delivery of following Electric Ceiling fan a) 48" Electric fan 1200mm sweep | 21.00 | 1 No | 1552.70 | 32606.7
99 | 77.4.2) Supplying, laying and concealing of PVC pipe of 32mm dia with necessary specials | 48.00 | 1 Rmt | 114.54 | 5497.92
100 | 77.7) Run of 2 Wires of 2.5 Sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark | 595.00 | 1 Rmt | 226.00 | 134470
101 | 82.3.1) Supply, fiing of 30W LED street light etc., | 4.00 | 1 No | 4030.00 | 16120
102 | 84.3) Run of main with 2 wires 4 sq.mm. PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark | 300.00 | 1 Rmt | 266.00 | 79800
103 | 93.1.1) Plastering with CM 1:3, 12mm thick with WPC | 54.50 | 1 Sqm | 286.61 | 15620.245
104 | 96.6) Supplying and laying of Rubber moulded Hydraulic pressed 63 mm thick paver block Incl.labour charges for laying | 71.00 | 1 Sqm | 631.15 | 44811.65
105 | 96.6.1) Supplying and fixing of 15 microns Anodised Aluminium Door Powder coated made up of frame size 1000 x 1200mm | 2.10 | 1 Sqm | 8304.87 | 17440.227
106 | 97.6.2)Supplying and fixing of 15 microns anodised of any color aluminium extruded section with powder coating (Partition ) | 7.20 | 1 Sqm | 4012.48 | 28889.856
107 | 113.2) Supplying and Erecting Pull and Push Type Rolling Shutter manually operator | 17.00 | 1 Sqm | 2171.00 | 36907
108 | 118.2.1) Providing and fixing structural glazing fabricated from roll formed sections | 8.80 | 1 Sqm | 5870.00 | 51656
109 | 136.2.2) Supplying and fixing of 12mm thick Saint - Gobain / equivalent make toughened glass with top patch, bottom patch, corner lock and H type handle with floor spring and imported SS finish | 8.40 | 1 Sqm | 17007.00 | 142858.8
110 | 151.3.1) Supply and laying of the following size of PVC LTUG aluminium armoured cable a) 3.5 C 2 x 185 sq.mm. PVC LTUG aluminium armoured cable | 20.00 | 1 Rmt | 1351.00 | 27020
111 | b) 4C x 6 sq.mm. PVC armoured LTUG cable | 15.00 | 1 Rmt | 431.00 | 6465
112 | 155.1) Supply and erection of 125 Amps capacity floor mounting / wall mounting panel board | 1.00 | 1 No | 77200.00 | 77200
113 | 161.1.4) Supply and fixing of brass cable gland for PVC LTUG armoured cable with earth connection a) 3.5 C x 185 sq.mm. PVC LTUG armoured brass cable gland | 4.00 | 1 No | 666.00 | 2664
114 | b) 3.5 C x 120 sq.mm. PVC LTUG armoured brass cable gland | 2.00 | 1 No | 595.00 | 1190
115 | 161.4) Supply and providing cable end termination for PVC LTUG aluminium armoured cable a) 3.5 C x 185 sq.mm. cable end termination | 4.00 | 1 No | 539.00 | 2156
116 | b) 3.5 C x 120 sq.mm. cable end termination | 2.00 | 1 No | 509.00 | 1018
117 | 162.2.1) Supplying and clamping of PVC armoured LTUG cable (Above GL) a) 3.5 core 120 Sqmm PVC armoured LTUG cable | 30.00 | 1 Rmt | 941.00 | 28230
118 | d) 3.5 core 25 Sqmm PVC armoured LTUG cable | 75.00 | 1 Rmt | 432.00 | 32400
119 | 171.2.8) Supply and delivery of 100 lpm x 25 m Open well Submersible pumpset | 1.00 | 1 No | 30095.00 | 30095
120 | 171.3.7) Supply and Delivery of Single phase submersible motor Pumpset with ISI mark IS 8034 without Panel Board capacity 20 lpm X 80 m | 1.00 | 1 No | 26949.00 | 26949
121 | 175.1.1) Supply and fixing of triple pole and neutral 4 way 7 segment 3 tier compartmental type MCB distribution board 3 phase with Metal / Acrylic Door Cover with IP42 Protection complete with necessary incomings and outgoings etc. | 2.00 | 1 No | 20873.00 | 41746
122 | 179) Earthing Plate earthing with copper plate of size 600 x 600 x 3 mm as per the ISI specification | 2.00 | 1 No | 9304.00 | 18608
123 | 179.1) Supply and run of 25mm x 3mm tinned copper flat with necessary clamps / supports on wall / floor / ground for earth connection | 32.00 | 1 Rmt | 467.00 | 14944
124 | 180) Supply and run of 2 of No.8 tin coated copper with U nails for earth connections | 60.00 | 1 Rmt | 190.00 | 11400
125 | 207.3.1) Painting the false ceilling / walls with two coats of 1st class ready mixed plastic emulsion paint of best approved quality | 1013.00 | 1 Sqm | 239.05 | 242157.65
126 | 207.4.1) Providing two coats of Exterior Emulsion PAINT including primer for outer walls | 933.10 | 1 Sqm | 240.60 | 224503.86
127 | 213) Supply and delivery at site and fixing of SFRC manhole cover with frame b) 0.60 x 0.60m | 6.00 | 1 No | 2701.00 | 16206
128 | 238.1) Anticorrosive treatment for window grills | 2.44 | MT | 2954.25 | 7208.37
129 | 255) Providing plaster of paris cornice Cornice Work for False Ceiling | 91.40 | 1 Rmt | 190.40 | 17402.56
130 | 255.2) Supplying and fixing of LED Bulb for suitable for fixing it to pendent / bakelite battern holder of best approved variety a) 9 watts LED bulb | 17.00 | 1 No | 135.00 | 2295
131 | b) 12 watts LED bulb | 8.00 | 1 No | 170.00 | 1360
132 | 255.6.1) Supplying and fixing of water tight Bulk head fitting suitable for 12 watts LED | 8.00 | 1 No | 517.00 | 4136
133 | 255.8.3) Supply and fixing of 24 W LED 4000K 2 x 2 square type Recessed fititing with LED (higher end) | 10.00 | 1 No | 3850.00 | 38500
134 | 343.2.1) Supply and erection of iron work for truss | 610.00 | 1 Kg | 110.75 | 67557.5
135 | 343.2.2) Supplying and erection of Galvanium Colour Roof sheet of 0.47mm thick over MS purlin of approved ISI quality | 33.00 | 1 Sqm | 1020.01 | 33660.33
136 | 344.2) Supply & Fixing of Bevelled edge mirror of approved quality and brand of size 500x400x5.5mm | 6.00 | 1 No | 398.30 | 2389.8
137 | 359.3.1) Supply and laying superior variety Concrete Designer tiles for flooring in CM 1:3, 20mm thick | 88.50 | 1 Sqm | 1516.72 | 134229.72
138 | 362.2.2) Supplying and fixing of Stain free nano polish Vitrified Tiles of size 600x600x8mm for flooring and other similar works | 374.00 | 1 Sqm | 1523.49 | 569785.26
139 | 366.1.1) Manufacturing, Supplying and Fixing of Stainless Steel Hand rails for staircase near wet riser using 50mm dia 304L Grade Stainless Steel pipe of 1.60mm thick | 24.00 | 1 Rmt | 1843.00 | 44232
140 | 366.3.1) Manufacturing, Supplying and Fixing of Stainless Steel Hand rails for staircase using 50mm dia 304L Grade Stainless Steel pipe of 1.60mm thick | 15.50 | 1 Sqm | 5536.00 | 85808
141 | 367.1) Providing wooden Melamine polish for new wood work | 11.60 | 1 Sqm | 1483.02 | 17203.032
142 | 379.4.4) Supply and fixing of Granite slab of size 4'x2', 18 to 20mm Thick For plat form (Ruby red) C.M 1:3, 20mm thick a. In Ground floor | 3.60 | 1 Sqm | 1858.67 | 6691.212
143 | 379.8.6) Supply and fixing of Granite slab of size 4'x2', 18 to 20mm Thick (jet black) C.M 1:3, 20mm tk for entrance steps a. In Ground floor | 3.90 | 1 Sqm | 2600.72 | 10142.808
144 | 383.1) Providing single Noing to the edges of Granite slab at entrance steps | 9.30 | 1 Rmt | 195.70 | 1820.01
145 | 451.3.2) Supply and fixing of CP two way bib cock with health faucet | 5.00 | 1 No | 2240.00 | 11200
146 | 459) Supply and fixing of oval shape wash hand basin of size 560 x 450mm of best approved quality with ISI mark | 4.00 | 1 No | 2899.00 | 11596
147 | 503.1) Supplying and delivery of Nylon rope for Bore well | 40.00 | 1 Rmt | 61.80 | 2472
148 | 528.1.2) Supply and fixing of perforated cable trays a) 150 x 50 mm | 10.00 | 1 Rmt | 496.00 | 4960
149 | b) 300 x 50 mm | 10.00 | 1 Rmt | 568.00 | 5680
150 | 532.2) Supplying and applying of Wall putty one coat with aproved make wall putty for smooth finishing the new cement plastered walls | 255.00 | 1 Sqm | 98.65 | 25155.75
151 | 540.1.3.1) Supply and fixing of MS stand for fixing outdoor unit | 5.00 | 1 No | 1088.00 | 5440
152 | 540.1.6.1) Supplying, delivery and Installation of Hi - Wall split Air conditioner with copper coil ( 3 Star Rated) a) 2 TR Split Type AC Unit | 3.00 | 1 No | 44160.00 | 132480
153 | b) 1.50 TR Split Type AC Unit | 2.00 | 1 No | 33170.00 | 66340
154 | 540.1.8) Supply, delivery and laying of PVC drain pipe 25mm with specials (For AC) | 25.00 | 1 Rmt | 64.10 | 1602.5
155 | 540.1.9.1) Supply and installation of following KVA capacity Automatic voltage stabilizer with time delay relay a. 5 KVA | 3.00 | 1 No | 4940.00 | 14820
156 | b. 4 KVA | 2.00 | 1 No | 4441.00 | 8882
157 | 540.2.1) Supply and laying of 5/8" and 3/8" copper pipe (Extra beyond 3m supplied with AC unit) | 15.00 | 1 Rmt | 940.00 | 14100
158 | 608.1) Supplying, laying, fixing and jointing the following dia UPVC pipes (Below GL) a) 40mm dia UPVC pipe | 40.00 | 1 Rmt | 261.29 | 10451.6
159 | 609.6.1) Supply and delivery of 150 mm OD ribbed screen pipes as per IS 12818 / 2010 | 18.00 | 1 Rmt | 1004.50 | 18081
160 | 609.6.2) Supply and delivery of 150 mm OD of pvc pipes as per IS 12818 / 2010 | 12.00 | 1 Rmt | 644.50 | 7734
161 | 609.6.3) Labour charges for inserting 150 mm dia PVC casing pipes assembly with slots in the drilled hole | 30.00 | 1 Rmt | 369.60 | 11088
162 | 615.2.1) Labour charges for the erection of Submersible pumpset in borewell / openwell a) Submersible Pumpset - Upto 5 Hp | 2.00 | 1 No | 11056.10 | 22112.2
163 | 615.3.5) Supply and delivery of direct online DOL starter with single phasing preventor with analog ammeter and voltmeter confirming to IS13947 upto 5 HP | 2.00 | 1 No | 5641.00 | 11282
164 | 616.4.1) Supply and fixing of HDPE Pipes for submersible pump in borewell (BGL) b) 40mm dia pipes | 50.00 | 1 Rmt | 223.65 | 11182.5
165 | 707.2.1) Supply and laying of 3 core 4 sq.mm flat type copper cable confirming to IS 694/1990, PVC insulated and sheathed cable for submersible motor | 70.00 | 1 Rmt | 199.00 | 13930
166 | 741.1.1) Supply and fixing of 20Amps Double pole plug and sockets in sheet steel enclosure with 32 AMPS Double pole MCB in Flush with wall with earth connection ( for AC Plug) | 10.00 | 1 No | 1839.00 | 18390
167 | 778.2.3) Supplying and fixing in position of 10 mm thick (Plain sheet) Hilux/equivalent board false ceiling | 221.30 | 1 Sqm | 972.00 | 215103.6
168 | Bore well arrangement 799.1) Drilling of 150mm dia Borewell in alluvial soil by director reverse rotary mud and circulations method a) Upto 60 m depth | 30.00 | 1 Rmt | 551.04 | 16531.2
169 | 799.1.2) Reaming of borewell from 150 mm dia pilot bore upto 300 mm dia bore as directed by the departmental officers a) upto 60m depth ending below GL | 30.00 | 1 Rmt | 424.60 | 12738
170 | 799.3) Charges for developing the borewell with air compressor of 300 CFM capacity (Minimum 8 Hours) by 'V' notch method. | 8.00 | 1 Hour | 1937.10 | 15496.8
171 | 799.3.1) Supply and fixing of PVC 160mm dia top end cap of approved make of 6.1 mm thick with inner threaded etc., all complete. | 2.00 | 1 No | 104.50 | 209
172 | 828) Supply and laying of Hard core layer 200mm | 3.90 | 1 Cum | 3623.47 | 14131.533
173 | 832.5.2) Supplying and fixing in position of UPVC window of casement type( open) for all sizes | 26.00 | 1 Sqm | 7482.00 | 194532
174 | 832.5.3) Supplying and fixing in position of UPVC Ventilator louvered ventilator type for all sizes | 2.60 | 1 Sqm | 8106.00 | 21075.6
175 | 856) Supply and fixing of stored pressure ABC (Mono Ammonium Phospate) Powder Type Fire Extinguisher of 6 kg. capacity | 2.00 | 1 No | 5248.00 | 10496
176 | 856.2) Supply and fixing Fire Extinguisher Co2, 4.5 kg. confirming to TAC Norms | 4.00 | 1 No | 1446.00 | 5784
177 | 959.2) Suppply, installation, testing & Commissioning of Generator with main failure (AMF) Panel 82.5 KVA | 1.00 | 1 Set | 771200.00 | 771200
178 | 961.1) Supplying and laying of CAT 6 cable between user end and rack of approved (ISI) make | 200.00 | 1 Rmt | 72.00 | 14400
179 | 961.5) Supply & Installation testing of 2Mp IP Bullet/Dome Camera | 4.00 | 1 No | 4600.00 | 18400
180 | 961.6) Supply & Installation of 6 TB Harddisk survillence hard disk | 1.00 | 1 No | 19500.00 | 19500
181 | 961.7) Supply & Installation of 16 Port PoE Switch, 10/100/1000 with 2 uplink and power managaed upto 250 Mtrs. | 1.00 | 1 No | 13200.00 | 13200
182 | 961.8) Testing & Commissioning Charges for CCTV camera, network video recorder, Hard disk drive | 1.00 | 1 Job | 68500.00 | 68500
| Sub Total |  |  |  | 14168257.5318
| GST @ 18% |  |  |  | 2550286.3557
| TOTAL |  |  |  | 16718543.8875