## G. Abstract
GENERAL ABSTRACT
Name of work:- Construction of Building for Manali Fire and Rescue Service station at Chennai Suburban District under CM's Announcement scheme for the year 2021-22
Sl.No. | Qty | Description | Rate | Unit | Amount
|  | BUILDING WORKS | AS PER PWD SR 2023-24
1 | 1 | Main building | #REF! |  | #REF! |  | 39953804.56 | #REF!
|  | SUB - TOTAL - I Rs. |  |  | #REF! | #REF!
|  | DEVELOPMENT WORKS | [5 empty] | 0
2 | 1 | RCC sump and filling lowlying area | #REF! |  | #REF! |  | 402813.39 | #REF!
3 | 1 | 100 KVA DG set |  |  | 0 |  | 821530.2 | -821530.2
3 | 1 | Genset arrangement | #REF! |  | #REF! |  | 632590.02 | #REF!
4 | 1 | Borewell arrangement | #REF! |  | #REF!
5 | 1 | Lift arrangement | #REF! |  | #REF! |  | 309749.68 | #REF!
|  | SUB - TOTAL - III Rs. |  |  | #REF! | #REF! | 42120487.85 | #REF!
6 |  | GST at 18.0% ( GST at 9% + CGST 9% ) |  |  | #REF! | #REF! | 50000 | #REF!
|  | SUB - TOTAL - III Rs. |  |  | #REF! | #REF!
7 |  | Provision for Soil Investigation | LS |  | 50000
|  | SUB - TOTAL - III Rs. |  |  | #REF!
8 |  | Labour Welfare fund @ 1% | As per PWD Norms |  | #REF!
9 |  | Unforseen, contingencies & PS charges @1 % | As per PWD Norms |  | #REF! | #REF!
10 |  | Supervision Charges @ 5% | - |  | #REF!
|  | SUB - TOTAL - V Rs. |  |  | #REF!
11 |  | Advertisement charges | LS |  | 150000
12 |  | Provision for EB Deposits & EB service connection | LS |  | 800000
13 |  | Provision for Planning permission & payment to other department | LS |  | 500000
14 |  | Provision for CMWSSB | LS |  | 857000 | #REF!
15 |  | Structural Design / Consultancy charges | LS |  | 100000 | 62500000
|  | GRAND TOTAL Rs. |  |  | #REF! | #REF! | 19733998
|  |  | #REF! |  | #REF! | #REF! | #REF!
[5 empty] | 632.962 | 575.42 | #REF!
[5 empty] | #REF! | 57.542
632.962

## combned
Name of Work : Providing Basket ball court, Manhole chamber and Toilet repairing works for Government Higher Secondary School, MGR Nagar at KK Nagar in Chennai city.
ABSTRACT
S.No | Item No. | Description of work | Rate (2023-24) | Unit | Basket ball court |  | Manhole chamber |  | Toilet Repairs |  | Total
[5 empty] | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
1 | 1.5 | Earth work excavation for Open foundation (excluding refilling) a. 0 to 2 mt. | 123.26 | 1 Cum. | 54.1 | 6668.366 | 12.2 | 1503.772 |  |  | 66.3 | 8172.138
2 | 13.1 | Filling with Excavated Earth | 42.85 | 1 Cum. |  |  | 5.9 | 252.815 |  |  | 5.9 | 252.815
3 | 238 | Anticorrosive treatment for steel grills | 4865.5 | 1 MT | 0.067 | 325.9885 |  |  |  |  | 0.067 | 325.9885
4 | 2.15 | ANNEXURE Supplying and filling stone dust | 253.29 | 1 Cum. | 40 | 10131.6 | 1.7 | 430.593 |  |  | 41.7 | 10562.193
5 | 3.1.3 | C.C.1:5:10 for Foundation & Basement | 4998.91 | 1 Cum. | 53.4 | 266941.794 | 1.3 | 6498.583 |  |  | 54.7 | 273440.377
6 | 3.2.1 | P.C.C. 1:2:4 for Foundation & Basement and other similar works | 6550.36 | 1 Cum. | 53.2 | 348479.152 |  |  |  |  | 53.2 | 348479.152
7 | 6.2.3 | Brick work in C.M. 1:5 (F& B) using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") | 6891.93 | 1 Cum. |  |  | 4.6 | 31702.878 |  |  | 4.6 | 31702.878
8 | 8.2.3.2 | Standardised concrete Mix M30 Grade Concrete a. In Foundation and basement | 8785.21 | 1 Cum | 0.4 | 3514.084 |  |  |  |  | 0.4 | 3514.084
9 |  | b. In Ground floor | 8917.05 | 1 Cum | 0.7 | 6241.935 |  |  |  |  | 0.7 | 6241.935
10 | 18.1 | Formwork using M.S.Sheet c.For Square and rectangular columns and small quantities | 1232.9 | 1 Sqm | 9.84 | 12131.736 |  |  |  |  | 9.84 | 12131.736
11 | 21.5.2.2 | Supply and Fixing Solid UPVC door Shutter with frame | 3325 | 1 Sqm. |  |  |  |  | 3 | 9975 | 3 | 9975
12 | 28.1 | Floor plastering in C.M. 1:4, 20 mm tk. | 555.87 | 1 Sqm. |  |  | 2.9 | 1612.023 |  |  | 2.9 | 1612.023
13 | 29.8.1 | Glazed tiles using Grout (Tile Joint Filler) | 1283.01 | 1 Sqm |  |  |  |  | 6 | 7698.06 | 6 | 7698.06
14 | 29.9.1 | Floor ceramic tiles (Anti-skid) using Grout (Tile Joint Filler). | 1465.86 | 1 Sqm |  |  |  |  | 5 | 7329.3 | 5 | 7329.3
15 | 33.1 | Plastering in C.M. 1:5, 20 mm tk. | 546.31 | 1 Sqm. |  |  |  |  | 15 | 8194.65 | 15 | 8194.65
16 | 33.2 | Plastering in C.M. 1:5, 12 mm tk. | 272.88 | 1 Sqm. |  |  | 28.8 | 7858.944 |  |  | 28.8 | 7858.944
17 | 34.2 | Plastering in C.M. 1:4, 12 mm tk. | 278.97 | 1 Sqm. |  |  | 15 | 4184.55 |  |  | 15 | 4184.55
18 | 35.3 | Spl. Ceiling plastering in C.M. 1:3, 10 mm tk. | 312.85 | 1 Sqm. | 9.84 | 3078.444 |  |  | 12.1 | 3785.485 | 21.94 | 6863.929
19 | 37.3 | White washing 2 coats using clean shell lime slaked. | 36.81 | 1 Sqm |  |  |  |  | 21.8 | 802.458 | 21.8 | 802.458
20 | 43.2.1 | Fabrication of Mild steel / RTS grills (without cement slurry) for all sizes of rods. | 92055.3 | 1 MT | 0.067 | 6167.7051 |  |  |  |  | 0.067 | 6167.7051
21 | 50.2.1 | Providing precast Kerb stone in C.C. 1:3:6, 450 x 300 x 150 mm | 270.81 | 1 Rmt | 101 | 27351.81 |  |  |  |  | 101 | 27351.81
22 | 52.1.1 | Supply ,laying & jointing the following pipes as per ASTM D 1785 of schedule 40 with UPVC Specials (Above G.L) b. 25 mm dia | 253.32 | 1 Rmt |  |  |  |  | 10 | 2533.2 | 10 | 2533.2
23 |  | c. 20 mm dia | 248.48 | 1 Rmt |  |  |  |  | 30 | 7454.4 | 30 | 7454.4
24 | 54.1.2 | S & F of 15mm dia Engineering Polymer Tap (long body ) | 268 | 1 No |  |  |  |  | 2 | 536 | 2 | 536
25 | 54.2.2 | S & F of 15mm dia Engineering Polymer Tap short body tap | 257 | 1 No |  |  |  |  | 9 | 2313 | 9 | 2313
26 | 57.1.1 | S & F of E.W.C.(White) 500 mm with PVC SWR grade "P" or "S" TRAP | 7516.55 | 1 No |  |  |  |  | 1 | 7516.55 | 1 | 7516.55
27 | 58.3 | PVC SWR pipe (Soil line) with ISI mark - type 'B'. a. 110 mm dia. | 758.4 | 1 Rmt |  |  |  |  | 12 | 9100.8 | 12 | 9100.8
28 |  | b. 75 mm dia. | 641.1 | 1 Rmt |  |  |  |  | 6 | 3846.6 | 6 | 3846.6
29 | 58.4 | Supplying, Laying & Concealing the 50mm dia PVC ( SWR) pipe with ISI mark type - 'B' with relevant specials. | 114.45 | 1 Rmt |  |  |  |  | 12 | 1373.4 | 12 | 1373.4
30 | 60.1 | PVC Nahani trap (4way/2way) | 160 | 1 No |  |  |  |  | 1 | 160 | 1 | 160
31 | 61.3 | UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003 a. 110 mm UPVC Non Pressure pipe | 500.6 | 1 Rmt |  |  | 12 | 6007.2 |  |  | 12 | 6007.2
32 |  | b. 160 mm UPVC Non Pressure pipe | 824.8 | 1 Rmt |  |  | 90 | 74232 |  |  | 90 | 74232
33 | 207.3.1 | Plastic Emulsion paint including primer for inner walls | 249 | 1 Sqm | 8.4 | 2091.6 |  |  | 15 | 3735 | 23.4 | 5826.6
34 | 207.3.2 | Painting the old walls with one coat of interior Plastic Emulsion paint including thorough scrapping | 89.8 | 1 Sqm |  |  |  |  | 64.4 | 5783.12 | 64.4 | 5783.12
35 | 207.6 | Painting the old iron works with two coats of synthetic enamel ready mixed paint including thorough scrapping | 150 | 1 Sqm |  |  |  |  | 3 | 450 | 3 | 450
36 | 209.5 | Labour charges for chipping and clean removal of the old cement plastering from the walls and ceiling by manual. | 11.22 | 1 Sqm |  |  |  |  | 15 | 168.3 | 15 | 168.3
37 | 213 | Supply and fixing of SFRC manhole cover with frame with locking arrangement a. 600mm x 600mm | 2701 | 1 No |  |  |  |  | 2 | 5402 | 2 | 5402
38 |  | b. 750mm x 750mm | 2971 | 1 No |  |  | 5 | 14855 |  |  | 5 | 14855
39 | 221 | Removing the existing damaged door / window / ventilators including the removal of frames | 153.56 | 1 Sqm |  |  |  |  | 4.1 | 629.596 | 4.1 | 629.596
40 | 229 | Providing anticorrosive zinc painting priming for the existing exposed reinforcement in the R.C.C. Structures | 1853.25 | 1 Kg |  |  |  |  | 3.03 | 5615.3475 | 3.03 | 5615.3475
41 | 229.2 | Applying Epoxy jointing compound for providing bonding to the new and old concrete for the damaged R.C.C. repair area | 709 | 1 Sqm |  |  |  |  | 12.1 | 8578.9 | 12.1 | 8578.9
42 | 241 | Dismantling the existing floor finish and dadoing walls in cement mortar with mosaic tiles / clay tiles / cuddappah slabs etc., | 61.27 | 1 Sqm |  |  |  |  | 4 | 245.08 | 4 | 245.08
43 | 241.1 | Labour charges for chipping of concrete and roughening the surface etc., | 40.37 | 1 Sqm |  |  |  |  | 12.1 | 488.477 | 12.1 | 488.477
44 | 243.2.1 | Dismantling the existing damaged IWC without damaging the adjacent structures | 700 | 1 No |  |  |  |  | 1 | 700 | 1 | 700
45 | 243.6.4 | Labour charges for repairing the damaged door shutter including removing and refixing with necessary fittings. | 944 | 1 Sqm |  |  |  |  | 3.8 | 3587.2 | 3.8 | 3587.2
46 | 249.1 | Supply and Installation of Deco sport 5 layer system | 900 | 1 Sqm | 532 | 478800 |  |  |  |  | 532 | 478800
47 | 472 | Supplying and fixing of Basket Ball back board of size 6' x 31/2' 20mm thick made of top quality fibre glass board. | 147000 | 1 Set | 1 | 147000 |  |  |  |  | 1 | 147000
48 | 472.1 | Marking the court with Synthetic Enamel paint | 25000 | 1 Set | 1 | 25000 |  |  |  |  | 1 | 25000
49 | 472.2 | Supply and fixing of Manual score board of size 40" x60" | 25000 | 1 Set | 1 | 25000 |  |  |  |  | 1 | 25000
50 | 752 | Construction of Inspection chamber a) Size 60 x60 x75cm | 7517.02 | 1 No |  |  |  |  | 2 | 15034.04 | 2 | 15034.04
|  | Sub Total - I ₹. |  |  |  | 1368924.2246 |  | 149138.358 |  | 123035.9635 |  | 1641098.5461
|  | GST @ 18% |  |  |  | 246406.3604 |  | 26844.9044 |  | 22146.4734 |  | 295397.7383
|  | Sub Total - II ₹. |  |  |  | 1615330.575 |  | 175983.2624 |  | 145182.4369 |  | 1936496.2844
|  | Deposit amount for new sewage connection | LS | [8 empty] | 70000
|  | Levelling of Play ground | LS | [8 empty] | 22000
|  | Sub Total - III ₹. |  |  |  | 1615330.575 |  | 175983.2624 |  | 145182.4369 |  | 2028496.2844
|  | Labour Welfare fund @ 1% (Sub total - I) | LS |  |  | 16153.3058 |  | 1759.8326 |  | 1451.8244 |  | 16410.9855
|  | Contingencies & PS charges @ 2.5% | LS |  |  | 0 |  | 17.5983 |  | 14.5182 |  | 50712.4071
|  | Supervision Charges @ 7.5% | LS |  |  | 121149.7931 |  | 13198.7447 |  | 10888.6828 |  | 152137.2213
|  | Total Amount ₹. |  |  |  | 1752633.6839 |  | 190959.4381 |  | 157537.4623 |  | 2247756.8983
|  |  |  | Say ₹. |  | 651700 |  | 614400 |  | 614400 |  | 2247000

## 2374 Abstract
TAMIL NADU POLICE HOUSING CORPORATION LTD
ABSTRACT
Name of Work : Providing Basket ball court, Manhole chamber and Toilet repairing works for Government Higher Secondary School, MGR Nagar at KK Nagar in Chennai city.
Sl. No. | Item No. | Qty. | Description | Rate (CS sand) | Unit | Amount 2023-24
1 | 1.5 | 66.3 | Earth work excavation for Open foundation (excluding refilling) a. 0 to 2 mt. | 123.26 | 1 Cum. | 8172.138
2 | 13.1 | 5.9 | Filling with Excavated Earth | 42.85 | 1 Cum. | 252.815
3 | 238 | 0.067 | Anticorrosive treatment for steel grills | 4865.5 | 1 MT | 325.9885
4 | 2.15 | 41.7 | ANNEXURE Supplying and filling stone dust | 253.29 | 1 Cum. | 10562.193
5 | 3.1.3 | 54.7 | C.C.1:5:10 for Foundation & Basement | 4998.91 | 1 Cum. | 273440.377
6 | 3.2.1 | 53.2 | P.C.C. 1:2:4 for Foundation & Basement and other similar works | 6550.36 | 1 Cum. | 348479.152
7 | 6.2.3 | 4.6 | Brick work in C.M. 1:5 (F& B) using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") | 6891.93 | 1 Cum. | 31702.878
8 | 8.2.3.2 | 0.4 | Standardised concrete Mix M30 Grade Concrete a. In Foundation and basement | 8785.21 | 1 Cum | 3514.084
9 | 0 | 0.7 | b. In Ground floor | 8917.05 | 1 Cum | 6241.935
10 | 18.1 | 9.84 | Formwork using M.S.Sheet c.For Square and rectangular columns and small quantities | 1232.9 | 1 Sqm | 12131.736
11 | 21.5.2.2 | 3 | Supply and Fixing Solid UPVC door Shutter with frame | 3325 | 1 Sqm. | 9975
12 | 28.1 | 2.9 | Floor plastering in C.M. 1:4, 20 mm tk. | 555.87 | 1 Sqm. | 1612.023
13 | 29.8.1 | 6 | Glazed tiles using Grout (Tile Joint Filler) | 1283.01 | 1 Sqm | 7698.06
14 | 29.9.1 | 5 | Floor ceramic tiles (Anti-skid) using Grout (Tile Joint Filler). | 1465.86 | 1 Sqm | 7329.3
15 | 33.1 | 15 | Plastering in C.M. 1:5, 20 mm tk. | 546.31 | 1 Sqm. | 8194.65
16 | 33.2 | 28.8 | Plastering in C.M. 1:5, 12 mm tk. | 272.88 | 1 Sqm. | 7858.944
17 | 34.2 | 15 | Plastering in C.M. 1:4, 12 mm tk. | 278.97 | 1 Sqm. | 4184.55
18 | 35.3 | 21.94 | Spl. Ceiling plastering in C.M. 1:3, 10 mm tk. | 312.85 | 1 Sqm. | 6863.929
19 | 37.3 | 21.8 | White washing 2 coats using clean shell lime slaked. | 36.81 | 1 Sqm | 802.458
20 | 43.2.1 | 0.067 | Fabrication of Mild steel / RTS grills (without cement slurry) for all sizes of rods. | 92055.3 | 1 MT | 6167.7051
21 | 50.2.1 | 101 | Providing precast Kerb stone in C.C. 1:3:6, 450 x 300 x 150 mm | 270.81 | 1 Rmt | 27351.81
22 | 52.1.1 | 10 | Supply ,laying & jointing the following pipes as per ASTM D 1785 of schedule 40 with UPVC Specials (Above G.L) b. 25 mm dia | 253.32 | 1 Rmt | 2533.2
23 | 0 | 30 | c. 20 mm dia | 248.48 | 1 Rmt | 7454.4
24 | 54.1.2 | 2 | S & F of 15mm dia Engineering Polymer Tap (long body ) | 268 | 1 No | 536
25 | 54.2.2 | 9 | S & F of 15mm dia Engineering Polymer Tap short body tap | 257 | 1 No | 2313
26 | 57.1.1 | 1 | S & F of E.W.C.(White) 500 mm with PVC SWR grade "P" or "S" TRAP | 7516.55 | 1 No | 7516.55
27 | 58.3 | 12 | PVC SWR pipe (Soil line) with ISI mark - type 'B'. a. 110 mm dia. | 758.4 | 1 Rmt | 9100.8
28 | 0 | 6 | b. 75 mm dia. | 641.1 | 1 Rmt | 3846.6
29 | 58.4 | 12 | Supplying, Laying & Concealing the 50mm dia PVC ( SWR) pipe with ISI mark type - 'B' with relevant specials. | 114.45 | 1 Rmt | 1373.4
30 | 60.1 | 1 | PVC Nahani trap (4way/2way) | 160 | 1 No | 160
31 | 61.3 | 12 | UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003 a. 110 mm UPVC Non Pressure pipe | 500.6 | 1 Rmt | 6007.2
32 | 0 | 90 | b. 160 mm UPVC Non Pressure pipe | 824.8 | 1 Rmt | 74232
33 | 207.3.1 | 23.4 | Plastic Emulsion paint including primer for inner walls | 249 | 1 Sqm | 5826.6
34 | 207.3.2 | 64.4 | Painting the old walls with one coat of interior Plastic Emulsion paint including thorough scrapping | 89.8 | 1 Sqm | 5783.12
35 | 207.6 | 3 | Painting the old iron works with two coats of synthetic enamel ready mixed paint including thorough scrapping | 150 | 1 Sqm | 450
36 | 209.5 | 15 | Labour charges for chipping and clean removal of the old cement plastering from the walls and ceiling by manual. | 11.22 | 1 Sqm | 168.3
37 | 213 | 2 | Supply and fixing of SFRC manhole cover with frame with locking arrangement a. 600mm x 600mm | 2701 | 1 No | 5402
38 | 0 | 5 | b. 750mm x 750mm | 2971 | 1 No | 14855
39 | 221 | 4.1 | Removing the existing damaged door / window / ventilators including the removal of frames | 153.56 | 1 Sqm | 629.596
40 | 229 | 3.03 | Providing anticorrosive zinc painting priming for the existing exposed reinforcement in the R.C.C. Structures | 1853.25 | 1 Kg | 5615.3475
41 | 229.2 | 12.1 | Applying Epoxy jointing compound for providing bonding to the new and old concrete for the damaged R.C.C. repair area | 709 | 1 Sqm | 8578.9
42 | 241 | 4 | Dismantling the existing floor finish and dadoing walls in cement mortar with mosaic tiles / clay tiles / cuddappah slabs etc., | 61.27 | 1 Sqm | 245.08
43 | 241.1 | 12.1 | Labour charges for chipping of concrete and roughening the surface etc., | 40.37 | 1 Sqm | 488.477
44 | 243.2.1 | 1 | Dismantling the existing damaged IWC without damaging the adjacent structures | 700 | 1 No | 700
45 | 243.6.4 | 3.8 | Labour charges for repairing the damaged door shutter including removing and refixing with necessary fittings. | 944 | 1 Sqm | 3587.2
46 | 249.1 | 532 | Supply and Installation of Deco sport 5 layer system | 900 | 1 Sqm | 478800
47 | 472 | 1 | Supplying and fixing of Basket Ball back board of size 6' x 31/2' 20mm thick made of top quality fibre glass board. | 147000 | 1 Set | 147000
48 | 472.1 | 1 | Marking the court with Synthetic Enamel paint | 25000 | 1 Set | 25000
49 | 472.2 | 1 | Supply and fixing of Manual score board of size 40" x60" | 25000 | 1 Set | 25000
50 | 752 | 2 | Construction of Inspection chamber a) Size 60 x60 x75cm | 7517.02 | 1 No | 15034.04
| 0 | 0 | Sub Total - I ₹. | 0 | 0 | 1641098.5461
| 0 | 0 | GST @ 18% | 0 | 0 | 295397.7383
| 0 | 0 | Sub Total - II ₹. | 0 | 0 | 1936496.2844
| 0 | 0 | Deposit amount for new sewage connection | LS | 0 | 70000
| 0 | 0 | Levelling of Play ground | LS | 0 | 21600
| 0 | 0 | Sub Total - III ₹. | 0 | 0 | 2028096.2844
| 0 | 0 | Labour Welfare fund @ 1% (Sub total - I) | LS | 0 | 16410.9855
| 0 | 0 | Contingencies & PS charges @ 2.5% | LS | 0 | 50702.4071
| 0 | 0 | Supervision Charges @ 7.5% | LS | 0 | 152107.2213
| 0 | 0 | Total Amount ₹. | 0 | 0 | 2247316.8983
| 0 | 0 | 0 | 0 | Say ₹. | 22,47,400.00

## CS
REVISED COMPARATIVE STATEMENT
Name of Work : Providing Basket ball court, Manhole chamber and Toilet repairing works for Government Higher Secondary School, MGR Nagar at KK Nagar in Chennai city.
Sl. No. | Item No. | Qty. | Description | Estimate rate (As per PWD SR 2023-24) |  |  | M/s. Saran Builders, Thiruvannamalai - 606 704. (1). |  | M/s. RPS Associates, Chennai - 600 018. (2). |  | The valid, single and negotiated tenderer of M/s. RPS Associates, Chennai - 600 018 vide Lr. Dt: .07.2023 |  |  | Ab - Sub
|  |  |  | Rate | Unit | Amount | Rate | Amount | Rate | Amount | Rate |  | Amount
1 | 1.5 | 66.3 | Earth work excavation for Open foundation (excluding refilling) a. 0 to 2 mt. | 123.26 | 1 Cum. | 8172.138 | 130 | 8619 | 126 | 8353.8 | 126 | 0 | 8353.8 | 2.2229
2 | 13.1 | 5.9 | Filling with Excavated Earth | 42.85 | 1 Cum. | 252.815 | 45 | 265.5 | 45 | 265.5 | 45 | 0 | 265.5 | 5.0175
3 | 238 | 0.067 | Anticorrosive treatment for steel grills | 4865.5 | 1 MT | 325.9885 | 5110 | 342.37 | 4962 | 332.454 | 4962 | 0 | 332.454 | 1.9834
4 | 2.15 | 41.7 | ANNEXURE Supplying and filling stone dust | 253.29 | 1 Cum. | 10562.193 | 275 | 11467.5 | 258 | 10758.6 | 250 | RR | 10425 | -1.2989
5 | 3.1.3 | 54.7 | C.C.1:5:10 for Foundation & Basement | 4998.91 | 1 Cum. | 273440.377 | 5250 | 287175 | 5098 | 278860.6 | 4800 | RR | 262560 | -3.9791
6 | 3.2.1 | 53.2 | P.C.C. 1:2:4 for Foundation & Basement and other similar works | 6550.36 | 1 Cum. | 348479.152 | 6880 | 366016 | 6681 | 355429.2 | 6300 | RR | 335160 | -3.8221
7 | 6.2.3 | 4.6 | Brick work in C.M. 1:5 (F& B) using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") | 6891.93 | 1 Cum. | 31702.878 | 7240 | 33304 | 7029 | 32333.4 | 6600 | RR | 30360 | -4.2358
8 | 8.2.3.2 | 0.4 | Standardised concrete Mix M30 Grade Concrete a. In Foundation and basement | 8785.21 | 1 Cum | 3514.084 | 9230 | 3692 | 8961 | 3584.4 | 8961 | 0 | 3584.4 | 2.001
9 | 0 | 0.7 | b. In Ground floor | 8917.05 | 1 Cum | 6241.935 | 9367 | 6556.9 | 9095 | 6366.5 | 9095 | 0 | 6366.5 | 1.9956
10 | 18.1 | 9.84 | Formwork using M.S.Sheet c.For Square and rectangular columns and small quantities | 1232.9 | 1 Sqm | 12131.736 | 1300 | 12792 | 1257 | 12368.88 | 1200 | RR | 11808 | -2.6685
11 | 21.5.2.2 | 3 | Supply and Fixing Solid UPVC door Shutter with frame | 3325 | 1 Sqm. | 9975 | 3500 | 10500 | 3391 | 10173 | 3391 | 0 | 10173 | 1.985
12 | 28.1 | 2.9 | Floor plastering in C.M. 1:4, 20 mm tk. | 555.87 | 1 Sqm. | 1612.023 | 590 | 1711 | 567 | 1644.3 | 567 | 0 | 1644.3 | 2.0023
13 | 29.8.1 | 6 | Glazed tiles using Grout (Tile Joint Filler) | 1283.01 | 1 Sqm | 7698.06 | 1350 | 8100 | 1309 | 7854 | 1309 | 0 | 7854 | 2.0257
14 | 29.9.1 | 5 | Floor ceramic tiles (Anti-skid) using Grout (Tile Joint Filler). | 1465.86 | 1 Sqm | 7329.3 | 1540 | 7700 | 1495 | 7475 | 1495 | 0 | 7475 | 1.9879
15 | 33.1 | 15 | Plastering in C.M. 1:5, 20 mm tk. | 546.31 | 1 Sqm. | 8194.65 | 575 | 8625 | 557 | 8355 | 557 | 0 | 8355 | 1.9568
16 | 33.2 | 28.8 | Plastering in C.M. 1:5, 12 mm tk. | 272.88 | 1 Sqm. | 7858.944 | 290 | 8352 | 278 | 8006.4 | 278 | 0 | 8006.4 | 1.8763
17 | 34.2 | 15 | Plastering in C.M. 1:4, 12 mm tk. | 278.97 | 1 Sqm. | 4184.55 | 293 | 4395 | 285 | 4275 | 285 | 0 | 4275 | 2.1615
18 | 35.3 | 21.94 | Spl. Ceiling plastering in C.M. 1:3, 10 mm tk. | 312.85 | 1 Sqm. | 6863.929 | 330 | 7240.2 | 319 | 6998.86 | 319 | 0 | 6998.86 | 1.9658
19 | 37.3 | 21.8 | White washing 2 coats using clean shell lime slaked. | 36.81 | 1 Sqm | 802.458 | 40 | 872 | 38 | 828.4 | 38 | 0 | 828.4 | 3.2328
20 | 43.2.1 | 0.067 | Fabrication of Mild steel / RTS grills (without cement slurry) for all sizes of rods. | 92055.3 | 1 MT | 6167.7051 | 96660 | 6476.22 | 93896 | 6291.032 | 93896 | 0 | 6291.032 | 1.9996
21 | 50.2.1 | 101 | Providing precast Kerb stone in C.C. 1:3:6, 450 x 300 x 150 mm | 270.81 | 1 Rmt | 27351.81 | 285 | 28785 | 276 | 27876 | 260 | RR | 26260 | -3.9917
22 | 52.1.1 | 10 | Supply ,laying & jointing the following pipes as per ASTM D 1785 of schedule 40 with UPVC Specials (Above G.L) b. 25 mm dia | 253.32 | 1 Rmt | 2533.2 | 266 | 2660 | 258 | 2580 | 258 | 0 | 2580 | 1.8475
23 | 0 | 30 | c. 20 mm dia | 248.48 | 1 Rmt | 7454.4 | 260 | 7800 | 253 | 7590 | 253 | 0 | 7590 | 1.8191
24 | 54.1.2 | 2 | S & F of 15mm dia Engineering Polymer Tap (long body ) | 268 | 1 No | 536 | 282 | 564 | 273 | 546 | 273 | 0 | 546 | 1.8657
25 | 54.2.2 | 9 | S & F of 15mm dia Engineering Polymer Tap short body tap | 257 | 1 No | 2313 | 270 | 2430 | 262 | 2358 | 262 | 0 | 2358 | 1.9455
26 | 57.1.1 | 1 | S & F of E.W.C.(White) 500 mm with PVC SWR grade "P" or "S" TRAP | 7516.55 | 1 No | 7516.55 | 7900 | 7900 | 7667 | 7667 | 7667 | 0 | 7667 | 2.0016
27 | 58.3 | 12 | PVC SWR pipe (Soil line) with ISI mark - type 'B'. a. 110 mm dia. | 758.4 | 1 Rmt | 9100.8 | 700 | 8400 | 773 | 9276 | 773 | 0 | 9276 | 1.9251
28 | 0 | 6 | b. 75 mm dia. | 641.1 | 1 Rmt | 3846.6 | 675 | 4050 | 654 | 3924 | 654 | 0 | 3924 | 2.0122
29 | 58.4 | 12 | Supplying, Laying & Concealing the 50mm dia PVC ( SWR) pipe with ISI mark type - 'B' with relevant specials. | 114.45 | 1 Rmt | 1373.4 | 121 | 1452 | 116 | 1392 | 116 | 0 | 1392 | 1.3543
30 | 60.1 | 1 | PVC Nahani trap (4way/2way) | 160 | 1 No | 160 | 168 | 168 | 163 | 163 | 163 | 0 | 163 | 1.875
31 | 61.3 | 12 | UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003 a. 110 mm UPVC Non Pressure pipe | 500.6 | 1 Rmt | 6007.2 | 530 | 6360 | 511 | 6132 | 511 | 0 | 6132 | 2.0775
32 | 0 | 90 | b. 160 mm UPVC Non Pressure pipe | 824.8 | 1 Rmt | 74232 | 867 | 78030 | 841 | 75690 | 790 | RR | 71100 | -4.2192
33 | 207.3.1 | 23.4 | Plastic Emulsion paint including primer for inner walls | 249 | 1 Sqm | 5826.6 | 262 | 6130.8 | 254 | 5943.6 | 254 | 0 | 5943.6 | 2.008
34 | 207.3.2 | 64.4 | Painting the old walls with one coat of interior Plastic Emulsion paint including thorough scrapping | 89.8 | 1 Sqm | 5783.12 | 95 | 6118 | 92 | 5924.8 | 92 | 0 | 5924.8 | 2.4499
35 | 207.6 | 3 | Painting the old iron works with two coats of synthetic enamel ready mixed paint including thorough scrapping | 150 | 1 Sqm | 450 | 158 | 474 | 153 | 459 | 153 | 0 | 459 | 2
36 | 209.5 | 15 | Labour charges for chipping and clean removal of the old cement plastering from the walls and ceiling by manual. | 11.22 | 1 Sqm | 168.3 | 12 | 180 | 12 | 180 | 12 | 0 | 180 | 6.9519
37 | 213 | 2 | Supply and fixing of SFRC manhole cover with frame with locking arrangement a. 600mm x 600mm | 2701 | 1 No | 5402 | 2837 | 5674 | 2755 | 5510 | 2755 | 0 | 5510 | 1.9993
38 | 0 | 5 | b. 750mm x 750mm | 2971 | 1 No | 14855 | 3121 | 15605 | 3060 | 15300 | 3060 | 0 | 15300 | 2.9956
39 | 221 | 4.1 | Removing the existing damaged door / window / ventilators including the removal of frames | 153.56 | 1 Sqm | 629.596 | 162 | 664.2 | 158 | 647.8 | 158 | 0 | 647.8 | 2.8914
40 | 229 | 3.03 | Providing anticorrosive zinc painting priming for the existing exposed reinforcement in the R.C.C. Structures | 1853.25 | 1 Kg | 5615.3475 | 1947 | 5899.41 | 1908 | 5781.24 | 1908 | 0 | 5781.24 | 2.9543
41 | 229.2 | 12.1 | Applying Epoxy jointing compound for providing bonding to the new and old concrete for the damaged R.C.C. repair area | 709 | 1 Sqm | 8578.9 | 745 | 9014.5 | 723 | 8748.3 | 723 | 0 | 8748.3 | 1.9746
42 | 241 | 4 | Dismantling the existing floor finish and dadoing walls in cement mortar with mosaic tiles / clay tiles / cuddappah slabs etc., | 61.27 | 1 Sqm | 245.08 | 65 | 260 | 63 | 252 | 63 | 0 | 252 | 2.8236
43 | 241.1 | 12.1 | Labour charges for chipping of concrete and roughening the surface etc., | 40.37 | 1 Sqm | 488.477 | 44 | 532.4 | 41 | 496.1 | 41 | 0 | 496.1 | 1.5606
44 | 243.2.1 | 1 | Dismantling the existing damaged IWC without damaging the adjacent structures | 700 | 1 No | 700 | 740 | 740 | 721 | 721 | 721 | 0 | 721 | 3
45 | 243.6.4 | 3.8 | Labour charges for repairing the damaged door shutter including removing and refixing with necessary fittings. | 944 | 1 Sqm | 3587.2 | 994 | 3777.2 | 972 | 3693.6 | 972 | 0 | 3693.6 | 2.9661
46 | 249.1 | 532 | Supply and Installation of Deco sport 5 layer system | 900 | 1 Sqm | 478800 | 945 | 502740 | 918 | 488376 | 865 | RR | 460180 | -3.8889
47 | 472 | 1 | Supplying and fixing of Basket Ball back board of size 6' x 31/2' 20mm thick made of top quality fibre glass board. | 147000 | 1 Set | 147000 | 154350 | 154350 | 149940 | 149940 | 143000 | RR | 143000 | -2.7211
48 | 472.1 | 1 | Marking the court with Synthetic Enamel paint | 25000 | 1 Set | 25000 | 26250 | 26250 | 25500 | 25500 | 24900 | RR | 24900 | -0.4
49 | 472.2 | 1 | Supply and fixing of Manual score board of size 40" x60" | 25000 | 1 Set | 25000 | 26250 | 26250 | 25500 | 25500 | 24900 | RR | 24900 | -0.4
50 | 752 | 2 | Construction of Inspection chamber a) Size 60 x60 x75cm | 7517.02 | 1 No | 15034.04 | 7893 | 15786 | 7743 | 15486 | 7450 | RR | 14900 | -0.89158
| 0 | 0 | Sub Total - I ₹. | 0 | 0 | 1641098.5461 |  | 1723246.2 |  | 1674207.766 |  |  | 1591642.086
| 0 | 0 | GST @ 18% | 0 | 0 | 295397.7383 |  | 310184.316 |  | 301357.3979 |  |  | 286495.5755
| 0 | 0 | Sub Total - II ₹. | 0 | 0 | 1936496.2844 |  | 2033430.516 |  | 1975565.1739 |  |  | 1878137.6615
[8 empty] | 96934.2316 |  | 39068.8895 |  |  | -58358.6229
[8 empty] | 5.0057 |  | 2.0175 |  |  | -3.0136
Submitted : The valid, single and negotiated tender of M/s.RPS Associates, Chennai - 600 018, for a value of Rs.18,78,137.66 (with GST at 18%) which is (-) Rs.58,358.62 or at (-)3.01% less than the estimate value for Rs.19,36,496.28 (with GST at 18%) as per PWD SR 2023-2024 may be accepted by the Superintending Engineer/Chennai Circle.
Superintending Engineer Chennai Circle / TNPHC Ltd.,

## Annex A
TENDER CODING SHEET (Rates to be filled up by the Tenderer in this coding sheet)
Name of Work : Providing Basket ball court, Manhole chamber and Toilet repairing works for Government Higher Secondary School, MGR Nagar at KK Nagar in Chennai city.
ANNEXURE TO SCHEDULE - A
S. No | Item No | QTY | DESCRIPTION OF WORK | TNBP NO. | RATE IN FIG. AND IN WORDS | UNIT IN FIG. AND IN WORDS | AMOUNT
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
1 | 1.5 | 66.3 | Earth work excavation for Open Foundation in all soils and sub-soils to the required depth as may be directed except in hard rock requiring blasting, inclusive of shoring, strutting and bailing out water wherever necessary. (Excluding refilling the sides of foundation) and depositing the earth in places shown clearing and levelling the site with an initial lead of 10 metres and lift as specified hereunder etc., complete in all respects complying with relevant Standard specifications. (Excluding Refilling). a) 0 to 2m depth. | 17, 23 & 24 |  | 1m3 (One Cubic metre)
2 | 13.1 | 5.9 | Filling in foundation and basement and other similar works with Excavated earth in layers of 150mm thick well watered rammed and consolidated complying with relevant standard specification etc., all complete and as directed by the departmental officers. |  |  | 1m3 (One Cubic metre)
3 | 238 | 0.067 | Applying one coat of anticorrosive treatment on steel reinforcement rods (20 ltrs. of anitcorrosive chemical for one mertic tonne of steel reinforcement rods) at site including a cost of required quantity of anticorrosive chemicals, (best approved quality) cement, consumables such as brushes, gloves and labour for anticorrosive coating etc. complete and as directed by the departmental officers. (The Quality and brand of anticorrosive chemaical should be got approved by the EE before use). |  |  | 1 MT (One Metric Tonne)
4 | 2.15 | 41.7 | Supply and filling in foundation and basement with Stonedust in layers of 150mm thickness well watered, rammed and consolidated complying with relevant standard specification including cost of Stonedust etc., all complete and as directed by departmental officer. |  |  | 1m3 (One Cubic metre)
5 | 3.1.3 | 54.7 | Plain cement concrete 1:5:10 (One of cement, five of crushed stone sand and ten of hard broken stone Jelly) for foundation using 40 mm gauge hard broken stone jelly inclusive of shoring, strutting and bailing out water wherever necessary ramming, curing etc., complete in all respects complying with relevant standard specifications and as directed by the departmental officers. | 28 |  | 1m3 (One Cubic metre)
6 | 3.2.1 | 53.2 | Plain cement concrete 1:2:4 (One of cement two of crushed stone sand and four of Hard Broken Stone jelly) using 20mm gauge hard broken stone jelly excluding shuttering and centering but including laying, curing and finishing with relevant standard specifications in foundation and basement, and other similar works & as directed by the departmental officers. | 28 |  | 1m3 (One Cubic metre)
7 | 6.2.3 | 4.6 | Brick work in CM 1:5 (One of cement and five of crushed stone sand ) using chamber burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") in foundation and basement including plasticizer, dewatering wherever necessary proper setting, curing etc., complete with relevant standard specifications. | 31 & 31-C |  | 1m3 (One Cubic metre)
8 | 8.2.3.2 | 0.4 | Providing and laying in position, Standardised Concrete Mix M-30 Grade in a accordance with IS:456-2000 using 20mm and down graded hard broken granite stone jelly for the all RCC items of works with minimum cement content of 400 Kg/m3 and maximum water cement ratio of 0.45, including admixture (plasticiser/ super plasticiser) in recommended proportions as per IS:9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability with about (5.0 cum) 7730Kg of 20mm machine crushed stone jelly and with about (3.3 cum) 5156kg of 10-12mm machine crushed stone jelly and with about (4.79 cum) 7670Kg of
crushed stone sand (for making 10 cum) but excluding cost of reinforcement grill and fabricating charges, centering and shuttering and also including laying, vibrating with mechanical vibrators, finishing, curing etc., and providing fixtures like fan clamps in the RCC floor/roof slabs wherever necessary without claiming extra etc., complete complying with relevent standard specification and as directed by the departmental officers. The coarse and fine aggregates to be used should comply with requirements of IS standards. (No separate payment will be made by the Departmental for the excess usage of materials) a. In Foundation and basement
1m3 (One Cubic metre)
9 |  | 0.7 | b. In Ground Floor |  |  | 1m3 (One Cubic metre)
10 | 18.1 | 9.84 | Providing Form work and centering for reinforced cement concrete works including supports and strutting up to 3.30m height for plane surfaces as detailed below with all cross bracings using mild steel sheets of size 90cm x 60cm and MS 10 gauge stiffened with welded mild steel angles of size 25mmx 25mmx 3mm for boarding laid over silver oak or country wood joists of size 10cmx6.5cm spaced at about 90cm centre to centre and supported by casurina props 10cm to 13cm dia spaced at 75cm intervals and removing the same after a specified period without damaging the R.C.C works etc., complete complying with standard specifaction and as directed by the departmental officers. c. For Square and rectangular columns and small quantities such as sunshade, parapet cum drops window boxing, fin projection and other similar works. | 30 (8) |  | 1m2 (One Square metre)
11 | 21.5.2.2 | 3 | Providing and fixing factory made unplasticized polyvinyl chloride (UPVC) Door Frame of size 50x47mm with a wall thickness of 5mm, made out extruded 5mm rigid UPVC foam sheet, mitred at two corners and joined with 2 nos of 150mm long brackets of 15x15mm M.S square tube. The two vertical and horizontal door profiles are to be reinforced with 19x19mm M.S Square tube of 19 gauge with primer coat. The door frame shall be fixed to the wall using 65/100mm long M.S screw through the frame by using PVC fasteners. A minimum of 4 nos screws to be provided for each vertical member & minimum 2 nos |  |  | 1m2 (One Square metre)
for horizontal member etc., and providing and fixing 30mm thick factory made door shutter with unplasticized polyvinyl chloride (UPVC) solid panel foam sheet, structured with M.S. tube of 19 gauge thickness and size 19 x19mm for styles & 15mm x15mm for top & bottom rails. Paneling of 5mm thick UPVC One Side Printed Lamination single sheet to be fitted in the M.S. frame welded / sealed to the styles and rails covered with 5mm thick 75mm wide UPVC sheet for top rail, lock rail and bottom rail on either side and 10mm (5mm x 2 Nos) thick, 20mm wide cross UPVC sheet as gap insert for top rail & bottom rail and joined together with PVC solvent cement adhesive. An additional 5mm thick UPVC strip of 20mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent cement adhesive including cost and labour charges for fixing of 3 Nos, 4” SS butt hinges and Aluminium furniture fittings such as 1 No 4" Tower bolt, 1 No 5" Aldrop, 2 Nos 6" flat 'D' type Handle etc are included. The fitting provided shall be ISI marks. To ensure the genuinity of product, the door set should have 4 numbers of manufacturer's logo hologram of approved brand, each at frame, style, rail and inner panel. (The quality and brand of door shutter and furniture fittings should be got approved from the Executive Engineer before use)
12 | 28.1 | 2.9 | Plastering the top of flooring in CM 1:4 (One of cement and four of crushed stone sand) 20mm thick including surface rendered smooth including providing proper slopes, thread lining, including plasticizer, curing and 150mm wide skirting alround with the same cement mortar etc., complete in all respects. | 56, 57 31-C |  | 1m2 (One Square metre)
13 | 29.8.1 | 6 | Supplying and fixing of Colour glazed tiles (Best approved quality and the same shall be got approved from the Executive Engineer before using) over cement plastering in CM 1:2 (One of cement and two of crushed stone sand) 10mm thick including fixing in position, cutting the tiles to the required size wherever necessary, pointing the joints with Grout (Tile joint filler), curing, finishing etc., all complete and as directed by the departmental officers. (The brand quality of tiles should be got approved from EE before use ). |  |  | 1m2 (One Square metre)
14 | 29.9.1 | 5 | Supplying and fixing of colour Ceramic Tiles Anti skid without corrugated design for flooring and other similar works (Best approved quality, colour and shade shall be got approved from the Executive Engineer before using) over cement mortor 1:3 (One of cement and three of crushed stone sand) 20mm thick including fixing in position, cutting the tiles to the required size wherever necessary, pointing the joints with Grout (Tile |  |  | 1m2 (One Square metre)
joint filler), curing, finishing etc., all complete and as directed by the departmental officers. (The brand quality of tiles should be got approved from EE before use ).
15 | 33.1 | 15 | Plastering with CM 1:5 (One of cement and five of crushed stone sand) 20mm thick finished with neat cement including plasticizer, providing band cornice, ceiling cornice, curing, scaffolding, etc., complete in all respects and complying with relevant standard specifications. | 56 & 57 |  | 1m2 (One Square metre)
16 | 33.2 | 28.8 | Plastering with CM 1:5 (One of cement and five of crushed stone sand) 12mm thick finished with neat cement including plasticizer, providing band cornice, ceiling cornice, curing, scaffolding, etc., complete in all respects and complying with relevant standard specifications. | 56 & 57 |  | 1m2 (One Square metre)
17 | 34.2 | 15 | Plastering with CM 1:4 (one of cement and four of crushed stone sand) 12mm thick finished with neat cement including plasticizer, providing band cornice, ceiling cornice, curing, scaffolding etc.... complete in all respects and complying with standard specifications. | 56 & 57 |  | 1m2 (One Square metre)
18 | 35.3 | 21.94 | Special ceiling plastering in cement mortar 1:3 (One of cement and three of crushed stone sand) 10mm thick for bottom of roof, stair, waist, landing and sunshades in all floors finished with neat cement including plasticizer, hacking the areas, providing band cornice, scaffolding, curing etc., complete | 56 & 57 |  | 1m2 (One Square metre)
19 | 37.3 | 21.8 | White washing two coats using clean shell lime slaked including cost of lime, gum, blue, brushes, including scaffolding etc., complete in all respects. | 63 |  | 1m2 (One Square metre)
20 | 43.2.1 | 0.067 | Supplying, fabricating and placing in position of Mild steel Grills / Ribbed Tor Steels (without cement slurry) of all diameters for reinforcement for all floors including cost of binding wire insulated with PVC, bending tying etc., all complete and as directed by the departmental officers. | 30 & 86 |  | 1 MT (One Metric Tonne)
21 | 50.2.1 | 101 | Supplying and fixing of pre-cast kerb stone of size 450x300x150mm made in CC 1:3:6 (One of cement, three of crushed stone sand and six of hard broken stone jelly) using 20mm size hard broken stone jelly including the cost of Kerb stone moulding, laying, curing, transporting, pointing and as directed by the departmental officers. |  |  | 1 Rmt (One Running metre)
22 | 52.1.1 | 10 | Supplying, laying, fixing and jointing the following PVC pipes as per ASTM D - 1785 of schedule 40 of wall thickness not less than the specified in IS 4985 suitable for plumbing by threading of wall thickness including the cost of suitable UPVC specials like Elbow, Tee reducers, Plug, unions, bend, coupler, nipple/ UPVC gate valve, UPVC check and UPVC / ball valve etc., wherever required above the ground level including the cost of teflon tape, UPVC special clamps, nails, etc., fixing on wall to the proper gradient and alignment and redoing the chipped of masonry etc., as directed by the departmental officers. (The brand and quality of pipes and specials should be got approved by the EE/SE/CE before use in works) b) 25mm dia ASTM D schedule 40 threaded PVC pipe with necessary UPVC specials
1 Rmt (One Running metre)
23 |  | 30 | c) 20mm dia ASTM D schedule 40 threaded PVC pipe with necessary UPVC specials |  |  | 1 Rmt (One Running metre)
24 | 54.1.2 | 2 | Supplying and fixing of 15mm dia Engineering Polymer Tap (Long body) of best quality including cost of materials, labour charges for fixing the tap with required specials etc, all complete and as directed by the departmental officers., (The quality and brand of fittings should be got approved from Executive Engineer before use). |  |  | 1 No. (One Number)
25 | 54.2.2 | 9 | Supplying and fixing of 15mm dia Engineering Polymer Tap (Short body) of best quality including cost of materials, labour charges for fixing the tap with required specials etc, all complete and as directed by the departmental officers., (The quality and brand of fittings should be got approved from Executive Engineer before use). |  |  | 1 No. (One Number)
26 | 57.1.1 | 1 | Supplying and fixing EWC superior variety (white) 500mm with PVC SWR grade 'P' or 'S' trap including cost and fixing of double flapped coloured plastic sheet cover PVC flushing cistern in appropriate level as directed by the departmental officers at a maximum level of 5’6” and of approved brand of 10litres capacity including fittings such as CI brackets. PVC connection GM wheel valve, Hex nipple, etc., complete (The Quality and brand of EWC and plastic cover shall be got approved from the Executive Engineer before fixing) | 102 |  | 1 No. (One Number)
27 | 58.3 | 12 | Supplying and fixing the following dia PVC (SWR) pipe with ISI mark confirming to IS 13952:1992- type 'B' for soil line with relevant specials confirming to IS 14735 including jointing with seal ring confirming to IS 5382 with leaving a gap about 10mm to allow thermal expansion,fixing the pipes into walls with necessary wooden plug, screws, holding wherever necessary and making good of the dismantled portion with necessary connections to |  |  | 1 Rmt (One Running Metre)
sanitary fittings etc., complete in all respects and as directed by the departmental officers. a) 110mm dia PVC SWR pipe including all required PVC specials etc., all complete.,
28 |  | 6 | b) 75mm dia PVC SWR pipe including all required PVC specials etc., all complete., |  |  | 1 Rmt (One Running Metre)
29 | 58.4 | 12 | Supplying,laying and concealing the 50mm dia PVC (SWR) pipe with ISI mark confirming to IS 13952:1992- type 'B' for waste water line with relevant specials confirming to IS 14735 including jointing and making good of the dismantled portion with necessary connections to sanitary fittings etc., complete in all respects and as directed by the departmental officers. |  |  | 1 Rmt (One Running Metre)
30 | 60.1 | 1 | Supplying and fixing of PVC Nahani Trap not less than 75mm 4 way / 2 way (Superior variety) having minimum of water seal of 50mm confirm to relevant I.S. specifications with its latest amendments including resting on the bed of brick jelly concrete 1:5:10 (One of cement, five of crushed stone sand and ten of 40 mm gauge brick jelly) etc., complete as directed by the departmental officers (The PVC Nahani Trap should be got approved from the EE before use) | 102 |  | 1 No (One Number)
31 | 61.3 | 12 | Supplying, laying and jointing the following dia UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003, superior variety and tested with water, including necessary earth work excavation for trenches and refilling the same, well rammed and consolidated after the pipes are jointed and laid to proper gradiant to the alignment as directed by the departmental officers. (SN8 SDR 34 (S16.5), as per IS 15328/2003, should be got approved by the EE/SE/CE before use in works) a. 110 mm UPVC Non Pressure pipe |  |  | 1 Rmt (One Running Metre)
32 |  | 90 | b. 160 mm UPVC Non Pressure pipe |  |  | 1 Rmt (One Running Metre)
33 | 207.3.1 | 23.4 | Painting the new walls with two coats of 1st class ready mixed plastic emulsion paint of best approved quality colour and shade including a priming coat, including clean removal of dirt and dust etc., complete including cost of necessary brushes, labour charges, putty etc., complying with relevant standard specification. (The paint should be supplied by the contractors at his own cost.The quality and shade of the paint should be got approved from the Executive engineer before use.) | 65A |  | 1m2 (One Square metre)
34 | 207.3.2 | 64.4 | Painting the old walls with one coat of 1st class ready mixed interior plastic emulsion paint of best approved quality colour and shade including thorough scrapping the surface, clean removal of dirt and dust etc., complete including cost of necessary brushes, labour charges, putty etc., complying with relevant standard specification. (The paint should be supplied by the contractors at his own cost.The quality and shade of the paint should be got approved by the Executive engineer before use.) | 65A |  | 1m2 (One Square metre)
35 | 207.6 | 3 | Painting the old iron works with two coats of approved Ist class ready mixed synthetic enamel paint including thorough scrapping the old paint using sand paper including cost of material, labour for painting, supplying etc., all complete as directed by the departmental officers. (The paint quality and shade should be got approved by Executive Engineer before using.) |  |  | 1m2 (One Square metre)
36 | 209.5 | 15 | Labour charges for chipping and clean removal of the old cement plastering both inside and outside from the existing walls of brick masonry and racking out joints to 20mm deep without damaging the existing structure and surroundings and clearing the debris away from the site including cost of required tools and plant and necessary scaffolding if necessary etc., all complete in all respect and as directed by the departmental officers. |  |  | 1m2 (One Square metre)
37 | 213 | 2 | Supply and fixing of SFRC manhole cover with frame with locking arrangement of clear opening heavy duty (35 M.T Capacity) to with stand any type of impact load if any, confirming to ISI specifications and as directed by the departmental officers. a) 600x 600mm |  |  | 1 No. (One Number)
38 |  | 5 | b) 750 x750mm |  |  | 1 No. (One Number)
39 | 221 | 4.1 | Removing the existing damaged door/window /ventilator including the removal of frames, hinges, fastenings and shutters form the existing structure and stacking the same carefully for reuse if any in the departmental stores at site of work and as directed by the departmental officers etc., all complete (including removing the furniture fittings such as hinges, hooks and eyes etc.,) |  |  | 1m2 (One Square metre)
40 | 229 | 3.03 | Providing anticorrosive zinc painting priming for the existing exposed reinforcement in the R.C.C. Structures by exposing the existing corroded reinforcement bars fully in the repair area and remove all loose scale and corrosion deposits steel should be cleaned to a bright conditions and tested using phenolphthalein and silver nitrate solution paying particulars attention to the back of the exposed steel bars, mechanically scrubbing using wire brush is recommended for this process. (The zinc primer should be of approved make and quality). The cost includes cost of zinc primer and labour charges, centering, strutting, scaffolding etc., complete and as directed by the departmental officers. |  |  | 1 Kg. (One Kilogram)
41 | 229.2 | 12.1 | Applying Epoxy jointing compound for providing bonding to the new and old concrete for the damaged R.C.C. repair area by mixing the base and hardener to the Epoxy jointing compound of approved make the proportionate of mixing should be of the manufacturer specification as per annexure and applying the same with 4 “ brush including cost and labour charges, centering, strutting, scaffolding etc., all complete as directed by the departmental officers. |  |  | 1m2 (One Square metre)
42 | 241 | 4 | Dismantling the existing floor finish and dadoing walls in cement mortar with mosaic tiles / clay tiles / glazed tiles /cuddappah slabs etc., without damaging the existing structure and removing the debris away from the site etc all complete and as directed by the departmental officers. |  |  | 1m2 (One Square metre)
43 | 241.1 | 12.1 | Labour charges fo chipping of spalled and old roof sla concrete by using chipping machine filled with sharp & flat chipping bit without affecting the existing structure and clearing the surface completely and removing the debris away from the site including electrical charges etc complete and as directed by the departmental officers. |  |  | 1m2 (One Square metre)
44 | 243.2.1 | 1 | Dismantling the existing damaged IWC without damaging the adjacent structures etc., and removing the debris away from the site with required tools and plants etc., all complete and as directed by the departmental officers. |  |  | 1 No. (One Number)
45 | 243.6.4 | 3.8 | Labour charges for repairing the damaged door shutter without affecting the adjacent structures and clearing the debris away from the site including removing and refixing the same with necessary fittings including labour charges etc., all complete as directed by the departemntal officers |  |  | 1m2 (One Square metre)
46 | 249.1 | 532 | Supply and installation of Deco sport 5 layer system followed by 1. Primer layer: To improve bonding of acrylic with subfloor (if required for concrete floor) 2. Acrylic resurfacer layer: for filling up the surface and smoothing subfloor 3. Resurfacer coat : Decosport Acrylic resurfacer blended with silica sand for filling up the cushion surface and smoothing subfloor 4. Base coat 1: Deco sport |  |  | 1m2 (One Square metre)
Acrylic base coat I provides a uniform surface texture coat. 5. Base coat II: Deco sport Acrylic base coat II determines the traction speed of the court. 6. Top coat: Decosport Acrylic top coat creates a vibrant antiskid finish highly resistance etc., complete in all respect complying with relevant standard specification and as directed by the departmental officers. (The Court should be approved by Basketball Federation of India and must have been used in National, International or Equivalent tournaments and material manufactured should be under ITF Certified and FIBA approved and got approved from Executive Engineer before use)
47 | 472 | 1 | Supplying and installation of Basket Ball Back Board of 6' x 31/2' 20mm thick made of top quality acrylic fibre glass board with rectangular aluminium support frame work and 6" GI post and as per NPA standards including stag ring net along with angle frame stag triple string and installation charges, transportation charges etc., all complete as directed by the departmental officers (The brand and quality shall be got approved from the Executive Engineer before use and must be International standards) |  |  | 1 Set (One Set)
48 | 472.1 | 1 | Marking the court with Acrylic paint |  |  | 1 Set (One Set)
49 | 472.2 | 1 | Supply and fixing of Manual score board of size 40" x 60" MS board, team name, game time, team score, team fouls alternate possession arrows, board supporting stand, quarters with relevant standard specifications and as directed by the departmental officers. (The quality of board should be got approved from the EE before use) |  |  | 1 Set (One Set)
50 | 752 | 2 | Construction of Inspection chamber with brickjelly cement concrete 1:8:16 ( One of cement, eight of crushed stone sand and sixteen of broken brick jelly 40mm gauge 15cm, thick for foundation and 23cm thick brick mansonry in CM 1:5 using chamber bricks of size 23 x 11.4 x 7.5 cm (9" x 41/2"x 3") and plastering with CM 1:3 (one of cement, three of crushed stone sand) CC1:2:4 (one of cement, two of crushed stone sand and four of hard broken stone 20mm gauge) 5cm thick precast cover slab excluding the cost and fabrication of reinforcement grills but including benching channelling fixing the cover slab in position curing, finishing etc., complete in all respects. Size: 60 x 60x 75cm |  |  | 1 No. (One Number)
[5 empty] | Total Amount ₹. |  | 0
( Rupees ------------------------------------------------------------------------------------------------------Only)
Note: The items not furnished with Quantity are deemed to be deleted.

## CS (2)
Sl. No. | Item No. | Qty. | Description | TNBP NO | Rate | Unit | Amount
1 | 1.5 | 66.3 | Earth work excavation for Open Foundation in all soils and sub-soils to the required depth as may be directed except in hard rock requiring blasting, inclusive of shoring, strutting and bailing out water wherever necessary. (Excluding refilling the sides of foundation) and depositing the earth in places shown clearing and levelling the site with an initial lead of 10 metres and lift as specified hereunder etc., complete in all respects complying with relevant Standard specifications. (Excluding Refilling). a) 0 to 2m depth. | 17, 23 & 24 | 126 | 1m3 (One Cubic metre) | 8353.8 | 123.26 | 8172.138 | 130 | 8619 | 126 | 8353.8
2 | 13.1 | 5.9 | Filling in foundation and basement and other similar works with Excavated earth in layers of 150mm thick well watered rammed and consolidated complying with relevant standard specification etc., all complete and as directed by the departmental officers. |  | 45 | 1m3 (One Cubic metre) | 265.5 | 42.85 | 252.815 | 45 | 265.5 | 45 | 265.5
3 | 238 | 0.067 | Applying one coat of anticorrosive treatment on steel reinforcement rods (20 ltrs. of anitcorrosive chemical for one mertic tonne of steel reinforcement rods) at site including a cost of required quantity of anticorrosive chemicals, (best approved quality) cement, consumables such as brushes, gloves and labour for anticorrosive coating etc. complete and as directed by the departmental officers. (The Quality and brand of anticorrosive chemaical should be got approved by the EE before use). |  | 4962 | 1 MT (One Metric Tonne) | 332.454 | 4865.5 | 325.9885 | 5110 | 342.37 | 4962 | 332.454
ANNEXURE
4 | 2.15 | 41.7 | Supply and filling in foundation and basement with Stonedust in layers of 150mm thickness well watered, rammed and consolidated complying with relevant standard specification including cost of Stonedust etc., all complete and as directed by departmental officer. |  | 250 | 1m3 (One Cubic metre) | 10425 | 253.29 | 10562.193 | 275 | 11467.5 | 258 | 10758.6
5 | 3.1.3 | 54.7 | Plain cement concrete 1:5:10 (One of cement, five of crushed stone sand and ten of hard broken stone Jelly) for foundation using 40 mm gauge hard broken stone jelly inclusive of shoring, strutting and bailing out water wherever necessary ramming, curing etc., complete in all respects complying with relevant standard specifications and as directed by the departmental officers. | 28 | 4800 | 1m3 (One Cubic metre) | 262560 | 4998.91 | 273440.377 | 5250 | 287175 | 5098 | 278860.6
6 | 3.2.1 | 53.2 | Plain cement concrete 1:2:4 (One of cement two of crushed stone sand and four of Hard Broken Stone jelly) using 20mm gauge hard broken stone jelly excluding shuttering and centering but including laying, curing and finishing with relevant standard specifications in foundation and basement, and other similar works & as directed by the departmental officers. | 28 | 6300 | 1m3 (One Cubic metre) | 335160 | 6550.36 | 348479.152 | 6880 | 366016 | 6681 | 355429.2
7 | 6.2.3 | 4.6 | Brick work in CM 1:5 (One of cement and five of crushed stone sand ) using chamber burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") in foundation and basement including plasticizer, dewatering wherever necessary proper setting, curing etc., complete with relevant standard specifications. | 31 & 31-C | 6600 | 1m3 (One Cubic metre) | 30360 | 6891.93 | 31702.878 | 7240 | 33304 | 7029 | 32333.4
8 | 8.2.3.2 | 0.4 | Providing and laying in position, Standardised Concrete Mix M-30 Grade in a accordance with IS:456-2000 using 20mm and down graded hard broken granite stone jelly for the all RCC items of works with minimum cement content of 400 Kg/m3 and maximum water cement ratio of 0.45, including admixture (plasticiser/ super plasticiser) in recommended proportions as per IS:9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability with about (5.0 cum) 7730Kg of 20mm machine crushed stone jelly and with about (3.3 cum) 5156kg of 10-12mm machine crushed stone jelly and with about (4.79 cum) 7670Kg of crushed stone sand (for making 10 cum) but excluding cost of reinforcement grill and fabricating charges, centering and shuttering and also including laying, vibrating with mechanical vibrators, finishing, curing etc., and providing fixtures like fan clamps in the RCC floor/roof slabs wherever necessary without claiming extra etc., complete complying with relevent standard specification and as directed by the departmental officers. The coarse and fine aggregates to be used should comply with requirements of IS standards. (No separate payment will be made by the Departmental for the excess usage of materials) a. In Foundation and basement |  | 8961 | 1m3 (One Cubic metre) | 3584.4 | 8785.21 | 3514.084 | 9230 | 3692 | 8961 | 3584.4
9 | 0 | 0.7 | b. In Ground floor |  | 9095 | 1m3 (One Cubic metre) | 6366.5 | 8917.05 | 6241.935 | 9367 | 6556.9 | 9095 | 6366.5
10 | 18.1 | 9.84 | Providing Form work and centering for reinforced cement concrete works including supports and strutting up to 3.30m height for plane surfaces as detailed below with all cross bracings using mild steel sheets of size 90cm x 60cm and MS 10 gauge stiffened with welded mild steel angles of size 25mmx 25mmx 3mm for boarding laid over silver oak or country wood joists of size 10cmx6.5cm spaced at about 90cm centre to centre and supported by casurina props 10cm to 13cm dia spaced at 75cm intervals and removing the same after a specified period without damaging the R.C.C works etc., complete complying with standard specifaction and as directed by the departmental officers. c. For Square and rectangular columns and small quantities such as sunshade, parapet cum drops window boxing, fin projection and other similar works. | 30 (8) | 1200 | 1m2 (One Square metre) | 11808 | 1232.9 | 12131.736 | 1300 | 12792 | 1257 | 12368.88
11 | 21.5.2.2 | 3 | Providing and fixing factory made unplasticized polyvinyl chloride (UPVC) Door Frame of size 50x47mm with a wall thickness of 5mm, made out extruded 5mm rigid UPVC foam sheet, mitred at two corners and joined with 2 nos of 150mm long brackets of 15x15mm M.S square tube. The two vertical and horizontal door profiles are to be reinforced with 19x19mm M.S Square tube of 19 gauge with primer coat. The door frame shall be fixed to the wall using 65/100mm long M.S screw through the frame by using PVC fasteners. A minimum of 4 nos screws to be provided for each vertical member & minimum 2 nos for horizontal member etc., and providing and fixing 30mm thick factory made door shutter with unplasticized polyvinyl chloride (UPVC) solid panel foam sheet, structured with M.S. tube of 19 gauge thickness and size 19 x19mm for styles & 15mm x15mm for top & bottom rails. Paneling of 5mm thick UPVC One Side Printed Lamination single sheet to be fitted in the M.S. frame welded / sealed to the styles and rails covered with 5mm thick 75mm wide UPVC sheet for top rail, lock rail and bottom rail on either side and 10mm (5mm x 2 Nos) thick, 20mm wide cross UPVC sheet as gap insert for top rail & bottom rail and joined together with PVC solvent cement adhesive. An additional 5mm thick UPVC strip of 20mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent cement adhesive including cost and labour charges for fixing of 3 Nos, 4” SS butt hinges and Aluminium furniture fittings such as 1 No 4" Tower bolt, 1 No 5" Aldrop, 2 Nos 6" flat 'D' type Handle etc are included. The fitting provided shall be ISI marks. To ensure the genuinity of product, the door set should have 4 numbers of manufacturer's logo hologram of approved brand, each at frame, style, rail and inner panel. (The quality and brand of door shutter and furniture fittings should be got approved from the Executive Engineer before use) |  | 3391 | 1m2 (One Square metre) | 10173 | 3325 | 9975 | 3500 | 10500 | 3391 | 10173
12 | 28.1 | 2.9 | Plastering the top of flooring in CM 1:4 (One of cement and four of crushed stone sand) 20mm thick including surface rendered smooth including providing proper slopes, thread lining, including plasticizer, curing and 150mm wide skirting alround with the same cement mortar etc., complete in all respects. | 56, 57 31-C | 567 | 1m2 (One Square metre) | 1644.3 | 555.87 | 1612.023 | 590 | 1711 | 567 | 1644.3
13 | 29.8.1 | 6 | Supplying and fixing of Colour glazed tiles (Best approved quality and the same shall be got approved from the Executive Engineer before using) over cement plastering in CM 1:2 (One of cement and two of crushed stone sand) 10mm thick including fixing in position, cutting the tiles to the required size wherever necessary, pointing the joints with Grout (Tile joint filler), curing, finishing etc., all complete and as directed by the departmental officers. (The brand quality of tiles should be got approved from EE before use ). |  | 1309 | 1m2 (One Square metre) | 7854 | 1283.01 | 7698.06 | 1350 | 8100 | 1309 | 7854
14 | 29.9.1 | 5 | Supplying and fixing of colour Ceramic Tiles Anti skid without corrugated design for flooring and other similar works (Best approved quality, colour and shade shall be got approved from the Executive Engineer before using) over cement mortor 1:3 (One of cement and three of crushed stone sand) 20mm thick including fixing in position, cutting the tiles to the required size wherever necessary, pointing the joints with Grout (Tile joint filler), curing, finishing etc., all complete and as directed by the departmental officers. (The brand quality of tiles should be got approved from EE before use ). |  | 1495 | 1m2 (One Square metre) | 7475 | 1465.86 | 7329.3 | 1540 | 7700 | 1495 | 7475
15 | 33.1 | 15 | Plastering with CM 1:5 (One of cement and five of crushed stone sand) 20mm thick finished with neat cement including plasticizer, providing band cornice, ceiling cornice, curing, scaffolding, etc., complete in all respects and complying with relevant standard specifications. | 56 & 57 | 557 | 1m2 (One Square metre) | 8355 | 546.31 | 8194.65 | 575 | 8625 | 557 | 8355
16 | 33.2 | 28.8 | Plastering with CM 1:5 (One of cement and five of crushed stone sand) 12mm thick finished with neat cement including plasticizer, providing band cornice, ceiling cornice, curing, scaffolding, etc., complete in all respects and complying with relevant standard specifications. | 56 & 57 | 278 | 1m2 (One Square metre) | 8006.4 | 272.88 | 7858.944 | 290 | 8352 | 278 | 8006.4
17 | 34.2 | 15 | Plastering with CM 1:4 (one of cement and four of crushed stone sand) 12mm thick finished with neat cement including plasticizer, providing band cornice, ceiling cornice, curing, scaffolding etc.... complete in all respects and complying with standard specifications. | 56 & 57 | 285 | 1m2 (One Square metre) | 4275 | 278.97 | 4184.55 | 293 | 4395 | 285 | 4275
18 | 35.3 | 21.94 | Special ceiling plastering in cement mortar 1:3 (One of cement and three of crushed stone sand) 10mm thick for bottom of roof, stair, waist, landing and sunshades in all floors finished with neat cement including plasticizer, hacking the areas, providing band cornice, scaffolding, curing etc., complete | 56 & 57 | 319 | 1m2 (One Square metre) | 6998.86 | 312.85 | 6863.929 | 330 | 7240.2 | 319 | 6998.86
19 | 37.3 | 21.8 | White washing two coats using clean shell lime slaked including cost of lime, gum, blue, brushes, including scaffolding etc., complete in all respects. | 63 | 38 | 1m2 (One Square metre) | 828.4 | 36.81 | 802.458 | 40 | 872 | 38 | 828.4
20 | 43.2.1 | 0.067 | Supplying, fabricating and placing in position of Mild steel Grills / Ribbed Tor Steels (without cement slurry) of all diameters for reinforcement for all floors including cost of binding wire insulated with PVC, bending tying etc., all complete and as directed by the departmental officers. | 30 & 86 | 93896 | 1 MT (One Metric Tonne) | 6291.032 | 92055.3 | 6167.7051 | 96660 | 6476.22 | 93896 | 6291.032
21 | 50.2.1 | 101 | Supplying and fixing of pre-cast kerb stone of size 450x300x150mm made in CC 1:3:6 (One of cement, three of crushed stone sand and six of hard broken stone jelly) using 20mm size hard broken stone jelly including the cost of Kerb stone moulding, laying, curing, transporting, pointing and as directed by the departmental officers. |  | 260 | 1 Rmt (One Running metre) | 26260 | 270.81 | 27351.81 | 285 | 28785 | 276 | 27876
22 | 52.1.1 | 10 | Supplying, laying, fixing and jointing the following PVC pipes as per ASTM D - 1785 of schedule 40 of wall thickness not less than the specified in IS 4985 suitable for plumbing by threading of wall thickness including the cost of suitable UPVC specials like Elbow, Tee reducers, Plug, unions, bend, coupler, nipple/ UPVC gate valve, UPVC check and UPVC / ball valve etc., wherever required above the ground level including the cost of teflon tape, UPVC special clamps, nails, etc., fixing on wall to the proper gradient and alignment and redoing the chipped of masonry etc., as directed by the departmental officers. (The brand and quality of pipes and specials should be got approved by the EE/SE/CE before use in works) b) 25mm dia ASTM D schedule 40 threaded PVC pipe with necessary UPVC specials |  | 258 | 1 Rmt (One Running metre) | 2580 | 253.32 | 2533.2 | 266 | 2660 | 258 | 2580
23 | 0 | 30 | c) 20mm dia ASTM D schedule 40 threaded PVC pipe with necessary UPVC specials |  | 253 | 1 Rmt (One Running metre) | 7590 | 248.48 | 7454.4 | 260 | 7800 | 253 | 7590
24 | 54.1.2 | 2 | Supplying and fixing of 15mm dia Engineering Polymer Tap (Long body) of best quality including cost of materials, labour charges for fixing the tap with required specials etc, all complete and as directed by the departmental officers., (The quality and brand of fittings should be got approved from Executive Engineer before use). |  | 273 | 1 No. (One Number) | 546 | 268 | 536 | 282 | 564 | 273 | 546
25 | 54.2.2 | 9 | Supplying and fixing of 15mm dia Engineering Polymer Tap (Short body) of best quality including cost of materials, labour charges for fixing the tap with required specials etc, all complete and as directed by the departmental officers., (The quality and brand of fittings should be got approved from Executive Engineer before use). |  | 262 | 1 No. (One Number) | 2358 | 257 | 2313 | 270 | 2430 | 262 | 2358
26 | 57.1.1 | 1 | Supplying and fixing EWC superior variety (white) 500mm with PVC SWR grade 'P' or 'S' trap including cost and fixing of double flapped coloured plastic sheet cover PVC flushing cistern in appropriate level as directed by the departmental officers at a maximum level of 5’6” and of approved brand of 10litres capacity including fittings such as CI brackets. PVC connection GM wheel valve, Hex nipple, etc., complete (The Quality and brand of EWC and plastic cover shall be got approved from the Executive Engineer before fixing) | 102 | 7667 | 1 No. (One Number) | 7667 | 7516.55 | 7516.55 | 7900 | 7900 | 7667 | 7667
27 | 58.3 | 12 | Supplying and fixing the following dia PVC (SWR) pipe with ISI mark confirming to IS 13952:1992- type 'B' for soil line with relevant specials confirming to IS 14735 including jointing with seal ring confirming to IS 5382 with leaving a gap about 10mm to allow thermal expansion,fixing the pipes into walls with necessary wooden plug, screws, holding wherever necessary and making good of the dismantled portion with necessary connections to sanitary fittings etc., complete in all respects and as directed by the departmental officers. a) 110mm dia PVC SWR pipe including all required PVC specials etc., all complete., |  | 773 | 1 Rmt (One Running metre) | 9276 | 758.4 | 9100.8 | 700 | 8400 | 773 | 9276
28 | 0 | 6 | b) 75mm dia PVC SWR pipe including all required PVC specials etc., all complete., |  | 654 | 1 Rmt (One Running metre) | 3924 | 641.1 | 3846.6 | 675 | 4050 | 654 | 3924
29 | 58.4 | 12 | Supplying,laying and concealing the 50mm dia PVC (SWR) pipe with ISI mark confirming to IS 13952:1992- type 'B' for waste water line with relevant specials confirming to IS 14735 including jointing and making good of the dismantled portion with necessary connections to sanitary fittings etc., complete in all respects and as directed by the departmental officers. |  | 116 | 1 Rmt (One Running metre) | 1392 | 114.45 | 1373.4 | 121 | 1452 | 116 | 1392
30 | 60.1 | 1 | Supplying and fixing of PVC Nahani Trap not less than 75mm 4 way / 2 way (Superior variety) having minimum of water seal of 50mm confirm to relevant I.S. specifications with its latest amendments including resting on the bed of brick jelly concrete 1:5:10 (One of cement, five of crushed stone sand and ten of 40 mm gauge brick jelly) etc., complete as directed by the departmental officers (The PVC Nahani Trap should be got approved from the EE before use) | 102 | 163 | 1 No. (One Number) | 163 | 160 | 160 | 168 | 168 | 163 | 163
31 | 61.3 | 12 | Supplying, laying and jointing the following dia UPVC Non Pressure pipe of SN8 SDR 34 (S 16.5) as per IS 15328/2003, superior variety and tested with water, including necessary earth work excavation for trenches and refilling the same, well rammed and consolidated after the pipes are jointed and laid to proper gradiant to the alignment as directed by the departmental officers. (SN8 SDR 34 (S16.5), as per IS 15328/2003, should be got approved by the EE/SE/CE before use in works) a. 110 mm UPVC Non Pressure pipe |  | 511 | 1 Rmt (One Running metre) | 6132 | 500.6 | 6007.2 | 530 | 6360 | 511 | 6132
32 | 0 | 90 | b. 160 mm UPVC Non Pressure pipe |  | 790 | 1 Rmt (One Running metre) | 71100 | 824.8 | 74232 | 867 | 78030 | 841 | 75690
33 | 207.3.1 | 23.4 | Painting the new walls with two coats of 1st class ready mixed plastic emulsion paint of best approved quality colour and shade including a priming coat, including clean removal of dirt and dust etc., complete including cost of necessary brushes, labour charges, putty etc., complying with relevant standard specification. (The paint should be supplied by the contractors at his own cost.The quality and shade of the paint should be got approved from the Executive engineer before use.) | 65A | 254 | 1m2 (One Square metre) | 5943.6 | 249 | 5826.6 | 262 | 6130.8 | 254 | 5943.6
34 | 207.3.2 | 64.4 | Painting the old walls with one coat of 1st class ready mixed interior plastic emulsion paint of best approved quality colour and shade including thorough scrapping the surface, clean removal of dirt and dust etc., complete including cost of necessary brushes, labour charges, putty etc., complying with relevant standard specification. (The paint should be supplied by the contractors at his own cost.The quality and shade of the paint should be got approved by the Executive engineer before use.) | 65A | 92 | 1m2 (One Square metre) | 5924.8 | 89.8 | 5783.12 | 95 | 6118 | 92 | 5924.8
35 | 207.6 | 3 | Painting the old iron works with two coats of approved Ist class ready mixed synthetic enamel paint including thorough scrapping the old paint using sand paper including cost of material, labour for painting, supplying etc., all complete as directed by the departmental officers. (The paint quality and shade should be got approved by Executive Engineer before using.) |  | 153 | 1m2 (One Square metre) | 459 | 150 | 450 | 158 | 474 | 153 | 459
36 | 209.5 | 15 | Labour charges for chipping and clean removal of the old cement plastering both inside and outside from the existing walls of brick masonry and racking out joints to 20mm deep without damaging the existing structure and surroundings and clearing the debris away from the site including cost of required tools and plant and necessary scaffolding if necessary etc., all complete in all respect and as directed by the departmental officers. |  | 12 | 1m2 (One Square metre) | 180 | 11.22 | 168.3 | 12 | 180 | 12 | 180
37 | 213 | 2 | Supply and fixing of SFRC manhole cover with frame with locking arrangement of clear opening heavy duty (35 M.T Capacity) to with stand any type of impact load if any, confirming to ISI specifications and as directed by the departmental officers. a) 600x 600mm |  | 2755 | 1 No. (One Number) | 5510 | 2701 | 5402 | 2837 | 5674 | 2755 | 5510
38 | 0 | 5 | b. 750mm x 750mm |  | 3060 | 1 No. (One Number) | 15300 | 2971 | 14855 | 3121 | 15605 | 3060 | 15300
39 | 221 | 4.1 | Removing the existing damaged door/window /ventilator including the removal of frames, hinges, fastenings and shutters form the existing structure and stacking the same carefully for reuse if any in the departmental stores at site of work and as directed by the departmental officers etc., all complete (including removing the furniture fittings such as hinges, hooks and eyes etc.,) |  | 158 | 1m2 (One Square metre) | 647.8 | 153.56 | 629.596 | 162 | 664.2 | 158 | 647.8
40 | 229 | 3.03 | Providing anticorrosive zinc painting priming for the existing exposed reinforcement in the R.C.C. Structures by exposing the existing corroded reinforcement bars fully in the repair area and remove all loose scale and corrosion deposits steel should be cleaned to a bright conditions and tested using phenolphthalein and silver nitrate solution paying particulars attention to the back of the exposed steel bars, mechanically scrubbing using wire brush is recommended for this process. (The zinc primer should be of approved make and quality). The cost includes cost of zinc primer and labour charges, centering, strutting, scaffolding etc., complete and as directed by the departmental officers. |  | 1908 | 1 Kg. (One Kilogram) | 5781.24 | 1853.25 | 5615.3475 | 1947 | 5899.41 | 1908 | 5781.24
41 | 229.2 | 12.1 | Applying Epoxy jointing compound for providing bonding to the new and old concrete for the damaged R.C.C. repair area by mixing the base and hardener to the Epoxy jointing compound of approved make the proportionate of mixing should be of the manufacturer specification as per annexure and applying the same with 4 “ brush including cost and labour charges, centering, strutting, scaffolding etc., all complete as directed by the departmental officers. |  | 723 | 1m2 (One Square metre) | 8748.3 | 709 | 8578.9 | 745 | 9014.5 | 723 | 8748.3
42 | 241 | 4 | Dismantling the existing floor finish and dadoing walls in cement mortar with mosaic tiles / clay tiles / glazed tiles /cuddappah slabs etc., without damaging the existing structure and removing the debris away from the site etc all complete and as directed by the departmental officers. |  | 63 | 1m2 (One Square metre) | 252 | 61.27 | 245.08 | 65 | 260 | 63 | 252
43 | 241.1 | 12.1 | Labour charges fo chipping of spalled and old roof sla concrete by using chipping machine filled with sharp & flat chipping bit without affecting the existing structure and clearing the surface completely and removing the debris away from the site including electrical charges etc complete and as directed by the departmental officers. |  | 41 | 1m2 (One Square metre) | 496.1 | 40.37 | 488.477 | 44 | 532.4 | 41 | 496.1
44 | 243.2.1 | 1 | Dismantling the existing damaged IWC without damaging the adjacent structures etc., and removing the debris away from the site with required tools and plants etc., all complete and as directed by the departmental officers. |  | 721 | 1 No. (One Number) | 721 | 700 | 700 | 740 | 740 | 721 | 721
45 | 243.6.4 | 3.8 | Labour charges for repairing the damaged door shutter without affecting the adjacent structures and clearing the debris away from the site including removing and refixing the same with necessary fittings including labour charges etc., all complete as directed by the departemntal officers |  | 972 | 1m2 (One Square metre) | 3693.6 | 944 | 3587.2 | 994 | 3777.2 | 972 | 3693.6
46 | 249.1 | 532 | Supply and installation of Deco sport 5 layer system followed by 1. Primer layer: To improve bonding of acrylic with subfloor (if required for concrete floor) 2. Acrylic resurfacer layer: for filling up the surface and smoothing subfloor 3. Resurfacer coat : Decosport Acrylic resurfacer blended with silica sand for filling up the cushion surface and smoothing subfloor 4. Base coat 1: Deco sport Acrylic base coat I provides a uniform surface texture coat. 5. Base coat II: Deco sport Acrylic base coat II determines the traction speed of the court. 6. Top coat: Decosport Acrylic top coat creates a vibrant antiskid finish highly resistance etc., complete in all respect complying with relevant standard specification and as directed by the departmental officers. (The Court should be approved by Basketball Federation of India and must have been used in National, International or Equivalent tournaments and material manufactured should be under ITF Certified and FIBA approved and got approved from Executive Engineer before use) |  | 865 | 1m2 (One Square metre) | 460180 | 900 | 478800 | 945 | 502740 | 918 | 488376
47 | 472 | 1 | Supplying and installation of Basket Ball Back Board of 6' x 31/2' 20mm thick made of top quality acrylic fibre glass board with rectangular aluminium support frame work and 6" GI post and as per NPA standards including stag ring net along with angle frame stag triple string and installation charges, transportation charges etc., all complete as directed by the departmental officers (The brand and quality shall be got approved from the Executive Engineer before use and must be International standards) |  | 143000 | 1 Set (One Set) | 143000 | 147000 | 147000 | 154350 | 154350 | 149940 | 149940
48 | 472.1 | 1 | Marking the court with Acrylic paint |  | 24900 | 1 Set (One Set) | 24900 | 25000 | 25000 | 26250 | 26250 | 25500 | 25500
49 | 472.2 | 1 | Supply and fixing of Manual score board of size 40" x 60" MS board, team name, game time, team score, team fouls alternate possession arrows, board supporting stand, quarters with relevant standard specifications and as directed by the departmental officers. (The quality of board should be got approved from the EE before use) |  | 24900 | 1 Set (One Set) | 24900 | 25000 | 25000 | 26250 | 26250 | 25500 | 25500
50 | 752 | 2 | Construction of Inspection chamber with brickjelly cement concrete 1:8:16 ( One of cement, eight of crushed stone sand and sixteen of broken brick jelly 40mm gauge 15cm, thick for foundation and 23cm thick brick mansonry in CM 1:5 using chamber bricks of size 23 x 11.4 x 7.5 cm (9" x 41/2"x 3") and plastering with CM 1:3 (one of cement, three of crushed stone sand) CC1:2:4 (one of cement, two of crushed stone sand and four of hard broken stone 20mm gauge) 5cm thick precast cover slab excluding the cost and fabrication of reinforcement grills but including benching channelling fixing the cover slab in position curing, finishing etc., complete in all respects. Size: 60 x 60x 75cm |  | 7450 | 1 No. (One Number) | 14900 | 7517.02 | 15034.04 | 7893 | 15786 | 7743 | 15486
| 0 | 0 | Sub Total - I ₹. |  |  | 0 | 1591642.086 | 0 | 1641098.5461 |  | 1723246.2 |  | 1674207.766
| 0 | 0 | GST @ 18% |  |  | 0 | 286495.5755 | 0 | 295397.7383 |  | 310184.316 |  | 301357.3979
| 0 | 0 | Sub Total - II ₹. |  |  | 0 | 1878137.6615 | 0 | 1936496.2844 |  | 2033430.516 |  | 1975565.1739