## Abs
Name of Work: Construction of Central Co-operative Bank & Mini Hall Building at Madhavapuram,Triplicane in Chennai city
Sl. No | Description of Work / Item(s) | Qty | Units | Estimated Rate (As per PWD SR 2022-23)
|  |  |  | Rate | Amount
1 | 1.1) Earth work excavation in all soils (including refilling) a. 0 to 2 mt. | 320.20 | 1 Cum. | 247.31 | 79188.662
2 | 1.5) Earth work excavation for Open foundation (excluding refilling) a. 0 to 2 mt. | 36.50 | 1 Cum. | 116.88 | 4266.12
3 | b. 2 to 3 mt. | 9.10 | 1 Cum. | 128.10 | 1165.71
4 | 13.1) Filling with Excavated Earth | 14.30 | 1 Cum. | 40.65 | 581.295
5 | 15.1) Cuddappa slab 20 mm tk.for C/B slab. a. Ground floor | 7.20 | 1 Sqm. | 563.35 | 4056.12
6 | b. In First floor | 7.20 | 1 Sqm. | 568.27 | 4091.544
7 | 21.2) Teak wood Wrought & Put up a. T.W. over 2 m & below 3 m | 0.222 | 1 Cum. | 125878.00 | 27944.916
8 | b. T.W. below 2 m length. | 0.11 | 1 Cum. | 113678.00 | 12504.58
9 | 23.3) Supplying and fixing of Magnetic door catches | 4.00 | 1 No | 52.00 | 208
10 | 25) M.S.Holdfast | 43.00 | 1 No | 9.60 | 412.8
11 | 31) Weathering course | 10.50 | 1 Cum. | 3923.95 | 41201.475
12 | 37.1) White washing 3 coats (slaked) | 323.50 | 1 Sqm. | 47.21 | 15272.435
13 | 39) M.s Grills | 986.00 | 1 Kg. | 70.15 | 69167.9
14 | 40) Painting - New "wood work" | 20.00 | 1 Sqm. | 240.31 | 4806.2
15 | 41) Painting - New "iron work" | 81.00 | 1 Sqm. | 142.15 | 11514.15
16 | 46) Supplying and fixing of 20 mm dia Alu. Hanger Rod | 2.40 | 1 Rmt | 58.00 | 139.2
17 | 47) Supplying and fixing of Alu Towel rail 75 cm long | 6.00 | 1 No | 95.00 | 570
18 | 48) Supplying and fixing of 5 pin Coat stand | 5.00 | 1 No | 55.00 | 275
19 | 53.3) Supplying and fixing of C.I. Steps ( 5 kg) | 12.00 | 1 No | 30.00 | 360
20 | Electrical arrangements 72) Box type Fibre Fan hook | 18.00 | 1 No | 33.90 | 610.2
21 | 74) Charges for fixing of "Fan" | 18.00 | 1 No | 571.00 | 10278
22 | 76) 8 SWG wire | 30.00 | 1 Rmt | 26.30 | 789
23 | 77.3) Supplying and fixing of TV/Telephone line Socket | 8.00 | 1 No | 77.00 | 616
24 | 77.4) Supplying and fixing of 20mm dia PVC pipe for TV/Telephone line | 135.00 | 1 Rmt | 87.66 | 11834.1
25 | 78) Earthing Station IS3043 (Type I) | 2.00 | 1 No | 2921.00 | 5842
26 | 86) Anti termite treatment | 141.00 | 1 Sqm. | 34.00 | 4794
27 | 112) Supplying and fixing of Exhaust Fan 300 mm dia | 5.00 | 1 No | 2336.00 | 11680
28 | 238) Anticorrosive treatment for steel grills | 21.783 | 1 MT | 4755.50 | 103589.0565
29 | Annexure 1.14.3) Prviding Augering 30 cm dia for compound wall (M30) | 36.00 | 1 Rmt | 1021.88 | 36787.68
30 | 2.1.1)Supplying and filling in foundation and basement with filling crushed stone sand | 4.80 | 1 Cum. | 1847.35 | 8867.28
31 | 2.15) Supplying and filling stone dust | 134.00 | 1 Cum. | 296.79 | 39769.86
32 | 3.1.3) C.C.1:5:10 for Foundation & Basement | 23.20 | 1 Cum. | 4939.25 | 114590.6
33 | 3.2.3) P.C.C. 1:2:4 for Foundation & Basement and other similar works | 0.9 | 1 Cum. | 6485.13 | 5836.617
34 | 6.2.2) Brick work in C.M. 1:5 (F& B) using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") | 34.60 | 1 Cum. | 6813.03 | 235730.838
35 | 8.2.3.1) Standardised concrete Mix M30 Grade Concrete a. In Foundation and basement | 96.00 | 1 Cum | 8631.49 | 828623.04
36 | b. In Ground Floor | 56.50 | 1 Cum | 8756.45 | 494739.425
37 | c. In First Floor | 37.10 | 1 Cum | 9002.63 | 333997.573
38 | d. In Second Floor | 6.80 | 1 Cum | 9248.81 | 62891.908
39 | 9.2.2) Brick work in C.M. 1:6 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") a. In Ground Floor/Stilt floor | 22.10 | 1 Cum. | 6837.33 | 151104.993
40 | b. In First Floor | 29.00 | 1 Cum. | 7003.32 | 203096.28
41 | c. In Second Floor | 19.50 | 1 Cum. | 7169.31 | 139801.545
42 | 10.2.2) Brick partition work in C.M. 1:4 using chamber Burnt bricks of size 23 x 11.4 x 7.5 cm (9" x 4 1/2"x 3") 114 mm tk (B.P.) a. In Foundation and basement | 30.00 | 1 Sqm. | 859.36 | 25780.8
43 | b. In Ground Floor/stilt floor | 129.00 | 1 Sqm. | 868.74 | 112067.46
44 | c. In First Floor | 47.00 | 1 Sqm. | 887.66 | 41720.02
45 | 14.3.2) Precast cupboard slab 40 mm thick using standardised concrete mix M30 b. In Ground floor | 18.00 | 1 Sqm. | 1716.88 | 30903.84
46 | 18.1) Formwork using M.S.Sheet a.For Column footings,plinth beam,Grade beam,Raftbeam,Raft slab etc., | 262.10 | 1 Sqm | 881.39 | 231012.319
47 | b.Plain surfaces such as Roof slab, floorslab, Beams, lintels,lofts,sill slab,staircase,portico slab and other similar works | 630.20 | 1 Sqm | 982.08 | 618906.816
48 | c.For Square and rectangular columns and small quantities | 138.50 | 1 Sqm | 1178.50 | 163222.25
49 | d.Vertical wall | 274.00 | 1 Sqm | 1080.29 | 295999.46
50 | 21.5.2.2) Supply and Fixing Soild UPVC door Shutter with frame | 8.00 | 1 Sqm | 3325.00 | 26600
51 | 21.7.3) Supplying and fixing of solid core flush door shutter of thickness 35mm i. door size 0.900 m x 2.100 (Single Leaf) | 7.00 | 1 Sqm | 3088.84 | 21621.88
52 | 22.1.1) TW panelled single door shutter 900X2100mm ( Single leaf) | 1.70 | 1 Sqm | 5112.27 | 8690.859
53 | 22.2.4) Providing and fixing of Zebra spare blinds using approved make blinds | 18.00 | 1 Sqm | 2368.08 | 42625.44
54 | 22.3.9) Providing Cup-board Shutter with frame using termite / water proof plywood of 19mm thick | 22.70 | 1 Sqm | 5047.00 | 114566.9
55 | 23.5.1) Supplying and fixing of Hydraulic Door closure (Heavy) | 10.00 | 1 No | 1264.00 | 12640
56 | 26.1) Flooring in C.C.1:5:10 | 14.50 | 1 Cum. | 4939.25 | 71619.125
57 | 28.1) Floor plastering in C.M. 1:4, 20 mm tk. | 30.00 | 1 Sqm. | 532.48 | 15974.4
58 | 29.8.1) Glazed tiles using Grout (Tile Joint Filler), C.M 1:2, 10mm tk | 59.50 | 1 Sqm | 1415.84 | 84242.48
59 | 29.9.1) Floor ceramic tiles (Anti-skid) using Grout (Tile Joint Filler). | 11.10 | 1 Sqm | 1243.35 | 13801.185
60 | 32.1.1) Pressed tiles (23cmx23cmx20mm) mixed with Water proofing compound | 160.10 | 1 Sqm. | 1228.86 | 196740.486
61 | 33.2.1) Plastering in C.M. 1:5, 12 mm tk. | 1680.00 | 1 Sqm. | 261.83 | 439874.4
62 | 35.2.1) Spl. Ceiling plastering in C.M. 1:3, 10 mm tk. | 323.50 | 1 Sqm. | 299.53 | 96897.955
63 | 36.1) Cement mortar Border in C.M. 1:5, 12 mm tk. a. 150 mm wide | 32.30 | 1 Rmt | 83.88 | 2709.324
64 | b. 75 mm wide | 32.30 | 1 Rmt | 54.65 | 1765.195
65 | c. 50 mm wide | 32.30 | 1 Rmt | 40.69 | 1314.287
66 | 43.2.1) Fabrication of Mild steel / RTS grills (without cement slurry) for all sizes of rods.(BINDING WIRE insulated with PVC) | 21.783 | 1 MT | 90322.80 | 1967501.5524
67 | 44.2.1) Rain water harvesting using defunct borewell and providing Precast slab Standardised Cement concrete M 30 a). Providing pit (M30) | 2.00 | 1 No | 2196.26 | 4392.52
68 | b) Augering 30cm dia | 6.00 | 1 Rmt | 504.58 | 3027.48
69 | 44.6.1) PVC SWR 110 mm dia with ISI mark type- A for Rain water down fall pipe(UPVC SPECIAL CLAMP ) | 60.00 | 1 Rmt | 353.71 | 21222.6
70 | 45.2.1) Providing Rain Water Harvesting well ring circular shape of 90cm dia, 60cm depth,50mm thick using m30 grade concrete including steel fabrication. | 4.00 | 1 No | 1491.73 | 5966.92
71 | 50.2.1) Providing precast Kerb stone in C.C. 1:3:6, 450 x 300 x 150 mm | 18.00 | 1 Rmt | 267.89 | 4822.02
72 | 50.5.1) Supplying. Fabricating and erection of M.S Scheme Name board | 1.00 | 1 No | 19550.52 | 19550.52
73 | 50.6.1) Precast slab 50 mm tk.in C.C. 1:3:6 with fibre | 24.00 | 1 Sqm | 414.55 | 9949.2
74 | 52.1.1) Supply ,laying & jointing the following pipes as per ASTM D 1785 of schedule 40 with UPVC Specials a. 32 mm dia ASTM D schedule 40 threaded PVC pipe with necessary UPVC specials | 70.00 | 1 Rmt | 261.46 | 18302.2
75 | b) 25mm dia ASTM D schedule 40 threaded PVC pipe with necessary UPVC specials | 58.00 | 1 Rmt | 243.43 | 14118.94
76 | 52.4.1) Supply ,laying & jointing the following pipes as per ASTM D 1785 of schedule 40 with UPVC Specials c. 20mm dia PVC water supply ASTM pipe (fully consealed in walls) | 61.00 | 1 Rmt | 240.64 | 14679.04
77 | 53.4) Supplying and fixing of C.I Manhole cover 60 x 60 cm (50kg weight ) | 2.00 | 1 No | 1864.00 | 3728
78 | 53.5) Wash Hand Basin of size 550 x 400 mm (White without Pedestal) | 2.00 | 1 No | 3406.02 | 6812.04
79 | 54.1.2) Supplying and fixing of 15mm dia Engineering Polymer Tap (long body ) | 5.00 | 1 No | 259.00 | 1295
80 | 54.2.2) Supplying and fixing of 15mm dia Engineering Polymer Tap (short body ) | 5.00 | 1 No | 248.00 | 1240
81 | 57.1.1) Supplying and fixing of E.W.C.(White) 500 mm with PVC SWR grade "P" or "S" TRAP | 5.00 | 1 No | 7257.85 | 36289.25
82 | 58.3) PVC SWR pipe (Soil line) with ISI mark - type 'B'. a. 110 mm dia. | 30.00 | 1 Rmt | 735.27 | 22058.1
83 | b. 75 mm dia. | 13.00 | 1 Rmt | 617.97 | 8033.61
84 | 58.4) Supplying, Laying & Concealing the 50mm dia PVC ( SWR) pipe with ISI mark type - 'B' with relevant specials. | 4.00 | 1 Rmt | 114.45 | 457.8
85 | 59.2.1) Gully Trap using chamber burnt bricks of size 23x11.4x7.5cm | 7.00 | 1 No | 2074.93 | 14524.51
86 | 60.1) PVC Nahani trap (4way/2way) | 10.00 | 1 No | 160.00 | 1600
87 | 61.3) UPVC Non Pressure pipe of SN8 SDR 34 ( S 16.5) as per IS 15328/2003 a. 110 mm UPVC Non Pressure pipe | 18.00 | 1 Rmt | 490.75 | 8833.5
88 | b. 160 mm UPVC Non Pressure pipe | 40.00 | 1 Rmt | 815.00 | 32600
89 | 64.1.1) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. (Open wiring) a. Light point with ceiling rose | 3.00 | 1 No | 895.00 | 2685
90 | 64.1.2) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. ( PVC Box , Fire Retarded Box) For Coastal only a. Light point with ceiling rose | 89.00 | 1 No | 1617.00 | 143913
91 | b. Light point without ceiling rose | 8.00 | 1 No | 1620.00 | 12960
92 | c. Calling bell point with Buzzer/Calling bell | 3.00 | 1 No | 1649.00 | 4947
93 | 65.1.2) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for Fan point.(PVC Electrical Box ) | 18.00 | 1 No | 1672.00 | 30096
94 | 66.1.2) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for Staircase Light Point.(PVC Electrical Box ) | 4.00 | 1 No | 3034.00 | 12136
95 | 67.1) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for 5 amps 5 pin plug socket point @ Switch Board Itself. | 34.00 | 1 No | 830.00 | 28220
96 | 68.2.2) Wiring with 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990 for 5 amps 5 pin plug socket point @ Convenient Places.(PVC Electrical Box ) | 39.00 | 1 No | 1120.00 | 43680
97 | 69.2) Supplying and fixing of 15 Amps 3 pin flush type plug using ( PVC Box , Fire Retarded Box) | 6.00 | 1 No | 135.00 | 810
98 | 70.5.2) Supply and fixing of 4' long 18 W Crystal Glass LED tube Light with fittings | 16.00 | 1 No | 690.00 | 11040
99 | 71.2) Supplying and fixing of 32 AMPS Triple pole main switch | 2.00 | 1 No | 2159.00 | 4318
100 | 71.7) Supplying and fixing of 32 amps double pole main switch with fuse and neutral link | 1.00 | 1 No | 1345.60 | 1345.6
101 | 75.2) Supply and delivery of following Electric Ceiling fan with ISI mark with blades and double ball bearing, capacitor a) 48" Electric fan 1200mm sweep | 18.00 | 1 No | 1552.70 | 27948.6
102 | 77.5) Run of 2 Wires of 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 180.00 | 1 Rmt | 208.00 | 37440
103 | 77.5.1) Run of 2 Wires of 1.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable (Open wiring) | 25.00 | 1 Rmt | 128.20 | 3205
104 | 77.7) Run of 2 Wires of 2.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 105.00 | 1 Rmt | 226.00 | 23730
105 | 77.7.1) Run of 2 Wires of 2.5 sqmm PVC insulated single core multi strand fire retardant flexible copper cable (Open wiring) | 12.00 | 1 Rmt | 146.60 | 1759.2
106 | 77.8) Run of 2 Wires of 6 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 65.00 | 1 Rmt | 320.50 | 20832.5
107 | 82.3.1) Supply and fixing of 30W LED road way lighting luminaries suitable for fixing LED lamp | 10.00 | 1 No | 4030.00 | 40300
108 | 82.3.5) Supplying and fixing of compound wall gate light | 2.00 | 1 No | 2200.00 | 4400
109 | 84.3) Run of 2 Wires of 4 sqmm PVC insulated single core multi strand fire retardant flexible copper cable with ISI mark confirming IS: 694:1990. | 235.00 | 1 Rmt | 266.00 | 62510
110 | 96.6.1) Supplying and fixing of 15 microns Anodised Aluminium Door ( 1000 x 2100 mm) | 1.90 | 1 Sqm | 8304.87 | 15779.253
111 | 96.7.3) Labour Charges for laying of rubber moulded hydralic pressed paver block (Interlocking tiles) of 63mm thick | 52.00 | 1 Sqm | 172.20 | 8954.4
112 | 97.6.2)Supplying and fixing of 15 microns anodised of any color aluminium extruded section with powder coating (Partition ) | 13.20 | 1 Sqm | 4012.48 | 52964.736
113 | 113.1) Supplying and Fixing of Rolling shutters of all sizes (Gear Operated) (from 8 sqm. to 12 sqm. Area) | 18.50 | 1 Sqm | 2419.00 | 44751.5
114 | Structural Glazing: 118.2.1) Providing and fixing structural glazing fabricated from roll formed | 10.50 | 1 Sqm | 5870.00 | 61635
115 | 136.2.2) Suppluy and fixing of 12mm thick saint gobin /equivalent make toughened glass | 5.20 | 1 Sqm | 17007.00 | 88436.4
116 | 141.2) Supply and providing of 2.5 sq.mm. 4 core flexible armoured cable on post or wall and ceiling with necessary MS clamp | 40.00 | 1 Rmt | 110.00 | 4400
117 | 151.3.1) Supplying and laying of following PVC armoured LTUG cable ( Below G.L) a )3.5 C x 150 sq mm aluminium cable | 35.00 | 1 Rmt | 1171.00 | 40985
118 | 155.1) Supply and erection of 125 Amps capacity floor mounting / wall mounting metering panel board (Cubical type) | 1.00 | 1 No | 77200.00 | 77200
119 | 161.1.4) Supply and fixing of brass cable gland for 3-1/2 x 150 sq.mm. PVC armoured LTUG cable with earth connection | 2.00 | 1 No | 633.00 | 1266
120 | 162.2.1)Supplying and clamping of following PVC armoured LTUG cable on post or wall (above GL) a) 4 C x 6 sq.mm. PVC LTUG aluminium armoured cable | 23.00 | 1 Rmt | 297.00 | 6831
121 | b) 4 C x 10 sq.mm. PVC LTUG aluminium armoured cable | 28.00 | 1 Rmt | 309.00 | 8652
122 | c) 4 C x 16 sq.mm. PVC LTUG aluminium armoured cable | 20.00 | 1 Rmt | 353.00 | 7060
123 | 170.2) Supply and fixing of 100A TPN sheet double break switch with HRC fuse and neutral | 1.00 | 1 No | 11110.00 | 11110
124 | 171.5.2) Supply and fixing of horizontal three phase distribution board with MCBS 4 way triple pole and neutral MCB sheet steel enclosure | 2.00 | 1 No | 6816.00 | 13632
125 | 171.5.3) Supply and fixing of 8 way single pole and neutral MCB sheet steel enclosure distribution board with double door | 2.00 | 1 No | 3191.00 | 6382
126 | 171.5.4) Supply and fixing of horizontal three phase distribution board with MCBS 6 way triple pole and neutral MCB sheet steel enclosure | 2.00 | 1 No | 8124.00 | 16248
127 | 171.5.5) Supply and fixing of horizontal three phase distribution board with MCBS 8 way Triple pole and neutral MCB sheet steel enclosure | 2.00 | 1 No | 9467.00 | 18934
128 | 171.5.6) Supply and fixing of horizontal three phase distribution board with MCBS 12 way Triple pole and neutral MCB | 2.00 | 1 No | 15770.00 | 31540
129 | 176.1.2) Supplying and fixing of SMC (Street moulding compound) 100A cable terminal block | 10.00 | 1 No | 947.00 | 9470
130 | 179) Plate earthing with copper plate of size 600 x 600 x 3mm as per the ISI specification | 2.00 | 1 No | 9304.00 | 18608
131 | 179.1) Supply and run of 25mm x 3mm Tin coated copper flat on surface | 25.00 | 1 Rmt | 467.00 | 11675
132 | 179.2) Supply and run of 25mm x 6mm copper strip on surface | 69.00 | 1 Rmt | 880.00 | 60720
133 | 207.3.1) Painting the false ceilling / walls with two coats of 1st class ready mixed plastic emulsion paint | 941.60 | 1 Sqm | 239.05 | 225089.48
134 | 207.4.1) Painting the new walls with two coats of approved best exterior Emulsion paint | 676.90 | 1 Sqm | 240.60 | 162862.14
135 | 238.1) Anticorrosive treatment for window grills | 1.682 | 1 MT | 2954.25 | 4969.0485
136 | 255) Providing plaster of paris cornice of shape and size to be made for false ceiling | 170.00 | 1 Rmt | 190.40 | 32368
137 | 255.2) Supplying and fixing of LED Bulb for suitable for fixing it to pendent / bakelite battern holder a) 9watts LED bulb | 2.00 | 1 No | 135.00 | 270
138 | b) 12 watts LED bulb | 2.00 | 1 No | 170.00 | 340
139 | 255.6) Supply and fixing of Bulk Head fitting suitable for 12W LED Bulb | 2.00 | 1 No | 517.00 | 1034
140 | 255.8.3) Supply and fixing of 24 W LED 4000K 2x2 square type Recessed fititing with LED (higher end) | 44.00 | 1 No | 3850.00 | 169400
141 | 255.8.5) Supplying, assembling and fixing of 18W LED 3000K 2 x 2 Square type recessed fitting with LED (higher end) | 19.00 | 1 No | 1670.00 | 31730
142 | 343.2.1) Supply, fabricating and erection of steel truss (weight basis) | 695.70 | 1 Kg | 110.75 | 77048.775
143 | 343.2.2) Supply and fixing of Galvanium colour Roof sheet of size 0.47mm thick over MS purlin | 30.00 | 1 Sqm | 1020.01 | 30600.3
144 | 344.5) Supplying and fixing of Bevelled edge mirror 600 x 450 x 5.5mm | 2.00 | 1 No | 494.70 | 989.4
145 | 359.3.1) Supply and laying superior variety designer tiles (Hindustan / Eurocon tiles etc.) for flooring in CM 1:3 | 37.50 | 1 Sqm | 1516.72 | 56877
146 | 362.2.2)Supplying and fixing of Stain free Nano polish Vitrified Tiles of size (600x600x8mm) for flooring | 287.50 | 1 Sqm | 1523.49 | 438003.375
147 | 366.3.1) Supplying & fixing of Stainless steel Hand Rails for Staircase | 17.50 | 1 Sqm | 5536.00 | 96880
148 | 367.1) Providing wooden Melamine polish for new wood work | 3.20 | 1 Sqm | 1483.02 | 4745.664
149 | 381.3.2) Supply and fixing of 125A 4 Pole change over switch of approved make ISI | 1.00 | 1 No | 8938.00 | 8938
150 | 451.2) Supply and fixing of Porcelain soap dish of size 150 x 150 x 50mm (Colour) | 6.00 | 1 No | 268.80 | 1612.8
151 | 451.3.1) Supplying and fixing of PVC water supply and sanitary fitting a) Connection hose | 6.00 | 1 No | 110.00 | 660
152 | b) Waste hose | 5.00 | 1 No | 110.00 | 550
153 | 451.3.2) Supplying and fixing of CP water supply and sanitary fitting a) 15mm dia Angle cock | 10.00 | 1 No | 1002.00 | 10020
154 | 451.3.3) Supplying and fixing of Stainless steel water supply and sanitary fitting a) 15mm dia SS Health fauet | 5.00 | 1 No | 1375.00 | 6875
155 | b) 15mm dia Pillar cock | 2.00 | 1 No | 1046.00 | 2092
156 | 504.5) Supplying, laying, fixing and jointing the following UPVC pipes b).40 mm dia UPVC pipes (above G.L) | 11.00 | 1 Rmt | 362.87 | 3991.57
157 | Cable Tray 528.1.2) Supply and fixing of perforated cable trays of sizes as given below made out of 16 SWG CRCA sheet steel a) 150 x 50 mm | 12.00 | 1 Rmt | 496.00 | 5952
158 | b) 300 x 50 mm | 12.00 | 1 Rmt | 568.00 | 6816
159 | 540.1.3.1) Supply and fixing of MS stand for fixing outdoor unit | 10.00 | 1 No | 1088.00 | 10880
160 | 540.1.6.1) Supply & Installtion of star rated Air- Conditioner with copper coil a. 2.00 TR Split Type AC unit (5 Star Rated) | 10.00 | 1 No | 56370.00 | 563700
161 | 540.1.8.1) Supply and fixing of AC drain pipe | 40.00 | 1 Rmt | 64.10 | 2564
162 | 540.1.9.1) Supply and installation of 5 KVA capacity Automatic Voltage Stabilizer with time delay relay | 10.00 | 1 No | 4940.00 | 49400
163 | 540.2.1) Supply and laying of 5/8" and 3/8" copper pipe (Extra beyond 3 metrs supplied with AC unit) | 27.00 | 1 Rmt | 940.00 | 25380
164 | 608.1) Supplying, laying ,fixing and jointing of following dia UPVC pipe schedule 40 a) 50 mm dia UPVC pipes | 15.00 | 1 Rmt | 333.28 | 4999.2
165 | b) 40 mm dia UPVC pipes | 26.00 | 1 Rmt | 261.56 | 6800.56
166 | c) 32 mm dia UPVC pipes | 26.00 | 1 Rmt | 242.34 | 6300.84
167 | 609.6.1) Supply and delivery of 150mm OD ribbed screen pipes (6kg/cm2) | 26.00 | 1 Rmt | 1004.50 | 26117
168 | 609.6.2) Supply and delivery of 200mm dia of casing Shollow depth PVC pipes (6Kg/cm2) | 6.00 | 1 Rmt | 1113.20 | 6679.2
169 | 609.6.3) Labour Charges for inserting PVC casing pipes assembly (with slots or without slots) i) l50mm dia casing pipes assembly | 26.00 | 1 Rmt | 369.60 | 9609.6
170 | ii) 200 mm dia casing pipes assembly | 6.00 | 1 Rmt | 380.60 | 2283.6
171 | 615.1.4) Supply and delivery of 3.00 HP Electric Monoset centrifugal pump | 2.00 | 1 No | 21377.00 | 42754
172 | 615.2.1)Labour Charges for erection of Horizontal shaft,centrifugal pumpset (Coupled/Monoblock) in bore well/Open well Upto 3 HP | 2.00 | 1 No | 8131.20 | 16262.4
173 | 615.2.2) Labour charges for erection of twin packer duplex type jet pumps in borewells upto 150mm dia Upto 3 HP | 2.00 | 1 No | 10876.80 | 21753.6
174 | 615.2.6) Supplying and delivery of Hydraulically tested 1.5 HP air compressor jet motor pumpset suitable for 150 borewell for water supply | 2.00 | 1 No | 15450.00 | 30900
175 | 615.3.5)Supply and delivery of direct online starter with Single Phasing preventor with analog Ammeter upto 5 HP | 2.00 | 1 No | 5641.00 | 11282
176 | 619.2.1) Supplying and fixing of following dia GM Gate Valve (Heavy duty) a. 50mm GM gate valve | 1.00 | 1 No | 1241.00 | 1241
177 | b. 40mm GM gate valve | 2.00 | 1 No | 977.00 | 1954
178 | c. 32mm GM gate valve | 3.00 | 1 No | 760.00 | 2280
179 | d. 25mm GM gate valve | 5.00 | 1 No | 592.00 | 2960
180 | 741.1.1) Supply and fixing of 20 Amps DP plug and socket in sheet enclosure with 32 A DP MCB in Flush with wall with earth connection ( For AC Plug ) | 10.00 | 1 No | 1839.00 | 18390
181 | 753.1)Construction of Inspection chamber with brickjelly cement concrete 1:3:16 b. Inspection Chamber size 60 x 60 x 75 cm | 4.00 | 1 No | 7369.49 | 29477.96
182 | c. Inspection Chamber size 60 x 60 x 60 cm | 4.00 | 1 No | 6264.27 | 25057.08
183 | 778.2.3)Supplying, fabricating, erecting and fixing Hilux (or) Equivalent Board False Ceiling Using Hilux Board Plain Sheets (10mm thick) etc all complete | 257.00 | 1 Sqm | 972.00 | 249804
184 | Providing Borewell and Pump Set arrangements 799.1) Drilling of Borewell anywhere inculding transportation from one place to another place in alluvial soil a) Drilline of borewell in upto 60m | 26.00 | 1 Rmt | 551.04 | 14327.04
185 | 799.1.2) Reaming 140/150 mm dia pilot bore to 300mm dia bore a) Upto 60m depth ending below ground level | 26.00 | 1 Rmt | 424.60 | 11039.6
186 | 799.3) Charges for developing the borewell for the entire depth with air compressor of 300cfm capacity [Minimum 8 hours] | 6.00 | 1 Hour | 1937.10 | 11622.6
187 | 832.5.2) Supplying and fixing in position of UPVC window of casement type( open) for all sizes | 22.50 | 1 Sqm | 7482.00 | 168345
188 | 832.5.3) Supplying and fixing in position of UPVC Ventilator louvered ventilator type for all sizes | 1.80 | 1 Sqm | 8106.00 | 14590.8
189 | 868.1) Supply of 2MP network bullet camera of 3.60mm fixed lens (2.80mm optional) | 15.00 | 1 No | 3550.00 | 53250
190 | 868.2) Supply of 16 channel - 2 sata (2nos hard disk) network video recoder for CCTV | 1.00 | 1 No | 11893.00 | 11893
191 | 868.8) Supply of weather proof camera junction box of size 4"x 4" for outdoor cameras | 5.00 | 1 No | 140.00 | 700
192 | 868.9) Supply and installation of CAT 6 unarmoured Cable for LAN & CCTV | 440.00 | 1 Rmt | 72.00 | 31680
193 | 931.5) Supply and fixing of Water CO2 Stored Pressure Type 9 litres capacity Fire Extinguisher | 4.00 | 1 No | 6999.00 | 27996
194 | 931.6)Supply and fixing of stored pressure ABC (Mono Ammonium Phospate) Powder Type Fire Extinguisher of 6 kg. capacity | 4.00 | 1 No | 5248.00 | 20992
195 | 931.7) Supply and fixing of following safety accessories a) 2m x 1m Rubber mat suitable for 11kv installation confirming IS | 1.00 | 1 Set (5 Nos) | 18743.00 | 18743
196 | b) Danger board as required by the electrical authorities | 1.00 | 1 No | 1605.00 | 1605
197 | c) First Aid box complete with all first aid medicines | 1.00 | 1 No | 1712.00 | 1712
198 | d) 4nos Fire buckets made out of 40 x 40 x 6mm MS angle | 1.00 | 1 No | 4712.00 | 4712
199 | 946.6) Supplying and erecting in position of following litres capacity a) 50 litres | 1.00 | 1 No | 40320.00 | 40320
200 | 959.3) Supply, installation, testing and commissioning of 125KVA Diesel Generator set of approved makes like Kirloskar / equivalent | 1.00 | 1 No | 1066000.00 | 1066000
201 | 959.4) Supply and fixing of Exhaust pipe with silencer of approved make | 4.00 | 1 Rmt | 2215.00 | 8860
| Sub Total |  |  |  | 13169340.7074
| GST @ 18% |  |  |  | 2370481.3273
| TOTAL |  |  |  | 15539822.0447